Community Involvement Program

Fish Culture Best Management Practices

DRAFT

July 13’th, 2012

Prepared by : Brenda Donas

Acting Community Involvement Program Support Biologist

Table of Contents

Glossary of Terms	5

Rationale	10

Licence Conditions	11

Basic Conditions	12

Best Management Practices	13

How to Use This Best Management Practices Document	13

The Hatchery Environment	14

Project Description	14

End-of-Day/End of Visit Hatchery Site Check	15

Hatchery Water Quality 	16

Cleaning of Intakes and Water Lines (Distribution Systems)	17

Flow Monitoring and Measurements	18

Heath Stack Flow Measurement 	19

Atkins Cells, Keeper Channels and Rectangular Raceways:  Flow Measurement 	20

Flow Measurement Using Timed Rise in Water Level	21

Effluent Monitoring and Management	24

Biosecurity	26

Disinfectant Protocols	27

Personnel Movement 	29

Visitors	30

Supplier Procedures 	31

Facility Maintenance	32

Instrument Disinfection Protocol 	33

Adult Capture 	34

Adult Capture Methods	35

Fish Fences	35

Beach Seining	36

Angling	36

Dip Netting	36

Adult Transport	37

Adult Holding and Handling for Egg Takes 	38

Egg Takes	40

On-Site Egg Take 	42

Off Site/Field Egg Take  	45

Green Egg Enumeration 	46

Green Egg Enumeration Using Mean Fecundity 	47

Green Egg Enumeration Using the Weight Method 	49

Green Egg Enumeration Using the Volume Method 	51

Adult Sampling	53

Scale, Length, Fecundity and DNA Sampling 	54

Bacterial Kidney Disease (BKD) 	54

Sterile Kidney Sampling for BKD	56

Shipment of Fresh Kidney Samples	57

Carcass Disposal	58

Carcass Placement for Stream Enrichment	58

Spawning Protocols/Egg Fertilization Protocols	59

Matrix Fertilization 	61

One to One Fertilization	62

One to Two Fertilization	63

Ovadine Disinfection of Eggs 	64

100 PPM Ovadine Solution Guide for Egg Disinfection 	65

Heath Tray Egg  Disinfection as a Static Bath 	65

Static Bath Egg Disinfection Outside an Incubation Unit 	66

Atkins Cell Egg Disinfection as a Static Bath  	68

Atkins Cell Egg Disinfection Using Flow Through  	69

Incubation 	69

Accumulated Thermal Units Method to Monitor Stage of  Development 	70

Egg Fertility Rate Monitoring	72

Egg Fungal Treatments	73

Egg Fungal Treatments Using Parasite-S TM  	74

Egg Fungal Treatments Using Perox-AidTM  	75

Egg Shocking, Picking and Enumeration	77

Egg Shocking	77

Shocking Eggs from Heath trays	78

Shocking Eggs from Atkins Cells 	79

Eyed Egg Picking and Enumeration	79

Eyed Egg Picking and Weight Enumeration for All Types of Incubators	80

Eyed Egg Picking and Volume Enumeration for All Types of  Incubators	83

Transfer of Eyed Eggs	86

Ponding	87

Ponding from Heath Trays 	89

Ponding from Keeper Channels 	90

Ponding from Bulk Incubators	90

Fry Enumeration from a Bulk Incubator, By Weight 	91

Rearing	93

Initial Feeding 	95

Feeding 	98

Rearing Container Cleaning and Mortality Removal	100

Predator Exclusion	104

Transfer of Fish	105

Juvenile Sampling	106

Bulk Sampling and Individual Length and Weight Sampling to Monitor Growth Rate, Fish Condition and for Feed Schedule Calculations	106

Bulk Sampling of Juvenile Salmon 	108

Individual Length and Weight Sampling 	111

Monitoring of Rearing Densities Using Weight Sample Data	113

Fish Health Checks and Monitoring	115

Juvenile Samples for Submission to the Fish Health Laboratory	116

Marking	119

Adult Marking	119

Juvenile Marking	120

Permanent Marking of Juvenile Salmon	120

Permanent Marking by Coded Wire Tagging and Adipose Clipping 	121

Adipose Clipping Only 	127

Temporary Marking of Juvenile Salmon	128

Juvenile Release and Transport	129

Volitional Release	130

Juvenile Transport to Release Location(s) 	131

Project Brood Summary Report	140

Appendix I : Record Keeping Templates	141

Adult Capture and Broodstock Records	142

Egg Take Records	143

ATU Records	144

Egg Picking and Enumeration Records	145

Dead Egg Picking Records	146

Transfers Into the Facility	147

Transfers Out of the Facility	148

Ponding Records	149

Rearing Records	151

Individual Length (mm) and Weight (grams) Sampling Records	152

Bulk Weight Sampling Records	153

Juvenile Marking Record	154

Juvenile Release Record	155

Water Quality Monitoring Record	156

Monthly Record Keeping Templates 	157

BKD Sampling Record	162

Appendix II – Chemicals Used in Fish Culture	164

Ovadine	164

Virkon Aquatic 	166

Chlorine Bleach 	168

Mucous Protectants Used in Fish Transport and Handling	170

Fish Sedatives Used for Transport and Handling	171

Chemicals Used for Disease Treatments - External Bacteria and/or Parasites	172

Preservatives Used for Fish Culture Samples	175

Appendix III – Anaesthetics Used in Fish Culture	177

TMS (MS-222, Tricaine Methanesulfonate)	177

Carbon Dioxide (CO2)	178

Appendix IV – Emergency Contacts	180

Appendix V – Best Management Practices for Classroom Aquaria 	181

Appendix VI – Salmonid Enhancement Program Major Operations Facilities : Transport Loading Densities and General Fish Transport Guidelines	182

Inch Creek	184

Spius	185

Chilliwack	187

Snootli	187

Quinsam	188

Chehalis	189

Tenderfoot/Capilano	190

Big Qualicum/Rosewall	190

Kitimat	190

Nitinat	191

General Information About Transporting Fish	192

Appendix VII :Sample Submission Form : Pacific Biological Station Fish Pathology Lab	196

Appendix VIII - Dissolved Oxygen Saturation in Fresh Water	198

APPENDIX IX : Operational Guidelines for Pacific Salmon Hatcheries	199

Appendix X : Ponding Trays/Baskets – General Information	202

Appendix XI – Fish Production Plans, Marking Plans, Reporting Deadlines – General Information	203

Summary of SEP Salmon Production Planning Process	203

Marking Plans	205

Reporting Deadlines	207

APPENDIX XII - ALASKAN PROTOCOL FOR SOCKEYE	207

APPENDIX XIII	208

Guidelines for in-Stream Placement of Salmon Carcasses for Nutrient Enrichment	208

Virkon-Aquatic™ Disinfection 	231

APPENDIX XIV	233

Best Management Practices : Summary of Standards to Follow	233

# Glossary of Terms

Allele 			A genetic code that represents a specified trait

Ammonia		The common name for NH3. NH3 is a colourless gas that is readily 		soluble in water. It is formed as a by-product of metabolism in fish.

Anaesthetic		An anaesthetic is used to temporarily reduce or take away 				sensation, usually so that otherwise painful or stressful procedures 			can be performed on the fish.

Aquacalm TM		Metomidate hydrochloride is a useful sedative for broodstock 			transport and handling. This product is not intended for use in fish 			intended for human consumption; no withdrawal period has been 			established.

Aquaculture		Cultivation of fish

Bacterial Kidney 	A bacterial disease (Renibacterium salmoninarum) that affects

Disease (BKD)	Pacific salmon. BKD is a slow, systematic infection that attacks the 		kidneys. It is difficult to detect during the early stages.

Biomass		The total weight of fish in a rearing container.

Biosecurity		Refers to a strategy to to minimize the risk of pathogen entry onto 			the site, reduce the risk of pathogen spread within the facility and 			reduce the risk of pathogen spread off a facility and into wild 			populations.

Broodstock		A sexually maturing adult salmon that is to be used as a parent for 			the cultivation of hatchery fish.

Brood Year		The calendar year in which eggs are taken (eg .for eggs taken in the 		fall of 2012, the brood year would be 2012 even though resulting 			fry would be released in 2013).

Buffering agent	A weak acid or base used to maintain the acidity (pH) of a solution 		at a chosen value.

CO2			Carbon dioxide is a common anaesthetic in harvesting operations. 			As it naturally occurs in all animals, CO2 is safe for the operator, 			the consumer and the environment and is not subject to a 				withdrawal time. However, hyperactivity is common with this 			chemical and it is difficult to reach deeper anaesthetic planes 			suitable for invasive procedures.

Glossary of Terms Continued

Carcinogen		A substance capable of causing cancer.

Chemo-therapeutant	A chemical agent used to treat disease

Condition Factor	The ratio of length to weight in salmon is often expressed as the 			condition factor. It is an index to the weight of a fish in relation to 			its length and is the yardstick often applied when checking growth 			rate or determining the amount of food to be fed at fish hatcheries.

Cultivation of fish	Cultivation of fish is the activity of incubation and/or rearing of fish 		in a man-made or enhanced habitat where the fish require feeding 			and/or where the activity has a significant impact on an aspect of 			the life history of the fish.

Disease		Any deviation from the usual health of the fish. Any condition

that impairs normal function.

Disinfectant		A chemical used on fish culture equipment and gear to destroy 			bacteria, viruses and/or fungi.

Disinfection		The process used to kill harmful bacteria and other disease 				organisms.

Ecto parasite		A parasite affecting only the surface of the host.

Eyed Egg		A fertilized egg that has reached a stage of development where the 			eye spots are visibly prominent.

Fork Length		The distance from the anterior aspect of the snout (or upper lip) to 			the fork in the tail.

Formalin		A solution used to control ecto parasites and fungus. The solution 			contains about 37% (by weight) of formaldehyde gas per weight of 		water (37 grams of formaldehyde in 100 mls of solution).

Fungicide		An agent that kills fungus.

Fungus			A common fish disease caused by a filamentous fungi. Most 			commonly Saprolegnia is the fungus that affects salmon eggs, 			juveniles and adults. The fungi feeds by secreting digestive 				enzymes onto the surrounding area. The enzymes break down the 			cells and tissues of the host organism and this allows the fungi to 			absorb nutrients from the host.

Glossary of Terms Cont'd

Green Eggs		Salmon eggs that have been removed from the female but are not 			yet fertilized.

Haemorrhage		The escape of  blood from any part of the vascular system.

Immune		Not susceptible to a disease.

Incidence		The frequency with which a particular disease occurs within a 			population of fish.

Infection		The invasion and multiplication of micro organisms in the body 			tissue that causes injury or damage to the cells.

Iodophore		An antiseptic or disinfectant that combines iodine with another 			agent. In fish culture iodophores are used at specific concentrations 		to disinfect salmon eggs and equipment.

Jack			Precocious male salmon (eg. coho jacks return at 2 years of age).

Lesion			Is any abnormality of the tissue of an organism usually caused by 			trauma or disease.

LPM			Litre per minute – used when measuring flow of water into an 			incubator or rearing container etc… Also used to measure the flow 			of oxygen into water being used for incubation, rearing or transport 		of salmonids.

Metabolism		The whole range of biochemical processes that occur within a 			living organism.

Moribund 		A fish in a dying state.

Mortality		A dead fish.

Mucus			A slimy substance produced by the mucous gland.

Navigable Water	Any body of water capable of being navigated by floating vessels 			of any description for the purpose of transportation, commerce or 			recreation. This includes both inland and coastal waters.

Otolith			The bones of the inner ear of a fish. Controlled temperature 			manipulation during incubation of eggs or alevins will result in a 			distinguishable banding pattern on the otoliths. This technique is

Glossary of Terms Cont'd

Otolith cont'd		called thermal marking and is valuable for return stock 				assessments.

Outbreak		An unexpected occurrence of mortality or disease.

Ovadine		Trade name of a disinfectant chemical containing a buffered10% 			polylvinylpyrrolidone iodine (PVPI) solution in water. It may be 			used to disinfect equipment or fish eggs.

PAR			Pacific Aquaculture Regulation

Parasite		An organism that grows, feeds, is sheltered on or in a different 			organism and contributes nothing to the survival of that organism.

Pathogen		An agent that causes disease.

Pathology		The scientific study of the nature of disease and its causes, 				processes, development and consequences.

pH			The "potential of hydrogen". The pH scale reflects how powerful

or weak the hydrogen particles are in solution. pH is measured on a

scale of 0 to 14. A solution with pH less than 7 is acidic, where pH

is equal to 7 the solution is neutral and when pH is greater than 7

solution is basic.

Phenotype		The appearance of an individual which results from the interaction

of genetic make-up and environmental influences.

Ponding		The act of transferring swim-up fry from the incubator unit to a 			rearing container.

PPM			Parts per million, equivalent measurement to mg/L (milligrams per 		liter). 1 PPM = 1 ml in 1,000 litres.

PPT			Parts per thousand, equivalent to 1ml per 1 litre.

Predator		An organism that lives by preying on other organisms.

Salinity		The dissolved salt (i.e. sodium chloride, magnesium, calcium

sulfate, bicarbonates) content of a body of water.

SEP			Salmonid Enhancement Program

Glossary of Terms Cont'd

Shocking (of eggs)	Physical shocking of eggs at the eyed stage that ruptures

the yolk (vitelline) membrane of eggs which are undeveloped or 			infertile and result in an influx of water turning the egg white.

Sterile			Free of living organisms.

Stress			Disruption of an organisms state of equilibrium as caused by

changes in environmental factors or internal and/or external

stimuli.

Stressors		Stimuli that disrupt the state of equilibrium of a fish.

Susceptibility		A state of being open to infection/disease.

Suspended Solids	Small, solid particles that are in suspension in water as a result of

the motion of the water.

Swim up fry		A stage of development where most of the yolk sac has been

utilized and there is a response to leave the incubation substrate

and become free-swimming. This commonly occurs when

80% to 90% of the yolk sac has been absorbed and there is just a

hair-line slit along the belly (i.e. the yolk sac is no longer visible).

Therapeutant		A chemical that is used to heal or cure.

Toxin			A poisonous substance produced within living cells or organisms.

Transmission		A passage or transfer, as of a disease organism, from one

individual to another.

Treatment		Method of treating a disease or injury.

Virulence		The relative capacity of a pathogen to produce disease.

Virus			A small infectious agent that can replicate only inside the

living cells of organisms.

Withdrawal                The time interval after cessation of treatment before the animal or 			period	any of its products can be used as human food.  Withdrawal 		times are based on the time interval required for tissue levels of the 		substance to fall below critical levels as decreed by legislation.

# Rationale

The Pacific Aquaculture Regulation (PAR) was enacted in response to the February 9, 2009 British Columbia Supreme Court decision in Morton vs. British Columbia (Ministry of Agriculture and Lands). The British Columbia Supreme Court ruled that only the federal government has the authority to regulate the fisheries aspects of aquaculture.

The Government of Canada through the Department of Fisheries and Oceans (DFO), has enacted the Pacific Aquaculture Regulation (PAR) under the authority of the Fisheries Act (R.S.C., 1985, c. F-14). The regulations took effect on December 18, 2010, and provide the regulatory framework for the management of aquaculture activities in B.C. and in particular waters off its coasts.

Aquaculture is defined under the PAR as “cultivation of fish”. Cultivation of fish is defined as “the activity of incubation and/or rearing of fish, in a man-made or enhanced habitat where the fish require feeding and/or where the activity has a significant impact on an aspect of the life history of the fish”.

A PAR licence is required to engage in aquaculture activities.

Aquaculture activities are regulated to minimize negative impacts on wild stocks and fish habitat through fish health, genetic, environmental and other management measures.

All Salmonid Enhancement Program operations require a federal aquaculture licence in order to operate legally in the province of British Columbia.

Pursuant to the PAR, DFO may determine conditions of licence for the operation of an aquaculture facility in B.C.

The purpose of this Best Management Practices document is to support Community Involvement Program staff and community partners in meeting PAR licence conditions.

The Community Advisor is the responsible authority for Community Involvement Program projects and will obtain the permits and approvals that are required for fish culture and other activities at a given site/project.

The Community Advisor is also the responsible authority regarding the design and implementation of biological programs in their specific geographic area.

# Licence Conditions

The PAR empowers the Minister of Fisheries and Oceans to set conditions of licence for aquaculture in British Columbia.  In addition, the PAR also incorporates by reference the Minister’s authority to issue conditions of licence under section 22 (1) of the Fishery (General) Regulations.  The establishment of licence conditions is intended to advance the management and control of fisheries, and the conservation and protection of aquatic species and ecosystems.

Salmonid Enhancement Program licences issued under the PAR may contain a variety of conditions to which the operator must adhere, including: impacts to fish and fish habitat,  protocols concerning management of predator control, introductions and transfers, fish health and bio-security. The conditions of licence also set out the monitoring, record keeping, notification and reporting activities that are required for each licence holder.

# Basic Conditions

All Salmonid Enhancement Program, Community Involvement Program PAR licences include sections as follows:

Licence front piece containing background data (licence holder name, address, contact info, etc); a section listing General Conditions of Licence information and appendices :

Part A:	 	definitions and general conditions of licence for the licence category

Appendix I	Facility Production Plan

Appendix II	Project Brood Summary Report form

Appendix III	Fish Health Information

Appendix IV	Guidelines for In-Stream Placement of Hatchery Salmon Carcasses

Appendix V	Licence Conditions for Net Pens operated by Enhancement Facilities

More specifically for Community Involvement Program licences, the General Conditions of Licence may be set as follows:

Salmon Enhancement Program facilities:

Application and Licenced Species

  - Transfer of Fish

  - Fish Health

  - Release of Fish

  - Adult Carcass Disposal

  - Net Pen Rearing

  - Records

  - Reporting

The licence conditions for Salmonid Enhancement Program facilities are unique in that the conditions consider the use of “wild” broodstock and release of fish.

# Best Management Practices

The information contained in these Best Management Practices is practical and will ensure that enhancement activities are planned and carried out in compliance with the PAR licence conditions and DFO protocols and policies.

These Best Management Practices are designed keeping fish health management and biosecurity in mind.

Fish health management means providing optimum conditions and the best care possible for the fish at the hatchery site. Fish health management includes the holding of adult fish, incubating eggs and rearing juveniles in conditions that are consistent with their biological requirements.

Biosecurity refers to management of biological risks. It is a term used to “describe preventative measures taken against any infectious disease outbreaks”  (Biosecurity in Aquaculture Production Systems : Exclusion of Pathogens and Other Undesirables” Cheng-Sheng Lee and Patricia J. O’Bryen, editors, 2003). It encompasses precautions used to minimize the risk of pathogen entry onto the site, reduce the risk of pathogen spread within the facility and reduce the risk of pathogen spread off a facility and into wild populations.

Staff and volunteers must organize activities at their facilities keeping fish health management and biosecurity at the forefront.

Staff and volunteers should be cognizant of the species, stocks and life stages of fish listed in the Facility Production Plans on the PAR licence for their project. They should have an understanding of the best practices to use to keep the fish healthy and reduce impacts on the natural environment.

The Community Involvement Program Best Management Practices provide guidelines and set some standards for fish culture (aquaculture) activities conducted at Community Involvement Program sites.

# How to Use This Best Management Practices Document

This document describes standards to follow when conducting  fish culture activities at Community Involvement Program projects. (The standards are summarized in Appendix XIV).

The document sets out fish culture activities in chronological order as they would occur at a hatchery or incubation project.

Adult Capture ---->Egg Takes--->Incubation--->Rearing--->Release

Each BMP section begins with Background information and includes a section on Standards to Follow.

Focus on the Standards to Follow to ensure :

- compliance with fish health and biosecurity requirements

- compliance with PAR licence conditions

- compliance with SEP guidelines and policies

The Standards to Follow provide information on procedures to use. There are examples provided that show how to follow a particular standard.

There is additional information included in the Appendices.

Watch for the words in bold print. Words such as must, should, do not, Notes and Caution designate the standards to follow.

For example : all eggs must be disinfected in Ovadine during water hardening. The word must defines the statement as a Standard to Follow.

The Hints provide helpful advice about fish culture techniques and related equipment.

There is a focus on RECORD KEEPING and examples are provided within BMP sections and in the appendices.

# The Hatchery Environment

### Project Description

Each enhancement project should prepare a Project Description that provides a detailed description of the project as follows :

- purpose/goals of the project

- Location (Google map/satellite image, GPS Coordinates) of hatchery showing proximity to stream location. Show areas of general watershed being worked on i.e. map locations of fish stocks being enhanced. Include broodstock capture locations. Include fry salvage locations. Include fry release locations.

- Site Owner (legal owner)

- Water source description and available water flow

- water license : name of licensee, amount of water licensed, source

- Types and configuration of adult capture structures

- Types and configuration of adult holding containers

- Description of egg take area (include field egg take locations)

- Types and configuration of incubators

- Types and configuration of rearing containers

- Include site incubation and rearing capacity (in terms of numbers and species of eggs and juveniles and state maximum peak biomass)

- Description of all alarm systems : security alarms, water level and flow alarms, power outage alarms, any other alarm systems

- Description of power back-up systems

### End-of-Day/End of Visit Hatchery Site Check

Background

The end-of-day/end-of-visit hatchery site check involves walking around the entire site to ensure that all water flows are within usual limits and all systems are operational (i.e. to ensure that the fish are safe while volunteers/staff are not on site).

Standards to Follow

Designate one staff person to conduct the end-of-day or end of visit hatchery site check. This person should be the last to leave the hatchery site.

Check the following in incubation, rearing and adult holding areas as applicable :

- water flows and levels

- end screens are free of debris, water is flowing through them

- alarm systems are on and functioning

End of Day/End of Visit Hatchery Site Check Continued

- predator covers are in place

- feed buckets have been put away

- intake screen(s) are free of debris

- fish behaviour is normal

Check the site for :

- tools, electrical cords, equipment - should be stored appropriately

- building(s) doors, windows are closed and locked

- hatchery vehicle keys removed from vehicles and secured

- Hatchery compound is locked and secure

Report to stand-by person when all staff have left the site.

# Hatchery Water Quality

Background

Water quality has an effect on fish health. Try to raise fish in water that stays within the species natural range of water quality requirements. (Refer to Oceans, Habitat and Enhancement Facts and Figures, Fourth Edition, 2009 for water quality parameters for salmon culture).

Water quality management requires the consideration of factors such as type and volume of water supply (ground water, spring water, surface water), water quality of the water supply and fish density and feeding rate. If densities or feeding rates are too high, and/or if water volume and/or quality are too low, fish health will suffer significantly.

The water quality parameters measured and frequency of those measurements will vary between facilities and their water source and whether water is re-circulated or single pass.

Standards to Follow

Use calibrated equipment when measuring water quality.

To allow for a timely response, water quality should be measured frequently enough to differentiate normal variation from declining water quality conditions. This allows for a timely response in the event of deteriorating water quality conditions.

At a minimum, monitor water temperature and dissolved oxygen.

Frequency of monitoring will be life stage dependent. For example, monitor incubation water source temperature daily during incubation, monitor dissolved oxygen level in

Hatchery Water Quality Continued

incubators just prior to and during hatching, monitor dissolved oxygen level in rearing containers approximately two hours after feeding has started.

Water testing should be done when :

- losses start to occur and staff don’t see any differences to the external appearance of the fish

- temporary rearing at higher than normal densities occurs such as just prior to fish being released when rearing densities are the highest

- there are behavioural changes associated with water quality compromise (fish gasping at surface or crowding at the inflow or fish going off their feed)

- historical patterns (eg. seasonal or daily fluctuating high water temperatures can be associated with critically low dissolved  oxygen)

- fish show signs of distress after eating when metabolic oxygen demand is highest

Monitor inflow and outflow areas of incubators, rearing and adult holding containers.

The minimum preferred outflow dissolved oxygen level should be 8 PPM while eggs are hatching and 6 to 8 PPM in rearing and adult holding container outflows.

Water quality data should be recorded on a Water Quality Monitoring Record sheet. (Refer to Appendix I).

Have a contingency plan for those times when preferred water quality parameters cannot be met and fish health is being impacted.

For more information on water quality guidelines refer to :

Summary of Water Quality Criteria for Salmonid Hatcheries Revised Edition October 1983 : SIGMA Environmental Consultants Ltd

### Cleaning of Intakes and Water Lines (Distribution Systems)

Background

Surface water intakes and intake screens should be checked regularly to ensure that water flow is not inhibited by ice and/or debris.  More frequent inspection of intake areas and intake screens should be done during high risk times of the year such as spring and fall freshets when debris loads can be higher and during freezing temperatures when intakes are prone to blockage from ice.

Cleaning of Intakes and Water Lines Continued

Standards to Follow

Whenever possible, conduct cleaning of intakes when flows can be monitored (i.e. ensure there is no reduction in flows as a result of intake or distribution line cleaning).

During surface water intake cleaning, minimize silt or other particulate/organic matter from entering incubators and rearing containers containing eggs/fish.

### Flow Monitoring and Measurements

Background

Flowing water brings a continuous, fresh supply of oxygen and ensures that metabolic wastes such as ammonia do not build up in the fish’s environment.

The available flow is a factor in determining the number and size of fish that can be cultured.

Standards to Follow

Check flows regularly to ensure that dissolved oxygen levels and container loading densities are within safe limits for salmonids.

Make flow adjustments only when there is time to conduct monitoring to ensure flow levels are stable and appropriate. Do not leave the site until flow levels are properly set and stable.

Refer to : Oceans, Habitat and Enhancement, Facts and Figures, Fourth Edition 2009, for information on suggested flows for incubation and rearing containers.

Set flows in all containers prior to loading.

Measure flow in such a way that disturbance to incubating eggs and/or rearing fish is minimized.

Use a standardized method for each type of incubator, rearing or adult holding container.

Use pre-calibrated equipment (eg. for Heath stacks use a calibrated bucket measured from 11 litres and to 17 litres. For Capilano troughs use a calibrated outlet pipe etc…).

Flow Monitoring and Measurements Continued

Record flows for incubation, rearing and adult holding containers. (Refer to Appendix I for an example record sheet).

### Heath Stack Flow Measurement

Background

Heath stacks are commonly used for incubating coho and chinook salmon eggs and can be used for incubation of chum, pink and sockeye eggs.

Heath trays are designed so that eggs receive up-welling flow and this ensures consistent and uniform water flow through the eggs.

Heath stack flows are commonly set to 12 LPM for initial incubation and flow can be increased to between 15 LPM and 17 LPM just prior to egg hatch.

Standards to Follow

Set flows in Heath stack incubators prior to loading.

Prior to measuring Heath stack flow, be aware of the stage of development of the eggs. Measuring water flow interrupts water flow to incubating eggs.

Where possible, set the Heath stack to the flow level that is appropriate for hatching and alevin development. (This eliminates having to re-set flows while eggs are in the incubator).

It is good practice to use pre-calibrated flow devices such as orifice caps or plates. This allows flow adjustments to incubation and rearing containers without having to adjust valves. Consult with your Community Advisor for further information.

Note : record all adjustments made to flows.

(Refer to Appendix I for Water Quality Monitoring Record sheet).

Note : Flow measurements during hatching and periods of alevin incubation should be avoided.

Procedure to Measure Heath Stack Flow

- Pull out the clean-out plug on the top tray and allow water to run for a few minutes until the flow rate is constant.

- Using a calibrated bucket marked with an 11 litre, 15 litre, or 17 litre volume line, push the bucket under the Heath stack flow

- As the bucket is pushed into the flow, the stop watch is started.

Heath Stack Flow Measurement Continued

- Record the time it takes for the bucket to fill to the 11, 15 or 17  L line.

- Do three flow measurements with the goal of having the bucket fill to the 11 or 15  or 17 litre line in 60 seconds.

Follow the example below to measure Heath Stack flow.

Example

Flow setting  = 15 LPM

Step 1 : conduct three time trials to the 15 litre mark on the bucket.

Time trial # 1 		It took 55 seconds to fill the bucket to the 15 litre line.

Time trial #2		It took 60 seconds to fill the bucket to the 15 litre line.

Time trial #3		It took 65 seconds to fill the bucket to the 15 litre line.

Step 2 : find the average amount of time it took to fill the bucket to the 15 litre line

Average time = (55 + 60 + 65)/3 = 60 seconds

Step 3 : Convert seconds to minutes.

60 seconds/60 seconds per minute = 1 minute

Step 4 : Calculate the Flow (in LPM)

Flow = Volume (litres) ÷ Time (minutes)

Flow = 15 litres ÷ 1 minute = 15 LPM

Do not leave the Heath stacks until water flow measurements are complete and water is flowing through all trays. Ensure that clean-out plugs are replaced and secure immediately after measuring the flow.

### Atkins Cells, Keeper Channels and Rectangular Raceways:  Flow Measurement

Background

This method is preferred because there is no disruption to water levels (and the fish) as flow is being measured.

This method will work for any linear/rectangular shaped container that has a level outflow weir.

Standards to Follow

The outflow weir must be level.

Measure flow by using the depth of head (depth of water) over an outflow weir.

Use a ruler or measuring device that is calibrated in one hundredths of a cm.

The table below provides the calculated flow measurements given a particular length of weir and the head that is measured flowing over the weir.

| Measuring Flow Over a Weir (LPM) |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Weir LN | Weir LN | Weir LN | Weir LN | Weir LN | Weir LN | Weir LN |
| Head | (cms) | (cms) | (cms) | (cms) | (cms) | (cms) | (cms) |
| (cms) | 30 | 61 | 91 | 122 | 152 | 305 | 366 |
| 0.64 | 19 | 38 | 57 | 76 | 95 | 189 | 227 |
| 1.27 | 53 | 106 | 159 | 212 | 265 | 530 | 636 |
| 1.91 | 87 | 174 | 261 | 348 | 435 | 871 | 1045 |
| 2.54 | 136 | 273 | 409 | 545 | 681 | 1363 | 1635 |
| 3.18 | 189 | 379 | 568 | 757 | 946 | 1893 | 2271 |
| 3.81 | 250 | 500 | 750 | 999 | 1249 | 2498 | 2998 |
| 4.45 | 318 | 636 | 954 | 1272 | 1590 | 3180 | 3816 |
| 5.08 | 386 | 772 | 1158 | 1544 | 1931 | 3861 | 4633 |
| 5.72 | 462 | 924 | 1385 | 1847 | 2309 | 4618 | 5542 |
| 6.35 | 541 | 1083 | 1624 | 2165 | 2707 | 5413 | 6496 |
| 6.99 | 625 | 1249 | 1874 | 2498 | 3123 | 6246 | 7495 |
| 7.62 | 712 | 1423 | 2135 | 2847 | 3558 | 7117 | 8540 |

From : Fish Hatchery Management by Robert G. Piper, Department of the Interior, US Fish and Wildlife Service, 1986

LN = Length

Example : For an Atkins cell, the end baffle (weir) is 30 cms long and the head is 1.27 cms.

Flow = 53 LPM

### Flow Measurement Using Timed Rise in Water Level

Background

This method requires that the water level be lowered and this may stress the fish.

This method requires that a ruler be affixed to the inside of the rearing/holding container. The ruler will be used to measure the increase in water level over time.

Procedure To Measure the Flow

- The water level is lowered by removing the outlet standpipe or stop logs.

- When the water level has dropped to a suitable level,  replace the outlet standpipe or stop logs. When the water level reaches a specific mark on the ruler, start the watch to TIME how long it takes for the water to reach the top mark on the ruler.

- Conduct at least two time trials and both time trials should have similar results.

- Calculate flow.

Flow =  Volume rise (in litres) ÷ Time (in minutes)

The example below shows how to calculate the flow.

Example Flow Calculation for a Rectangular Shaped Raceway

In this example :

The raceway is 30 m long and 3 m wide.

The ruler is marked in 1 cm increments.

The water rises by 10 cms (0.1 m) and it takes 10 minutes

Step 1.  Pull stop logs or the standpipe to reduce the water level to the 11 cm mark on the ruler.

Step 2. When water is at the 11 cm mark, replace the stop logs or standpipe.

Step 3. When the water rises to the 10 cm mark on the ruler, start the watch. Time how long it takes for the water to reach the 0 mark on the ruler (i.e. the water level will rise 10 cms).

Step 4. Record the time it took for the water to reach the 0 mark.

Step 5 : Calculate the volume that the water level rises.

Volume of a Rectangle = Length X Width X Depth

Volume = 30m X 3m X 0.1m

Volume that the water rises = 9 cubic metres

Flow Measurement Using Timed Rise in Water Level Continued

Step 6. Convert Cubic Metres to Litres

Convert cubic metres to Litres by multiplying by 1,000.

9 cubic metres X 1000 Litres/cubic metre = 9,000 litres

Step 7. Calculate the Flow

Flow = Volume rise (cubic metres)  ÷ Time (minutes)

Flow = 9000 L ÷ 10 minutes = 900 LPM

Most rearing container flows can be measured using a similar method to the one described above, where the time it takes to replace a specific volume of water is measured.

For a circular tub, the same method applies but the volume calculation is different.

Volume of a circular tub = 3.14 X radius X radius X water depth

See the example below to calculate flow in a circular tub.

Example Flow Calculation for a Circular Tub

The circular tub is 2.5m in diameter and the water level rises 10 cms (0.1m) in 3 minutes.

Note : Radius = diameter X 0.5 (i.e. radius is equal to half of the diameter of the tub).

Step 1.  Pull out the standpipe and let the water level decrease to the 11 cm mark.

Step 2. When water is at the 11 cm mark, replace the stop logs or standpipe.

Step 3. When the water rises to the 10 cm mark on the ruler, start the watch. Time how long it takes for the water to reach the 0 mark on the ruler (i.e. the water level will rise 10 cms).

Step 4. Record the time it took for the water to reach the 0 mark.

Step 5 : Calculate the volume that the water level rises.

Volume of a cylinder (circular tub)  = 3.14 X radius X radius X rise is water depth

Volume = 3.14 X 1.25 X 1.25 X 0.1

Volume that the water rises = 0.491 cubic metres

Example Flow Calculation for a Circular Tub Continued

Step 6. Convert Cubic Metres to Litres

Convert cubic metres to Litres by multiplying by 1,000.

0.49 cubic metres X 1000 Litres/cubic metre = 491 litres

Step 7. Calculate the Flow

Flow = Volume rise (cubic metres)  ÷ Time (minutes)

Flow = 491 L ÷ 3 minutes = 164 LPM

### Effluent Monitoring and Management

Background

While conducting salmon enhancement activities it is important to consider impacts to the natural environment and to wild salmon.

Feeding fish, cleaning rearing containers, use of disinfectant chemicals and antibiotics result in the release of organic matter and chemical substances to the natural environment. Activities must be conducted in ways that minimize impacts to aquatic ecosystems.

Standards to Follow

Monitor Hatchery Water Quality

Measure hatchery water quality parameters on a regular basis. Measure at hatchery inflow and outflow areas. Where possible, measure water quality 100m upstream and 100m downstream from where hatchery effluent enters the aquatic environment.

Compare measurements taken 100m upstream versus 100m downstream of the entry point of hatchery effluent.

Compare the following :

- Water temperature

- Dissolved oxygen

- pH

- Ammonia

Effluent Monitoring and Management Continued

Make observations about :

- Flow (Low, Moderate, High)

- Clarity of the water (turbidity) : record visibility through the water column as high, moderate or low (i.e. low would mean the water has high turbidity and it is not possible to see very deep into the water column).

- Color of the water (eg. glacial green, tea colored, brown)

Record measurements and observations.

(Refer to Appendix I for example Water Quality record sheets).

Hint : Water chemistry kits (i.e. Hach or Lamotte kits) or calibrated meters can be used to measure water quality parameters.

Always record the type of kit or meter used to take the measurement.

Effluent Management

Hatchery effluent will contain organic matter from fish feed and fish waste and may contain the remnants of substances used to treat eggs, juvenile or adult salmon. Effluent may also contain diluted disinfectants used on equipment, rain gear, incubation, rearing and holding containers and  disinfectants used on salmon eggs.

Familiarity with baseline water quality parameters in the receiving stream is important. The goal is to ensure that water quality objectives for aquatic life are not exceeded as a result of hatchery effluent.

Visual observations of flow (observed as low, moderate, high) over time, water color and turbidity and timing of freshets/high water events and low flow/level events assist in management of hatchery effluent.  Knowledge of  water quality parameters in the receiving stream also assist with management of hatchery effluent.

There are water quality objectives for aquatic life for many watersheds in BC and those can be found at the link below.

Water Quality Objectives for Watersheds in BC

(http://www.env.gov.bc.ca/wat/wq/wq_objectives.html)

Hint : Plan ahead.  Make sure that rearing strategies and use of chemical substances are used in a way that ensures minimal impact of hatchery effluent on the receiving environment.

Hatchery production should be managed so that peak biomass on site occurs during times of high water flow and lower water temperature in the receiving stream.

Effluent Monitoring and Management Continued

To minimize impacts of disinfectants in the receiving environment ensure that disposal/dilution instructions are followed.

(Refer to Appendix II).

To minimize the impacts of organic matter into the receiving stream ensure appropriate dilution.

Caution : To optimize fish health do not circulate hatchery effluent through groups of fish (i.e. do not use the hatchery effluent water as "extra" water to raise more fish).

# Biosecurity

Background

In the context of the Community Involvement Program fish culture projects, biosecurity refers to a strategy to assess and manage the risks that threaten fish health as well as the health of the environment. The key components of a biosecurity program involve the prevention of disease agents being brought into the hatchery and the containment and elimination of pathogens within a site if a disease situation does occur.

As staff and volunteers enter the hatchery site and conduct their daily fish culture tasks, they must keep biosecurity in mind.

Fish culture activities, by their nature, include some biosecurity risks such as :

- egg collection from broodstock with unknown pathogens

- multiple stocks and species, different age classes (eggs, alevins, fry, smolts, adults) – on the same site

- limited pathogen free water and or lack of filtration/disinfection of surface water sources

- open door policy in terms of visitor access to Community Involvement Program enhancement facilities

Fish are reared in man-made enclosures, are fed artificial diets and are subjected to daily human interactions all of which increase stress and therefore increase risk of disease transfer.

The goal is to optimize conditions for the fish and reduce their susceptibility to pathogens.  This requires a common sense approach that will minimize both exposure to

Biosecurity Continued

and loss from : pathogens, water chemistry changes, nutritional deficiencies, predation and more.

Biosecurity protocols should include :

- protocols for the use of disinfectants

- traffic patterns for staff, volunteers and visitors that minimize the risk of pathogen transfer

- flow of activities on site that minimizes risk of introducing or spreading pathogens

- protocols to contain and eliminate pathogen outbreaks

### Disinfectant Protocols

Background

A disinfectant is a chemical used on fish culture equipment and gear to destroy bacteria, viruses and/or fungi.

The use of disinfectants can greatly minimize the risk of pathogen transfer onto a site, within a site and off the site.

Disinfectants are commonly applied to equipment such as transport tanks, rearing containers, incubation containers, dipnets, buckets, rain gear and footwear to destroy micro organisms such as viruses, bacteria and fungi.

Salmon eggs are disinfected in Ovadine TM which is the only disinfectant approved for use on salmon eggs.

Virkon TM. and Ovadine TM are recommended for disinfection of fish culture gear and equipment.

Ovadine is used at 250 PPM (25 mls Ovadine in 1 litre of water) and Virkon is used at 1% (100 grams of Virkon in 10 L of water) for equipment disinfection.

Refer to Appendix II for further information on disinfectant concentration and disposal.

Disinfectant Protocols Continued

Which Micro Organisms Are Destroyed When Using a Disinfectant?

Virkon will destroy :

- ISA (Infectious Salmon Anemia)

- IPN (Infectious Pancreatic Necrosis)

- Aeromona salmonicida (Salmon Furunculosis)

- Yersinia ruckeri (Enteric Redmouth Disease)

- Renibacterium salmoninarum (Bacterial Kidney Disease)

- Vibriosis

- Pseudomonas

Ovadine will destroy most bacteria (including Bacterial Kidney Disease) and fungi that can infect salmon.

Standards to Follow

Products must be used at the recommended concentration and according to all manufacturer’s directions.  (Refer to Appendix II for general information on disinfectants and safety notes).

Foot bath and foot mats may contain Virkon or Ovadine. Disinfectant concentrations should be maintained by visual inspection and regular scheduled renewal of the product.

Record the dates that disinfectant solutions are discarded and changed.

When should foot bath/mat solutions be changed?

Virkon concentration can be tested using test strips. Replace as indicated by the test strip.

Ovadine disinfectant solution will be a rusty brown color when fresh, but as the iodine degrades, the solution will start to lighten in color to yellow, indicating a loss of concentration and effectiveness. The light yellow color is an indication that it is time to refresh the Ovadine solution. (Ovadine degrades in sunlight).

Disinfectants must be disposed of according to manufacturer directions and at the appropriate neutralization or dilution level. (Appendix II).

Do not dispose of un-diluted or non-neutralized disinfectants directly to a stream or water course.

Disinfectant Protocols Continued

Hints

To optimize disinfection, organic matter should be removed from equipment and gear prior to disinfection.

To make most efficient use of disinfectants when disinfecting large rearing, holding, transport or incubation containers :

- Clean organic matter and debris first using soap and water, rinse well.

- Spray the disinfectant onto  the surface.

- Ensure a contact time of at least 10 minutes.

- Rinse with plenty of water and the disinfectant should be sufficiently diluted to safely drain to the hatchery effluent system.

Caution :  Inadequate attention to rinsing can leave residual disinfectant behind that can be harmful to fish.

Where possible, allow the tanks and equipment to dry and sit for a period of time before using on another group of fish. This minimizes potential transfer of pathogens.

Disinfecting foot baths or foot mats and hand sanitizers help minimize the risk of pathogen transfer onto the site and around the site. Disinfecting footbaths/mats and hand sanitizers should be installed at crucial locations( i.e. entrance to incubation areas and rearing areas).

Isopropyl alcohol is commonly used for disinfecting lab and sampling equipment such as tweezers and scalpels. (Refer to Appendix II for further information).

Note : containers and equipment manufactured from wood are very difficult to disinfect. It is preferable to use incubation, rearing and adult containers and equipment made from metals, fibreglass, concrete or plastic which can be effectively disinfected.

### Personnel Movement

Background

Staff and volunteers may visit field sites or other hatchery sites on the same day. There is a risk of inadvertently transferring pathogens from field sites and between hatchery sites. Be aware of the risk and use the standards below to minimize the risk of pathogen transfer.

Personnel Movement Continued

Standards to Follow

When hatchery staff and/or volunteers visit more than one site in a day, they should disinfect outer wear and footwear between sites or have separate sets of outer wear and

footwear for each site they visit.

Virkon or Ovadine footbaths or mats should be used to disinfect footwear when entering the site and when moving between critical areas. (eg.  from the adult handling area to the incubation room or from the rearing area to the incubation room).  Hand sanitizers should also be used.

When hatchery staff and volunteers are moving around/within a site or between different sites, Spray Virkon disinfectant is recommended to disinfect rain gear and equipment.

Note : Outer wear and footwear disinfection is especially important at projects with a history of fish disease.

Example

After conducting adult capture and adult handling at a field site, before entering the hatchery site :

- rinse chest waders/raingear/footwear to remove blood and dirt.

- Apply Virkon onto the outerwear and footwear (spray bottle is handy).

- Allow a contact time of 10 minutes.

- Rinse the gear well.

### Visitors

Background

Community hatcheries have a unique mandate to educate the public and  provide avenues for their involvement.

Visitors are welcome on the sites during posted business hours. However, visitors may inadvertently transport pathogens onto a site or may pose a risk to fish accidentally.

To ensure that biosecurity at the site is not compromised, tours with visitors should be conducted following established traffic patterns that prevent the potential spread of disease onto the facility and/or within the facility.

Visitors Continued

Site biosecurity protocols are about  minimizing movement of pathogens onto the  site and prevention of pathogen movement throughout the site.

Standards to Follow

Signage that controls access to areas of the hatchery and the behaviour of visitors is recommended. This type of signage is especially important for self-guided hatchery tours.

If a site has a known disease problem occurring, that area of the site should remain isolated from visitors. If disease problems are widespread throughout a site, it may be best to isolate the entire site and permit site visits only if absolutely necessary.

The visitor(s) should be informed of the risks and staff/volunteers should recommend precautions that the visitor can take to minimize the spread of disease within the site or to other sites.

It is good practice to have footbaths and hand sanitizing stations placed at critical locations throughout the site for both staff and visitors to use (eg. before entering the incubation room).

Visitors should be informed not to handle feed, fish or equipment unless under the supervision of a fish culturist.

Visitors from the general public may visit areas holding critical life stages ( i.e.  incubation rooms or areas holding potentially compromised fish such as broodstock or fish showing signs of illness) only under the supervision of a fish culturist.

### Supplier Procedures

Background

Suppliers can inadvertently transport pathogens from one site to another as they make deliveries and pickups. This is especially pertinent for suppliers delivering fish food or fish culture chemicals where they can visit more than one hatchery site that day.

Standards to Follow

All deliveries should be made to an area of the facility that is away from the fish.

When there is a known disease issue on site and there is a danger of pathogen transfer, inform suppliers and ensure that deliveries are made away from rearing and/or incubation areas.

Supplier Procedures Continued

DFO staff may deliver fish food and/or fish culture supplies and must use practices that will minimize the risk of pathogen transfer onto (or away from) a project site.

### Facility Maintenance

Background

All projects (i.e. hatcheries, incubation sites, field egg take locations etc...) should be kept as clean as possible and follow disinfection and equipment storage procedures that minimize the potential for pathogen transfer onto and within the site.

Standards to Follow

All rearing and holding units, tanks and other containers should be kept clean and tidy.

It is good practice to disinfect tanks and incubation, rearing and adult holding containers between groups of fish or activities (eg. disinfect circular tubs after adult holding and before juveniles are reared in the tub).

All floors in fish holding or rearing areas should be kept clear of non-essential equipment, fish food and debris.

It is good practice to keep fish culture equipment organized and properly stored.

Example

- Store equipment used during incubation in an area designated only for that equipment - do not store with un-disinfected adult equipment).

### Instrument Disinfection Protocol

Background

When conducting egg takes where there is a known presence of pathogens (eg. BKD, IHN) and/or when conducting sterile organ sampling, instruments must be disinfected between uses. Some types of organ sampling require that instruments be sterilized between uses.

Ovadine is recommended as a disinfectant and Iso-propyl alcohol (Ethanol) is recommended for instrument sterilization.

Standards to Follow

For effective disinfection, organic matter should be brushed or wiped off prior to immersing instruments in the disinfectant.

Ovadine disinfectant, at a concentration of 250 PPM, can be used to disinfect instruments such as stripping knives and egg picking tweezers.

For standard lab sampling, laboratory instruments (tweezers, dissection equipment) can be surface disinfected in 70 - 95% ethanol (also known as ethyl alcohol, Rubbing Alcohol or EtOH).

Instruments should be immersed in the ethanol for at least one minute prior to re-use to allow sufficient time for disinfection.

For sterile organ sampling, instruments (scalpel, tweezers, dissection equipment) must be sterilized by  immersing in ethanol and then passing the instrument tip through a flame to burn off the alcohol. Allow the tip to cool for 5-10 seconds before use.

Caution : during flaming, the instrument tip should be angled downward to prevent burning ethanol from running down the instrument and coming in contact with the operator. Burning ethanol may not be visible so beware of replacing a flaming tip back into the ethanol.

Ethanol can be stored in sealable glass or plastic containers when not in use, and poured into a small beaker for instrument tip disinfection when required. The beaker needs to be wide enough or heavy enough to resist tipping over when handled instruments are placed tip-down inside it.

For lab bench surfaces, 70% ethanol may be transferred into a plastic spray bottle for use. It should be sprayed to coat the desired area of a clean bench top, left for roughly one minute contact time, then the excess may be wiped off with a paper towel.

# Adult Capture

Background

All of the required permits (i.e. PAR licence and/or Broodstock Capture Permit) must be in place prior to adult capture programs starting. Permits must be carried to the adult capture locations and must be available for review by a Fishery Officer or other agency representatives.

Inform the Community Advisor of adult capture programs prior to starting.

Provide information on start and end dates, capture locations and methods for the adult capture programs. Provide the names and contact information of the people who are leading the adult capture program (i.e. name of the group and the name(s) of the activity supervisor(s) who will be at the capture site(s)).

The Community Advisor will inform the  Fishery Officers, Habitat Biologist, Fishery Managers and others about the adult capture program.

Standards to Follow

Review the Facility Production Plan to be aware of the species, stocks and numbers of broodstock and eggs that are permitted.

The Facility Production Plan includes a broodstock target. When fecundity is determined to be lower than the pre-season estimate, additional females can be taken.   This number is a guideline to use in arriving at the Production Egg target.

The Production Egg target and the Release targets should be carefully thought out and should consider mortality rates during incubation and rearing prior to release. (This is done prior to the Production Planning process).

The Release target value is a maximum and must not be exceeded.

Follow disinfection protocols to minimize the risk of pathogen transfer from adult capture sites to the hatchery site.

Do not retain adults that have visible signs of diseases such as lesions, bleeding or excessive amounts of fungus.

Individual fish showing external signs of disease should not be transported to the hatchery (i.e. lesions, bleeding at the base of the fins, large amounts of fungus on gills or bodies).

# Adult Capture Methods

### Fish Fences

Standards to Follow

Fish fences should only be installed at the time when the target species is close to migrating through the fence.

If the fish fence is installed in a navigable water, permission from Navigable Waters, Transport Canada, is mandatory. (http://www.tc.gc.ca/eng/marinesafety/oep-nwpp-menu-1978.htm)

If in a navigable water, signs warning of an obstruction (the fish fence) must be placed upstream and downstream of the fence in plain view for boaters and other water craft and recreational users.

Fish fences should be fish-tight to prevent migration, underneath, overtop or through holes in of the fence.

Live traps should have tight fitting, locking, lids to protect fish from predators and vandalism. Live traps should be large enough and designed to minimize turbulence which prevents injury and reduces stress on the fish.

Fish fences should be checked and cleaned at least once per day and more often during high water/high debris events.

Fish should be removed from live traps a minimum of twice daily and adult load rates in the live trap should be kept as low as possible.

Live traps should be as smooth as possible on the inside to reduce injury to the captured fish.

Water temperature should be monitored daily at the fence site. When daily maximum water temperature is unusually high for that site, fish should be handled during the cooler water temperature times of the day. Contact the Community Advisor for advice.

### Beach Seining

Standards to Follow

Beach seining should be done in such a way as to minimize by-catch of non-target species.

Water temperature should be monitored at the beach seine site prior to starting beach seining.

Caution : If water temperature is warmer than usual, be especially vigilant to handle adults in a way that minimizes stress.

Use seine nets with appropriate sized mesh such that fish are not gilled during seining.

Mesh should be knotless to reduce injury to fish.

Ensure that non-target species are not injured by the net.

Watch for signs of stress such as fish rolling over onto their sides or gasping at the surface of the water and reduce holding time in the seine net as required.

### Angling

Standards to Follow

Use single, barbless hooks of an appropriate size for the species being caught (i.e. this will reduce injury to the fish and mortality rate). Do not use treble hooks.

Monitor survival rate and general condition of target and non-target species that are caught.

### Dip Netting

Standards to Follow

Use dip nets with appropriate sized knotless mesh where fish are easily accessible and do not have to be chased.

Consider putting seine nets upstream and downstream of the dip netting sites to make it easier to capture the fish and reduce stress from chasing fish.

# Adult Transport

Standards to Follow

Ensure that a copy of the Broodstock Capture permit(s) and the PAR licence are carried in the transport vehicle(s).

Transport tanks should be clean and disinfected prior to use.

Transport tanks should have tight fitting lids and outlet caps and gates so that water and fluids cannot leak into the environment during transport.

Use oxygen when transporting fish and ensure oxygen levels are monitored during transport. It is good practice to pre-charge with oxygen  prior to adding fish to the tank.

Mucus Protectants

When transporting adults to the hatchery, addition of a mucus protectant, such as

Vidalife TM, is recommended. Vidalife TM is a water conditioning agent that helps protect the fish from abrasions and this helps keep pathogens out.

A mild fish sedative, Aquacalm TM, can also be used to keep the fish calm during transport and transfer to the holding containers.

NOTE : If Aquacalm TM  is used during transport the adults cannot be returned to the stream for carcass disposal or carcass placement. This is due to not being able to meet the lengthy withdrawal time required under regulations  . Carcasses must be diposed of to an enclosed composting area or the local landfill.

The recommended transport tank loading density for adult salmon is 100 grams of fish per litre of water (i.e. a 10% load rate).

When transporting adults of a stock and species where there has been a history of disease, use care in handling and use lighter transport loading densities.

Transport one stock and species at a time.

Refer to Appendix VI for adult transport densities and techniques used by SEP Major Operations facilities.

# Adult Holding and Handling for Egg Takes

It is a requirement to record the number of broodstock captured, number of broodstock used in egg takes and number of broodstock mortalities as per the Project Brood Summary Report, which is a condition of the PAR licence (Appendix II of the PAR licence).

Background

Broodstock represent an important and sensitive life stage. Fish are channelling their energy stores into the maturation of gametes (eggs and sperm) while simultaneously undergoing the physical stresses related to migration, changing temperatures and re-entry into freshwater. The result of all these stressors can be a compromised immune system that can cause the infectious agents that the fish may be carrying to take hold.

As broodstock are held and as they ripen, their bodies are breaking down. This sometimes results in fungal and/or other infections.

The goal is to reduce stress on broodstock to keep them as healthy as possible prior to egg takes.

Failure to adequately address these concerns through proper husbandry techniques and appropriate biosecurity, may lead to the introduction of pathogens into eggs and/or fry or other fish at the facility.

The interval at which brood females should be sorted during holding depends to a large extent on water temperature and season. To produce eggs of the best quality, it is necessary to watch the brood stock closely. The correct degree of ripeness must be attained in the females. Taking eggs before they are fully mature or over-ripe will result in poor egg fertilization rates.

Sorting and checking fish for ripeness too often results in excessive stress and elevated adult holding mortality.

Standards to Follow

Broodstock should be maintained in a separate holding area from other fish (i.e. juveniles).  All broodstock equipment and holding areas should be washed and scrubbed and disinfected with a suitable disinfectant prior to being used for other life stages.

All equipment used on broodstock should be designated for brood use only.

Staff separation should occur whenever possible. Staff that are working with broodstock can work in the juvenile rearing area or in the incubation area only after footwear and outerwear has been properly disinfected.

Adult Holding and Handling for Egg Takes Continued

Where possible, hold males and females of the same stock and species in separate containers. In some circumstances, it may be necessary to hold some males and females together as this may enhance ripening of the females but there is no need to hold all of the males with the females.

Where possible, hold females in separate areas according to degree of ripeness. This will reduce the amount of handling stress that accompanies catching the females and checking them excessively. When fish are held in separate areas only those fish that are very close to spawning condition need to be handled regularly.  This is preferable to regularly putting ALL of the females through capture and handling stress.

If possible fish should be crowded to make dip netting easier. When crowding, reduce the stress of fish by reducing the duration and density of crowding (i.e. keep to the minimum

amount of time possible).  Nets should be knotless, and numbers of fish in the dip nets should be kept low (<1/3 of the net volume) to prevent fish on the bottom of the load from being crushed.

Anaesthetizing of Broodstock

TMS is the approved anaesthetic. Broodstock that are anaesthetized using TMS cannot be returned to the aquatic environment.

Note : When using anaesthetics, test a small number of fish to ensure that the anaesthetic concentration is appropriate.

Monitor the fish until they are ready to be handled (i.e. fish should be docile - just so they are not struggling when being handled) ensuring that once docile they are removed from the anaesthetic.

Caution : Do not add more fish to the anaesthetic bath than can be handled in a safe length of time.

Check/process all fish in the anaesthetic bath before adding more fish.

It is good practice to add a mucus protectant (e.g. VidalifeTM)  to the anaesthetic bath (or broodstock handling tote when not using anaesthetic) as this protects the fish from having the mucous layer damaged. Damage to the mucous layer and skin could lead to infection.

Water quality should be monitored during anaesthesia. It is good practice to oxygenate and buffer the anaesthetic bath. (Refer to Appendix III for anaesthetic protocols).

Adult Holding and Handling for Egg Takes Continued

When the fish can be easily handled they can be netted out of the anaesthetic bath and assessed for ‘ripeness’.

If antibiotics have been prescribed by the Veterinarian, they can be injected during sorting ensuring that the timing of injection is appropriate i.e. the antibiotic coverage time is appropriate to the time span in which the fish will become ripe.

Note : Antibiotic treated fish cannot be disposed of to the aquatic environment (i.e. they must be disposed of to an enclosed  composting or landfill facility).

Female fish are considered ripe when the body wall feels soft and thin and loose eggs are easily expressed from the vent. Male fish are considered ripe when milt is easily expressed.

Handle the fish with care to minimize scale and mucus loss. Do not hold the fish solely by the tail if expected to survive post-handling. Use one hand to hold the tail while using the other hand to support the fish’s body. Use of gloves is appropriate for fish in spawning condition but care must be taken if gloves are used for repetitive checking of fish - due to mucous and scale loss.

After any handling event, monitor the fish closely for signs of injury and monitor and record any mortality as a result of handling.

# Egg Takes

Background

In general, the size of the egg depends upon the size and age of the parent fish, the larger specimens producing more and larger eggs. Egg size varies among different species and

stocks of salmon. The number of eggs produced by females (fecundity) of the same age and species can also vary.

Due to variations in fecundity and egg sizes the broodstock number listed on the aquaculture licence Facility Production Plan is a guideline. Take enough females to meet the Production Egg target listed on the Facility Production plan.

The amount of sperm extruded from a male varies from a few drops to a tablespoonful. It has been stated that one drop of sperm will contain enough spermatozoa to fertilize 10,000 eggs.

Egg Takes Continued

Since there is a limit in the time that both the eggs and the sperm remain viable, correct timing in the spawn taking operation is important. The length of time either eggs or sperm remain viable varies considerably and depends on factors such as water temperature.

When eggs are broken in the egg take operation, the process of fertilization is greatly hampered and at times completely stopped. Broken eggs contribute to poor fertilization as do blood, mucous and faeces in the eggs.

A female fish, heavily laden with eggs, cannot withstand the rough handling sometimes associated with poor hatchery practices. Streamline spawn-taking operations to reduce handling.

Standards to Follow

Take only the number of eggs per stock and species as listed on the Facility Production Plan.

Great care should be taken during the sorting and spawning operation as follows :

- Dip only two or three fish at a time

- Never make a pass through a pen of nearly mature females and fill the bag of the dip net with fish. This can result in broken eggs, poor fertilization, and possibly permanent injury to the fish's reproductive system which is of concern with repeat spawners such as steelhead

- The less the fish are handled the better

Conduct egg takes in a designated area that is away from incubation and rearing areas.

Do not expose eggs and milt to sunlight, rain or any other moisture. Keep them cool and dry.

Kill broodstock in a humane way. A sharp, powerful blow to the top of the fish’s head or overdose in an approved anaesthetic are acceptable methods.

Allow females to bleed out for at least 10 minutes. Bleeding times will vary depending on water and air temperatures. Bleeding time can be increased with cooler water and air temperatures (i.e. less than 12 °C).

Minimize the amount of time that gametes are kept in storage containers awaiting fertilization.

When conducting egg takes on stocks that come from a different watershed, ensure that blood/fluids drain to ground or a municipal/Regional District sewage system.

Work with the fish in a way that reduces the potential for pathogen outbreaks and for pathogen transfer into the environment.

### On-Site Egg Take

Prepare the necessary equipment :

- Tent, tarp or shelter

- record sheets, pencils

- dipnets

- crowders

- killing clubs

- hanging rack, gilling knife, tailers

- numbered egg basins or buckets and lids

- numbered milt bags/containers

- surgical gloves (if needed)

- Ovadine disinfecting solution

- Zach/stripping knives

- Paper towels

- Garbage bags/cans

- Cooler (s)

Staff and volunteers should have designated tasks.  When a person moves from one task to another, disinfect rain gear, footwear and hands in-between tasks.

Tasks include :

- check for ripeness

- kill and place fish on hanging rack or in bleeding tubes (place head up/tail down)

- bleed females

- take females to egg stripping station

- kill males and express milt

- egg stripper - cut open females to collect eggs

- equipment preparation and cleaning

- transport gametes to incubation area

- record keeping

On-Site Egg Takes Continued

Procedure

Prior to starting ensure that there are enough ripe males and females to conduct the egg take.

Follow the steps below :

- Kill the number of ripe females required for the egg take and hang females tail up/head down.

- Using a sharp knife, cut through the gill arches to “bleed” the females for a minimum of 10 minutes.

- Kill an appropriate number of males – it is acceptable to collect the milt first but ensure that the milt is kept out of the light and is kept cool until it is time to fertilize the eggs.

- On the record sheet, write down the number of females and males killed for the egg take. These numbers are required for the Project Brood Summary Report and to show compliance with the Facility Production Plan.

- After females have bled, the female handler can bring the first female to the egg stripping station.  The female is carried tail up and head down until arrival at the egg stripping station.

- Position the female, tail down, directly over top of the egg receiving basin. Keep the basin DRY as water or blood in the eggs will inhibit fertilization. Eggs may start to pour from the vent (ovipositor) into the basin. Use a disinfected and dry stripping knife to make an incision in the female. To make the incision, start at the vent and make the cut upwards towards the gill apex making sure to go around the pelvic girdle.

- Allow eggs to drain into the basin. The egg stripper can use their hand to gently move loose eggs towards the vent. Eggs that are loosely attached to the egg sacs (skeins) can be shaken loose. Eggs that are tightly attached to the skeins should not be used as they are not mature enough to become fertilized.

- Where there is a history of BKD or other infectious diseases, use a clean, disinfected, dry stripping knife for each female OR disinfect the stripping knife and hands of the egg stripper, between females. The egg stripper can wear surgical gloves which are changed between females. Ovadine™  is the recommended disinfectant to use for egg take equipment.

- When all the loose eggs have been removed, do a quick internal examination. Look at the kidney to see if it has pustules or any other abnormalities.

On-Site Egg Takes Continued

Quickly check the rest of the fish internally and externally to look for signs of disease. Record observations.

Repeat the above procedure until all of the females have been stripped.

Caution : ensure that stripping knives and hands are rinsed well and dried after disinfecting in Ovadine.

If there are evident pustules on the kidneys there are two choices that can be made :

- Discard the eggs from that female. Discard the eggs to a sealable garbage bag or bucket of chlorine (bleach) and ensure all equipment that came in contact with that female is disinfected

- Keep the eggs from that female but they must be kept separate from other eggs in the incubation room. That female should be tested for BKD (Bacterial Kidney Disease) by taking a sterile kidney sample and having the Pacific Biological Station fish diagnostics lab conduct BKD testing. Results from the BKD and subsequent recommendations will be provided by the Fish Health Veterinarian.

Transfer egg basins/containers to the incubation area.

Record the number of females that were killed but were not used because they were not mature enough (green) or the eggs were discarded due to water hardening in the body cavity of the female or evidence of pustules on the kidneys.

While eggs are being taken, the milt collection can be done (if sufficient crew).

The males must be wiped dry prior to expressing the milt.

Milt can be expressed into clean, dry, Whirlpack bags or other suitable containers.

Do not let water (rainwater or other water) get into the milt.

Milt should not be exposed to sunlight.

Keep the milt cool by placing it in a cooler containing ice (care must be taken not to place milt directly against ice as freezing can occur). Transfer the cooler containing the milt to the incubation area.

Adult sampling can take place right after the egg take is completed.

### Off Site/Field Egg Take

Off site/field egg takes are used when  :

- a sufficient number of ripe fish are easy to capture making it un-necessary to transport adults to the hatchery for holding. Gametes (dry and separate) are transported to the hatchery site.

- in remote locations (i.e. fly-in only areas and areas that are not accessible by road). It is more cost effective and practical to capture ripe adults, conduct a field egg take and then transport gametes (dry and separate) to the hatchery location.

- satellite streams - some hatcheries conduct enhancement on a variety of streams spread out over a large geographic area. It is practical and cost effective to capture and hold ripe adults at the satellite location and then transport gametes to the hatchery site.

Example : Satellite Stock

Lakelse Lake sockeye are a conservation concern. A Recovery Plan was initiated that included an enhancement component and the closest suitable location to conduct sockeye enhancement is at the Snootli Creek Hatchery in Bella Coola (1.5 to 2 hours flying distance away). Alaska protocols for sockeye culture are used (Appendix XII).

Sockeye are captured in a tributary of Lakelse Lake and field egg takes are conducted. Gametes are transported (dry and separate) by float plane to the Snootli Creek hatchery near Bella Coola).

Fry are returned (by float plane) to Lakelse Lake in early to mid May.

Follow the procedures above for on-site egg takes with the following additional procedures :

- Do not conduct the egg take in direct sunlight as this is damaging to the gametes (i.e. set up the field egg take area in the shade).

- Do not conduct the egg take in the rain (i.e. set up tarps or other suitable covers to ensure that the egg take area stays dry).

- Eggs should be transferred into freezer bags or containers of a sufficient size. Place bags/containers on ice in coolers. Care must be taken not to place eggs and milt directly against ice as freezing can occur.

- Where transport to the hatchery site will be rough on the eggs (i.e. logging road travel, travel in boats) ensure that eggs are protected from breaking by placing coolers onto shock absorbing material (eg. sponge foam or similar material).

- Milt should be expressed into whirlpack bags that are large enough to ensure that as bags are closed at least 90% of the bag contains air (10% milt/90% air).

Off Site/Field Egg Take Continued

- Oxygen can be injected into the milt bags if available. Place bags/containers on ice in coolers.

- Carcasses can be returned to the river in the general area of the capture or egg take location. Dispose of carcasses far enough away from the egg take site so as not to attract predators/scavengers such as bears.

- Remove all garbage (i.e. food containers/wrappers/left-overs, paper towels, empty Ovadine containers etc...) from the site so that bears and other animals are not attracted to the site.

Note : Disinfect egg take equipment and outer wear/footwear at the field site. Disinfect the outside of the egg containers upon arrival at the hatchery.

# Green Egg Enumeration

Background

As egg takes proceed, an accurate inventory of green eggs is required to ensure that the egg target listed on the Facility Production Plan is not exceeded.

Eggs must be enumerated prior to fertilization.

Handling of green eggs is not preferred therefore it is preferable to use the mean fecundity method.

Only conduct green egg enumeration by weight or volume if recommended by the Community Advisor.

Standards to Follow

If possible designate staff, that have not been handling broodstock or conducting juvenile rearing activities, to handle eggs for enumeration and fertilization.

Staff that will be working in the egg handling/incubation area should be in disinfected rain gear and should disinfect their hands. Ovadine™ or Virkon® are recommended products for disinfecting footwear and outer wear prior to handling eggs and milt.

Green eggs can be enumerated using one of the following methods :

- Mean fecundity (number of eggs per female). Historical fecundity data should be used (three years preferred)  to calculate predicted mean fecundity.

- Weight

- Volume

### Green Egg Enumeration Using Mean Fecundity

Fecundity is the number of eggs per full, ripe female.

Fecundity will vary depending on size of the female and can vary between stocks of the same species.

Mean fecundity is calculated at time of eyed egg picking. Where available, use the data from the previous three years of eyed egg picking and enumeration. If detailed data from the previous three years is unavailable do not use mean fecundity to calculate the number of green eggs. Instead, use one of the other methods listed below.

To find the fecundity for a particular stock/species/year, calculate the total number of green eggs by adding up the total number of dead eggs picked out and the total number of live eyed eggs remaining after picking and enumeration.

Total Number of Green Eggs = Total Number of Dead Picked + Total Number of Live Eyed Eggs

To find the fecundity for that stock/species/year, take the total number of green eggs and divide it by the total number of females that were used in the egg takes.

Fecundity = Total Number of Green Eggs ÷ Total Number of Females Used in the Egg Takes

Do not include partial females that are less than 50% full of eggs.

See example 2 below to calculate number of green eggs when using partial females.

Note : Eggs from partial females may be of inferior quality resulting in reduced fertilization rate.

Hint : Use the partial females last. Due to the possibility of  inferior egg quality and reduced fertilization rate, load those eggs into a separate incubator.

Green Egg Enumeration Using Mean Fecundity Continued

Example 1 : To calculate the mean fecundity for the past three years.

For coho egg takes done in the year 2009 the total number of green eggs was 100,000 eggs and 45 females were used for the egg take.

Fecundity = 100,000 eggs ÷ 45 females

Fecundity = 2,222 eggs per female

In 2010 the  total number of green eggs was 110,000 eggs and 47 females were used in the egg take.

Fecundity = 110,000 eggs ÷ 47 females

Fecundity =  2,340 eggs per female.

In 2011 the total number of green eggs was 105,000 eggs and 46 females were used in the egg take.

Fecundity = 105,000 eggs ÷ 46 females

Fecundity = 2,283 eggs per females.

To find the Mean Fecundity, take the average of the three years of fecundity.

Mean Fecundity = (2,222 + 2,340 + 2,283) ÷ 3

Mean Fecundity = 2,282 eggs per female.

If 20 females have been used in an egg take in 2012, the total number of green eggs would be :

Number of females used in the egg take X Mean Fecundity

20 females X 2,282 eggs per female = 45,640 eggs.

The green egg estimate would be 45,650 eggs.

This number should not be greater than the Egg Production target listed on the Facility Production Plan.

Green Egg Enumeration Using Mean Fecundity Continued

Example 2 : How to calculate number of green eggs when partial females are included in the egg take.

In this example, the egg take consists of 10 females. Three of the females are partials and of those three, one female was less than 50% full of eggs.

The mean fecundity from the past three years was calculated at 2,282 eggs per female.

To calculate the number of green eggs, apply the mean fecundity to 9 females and do not include the female that was less than 50% full of eggs.

Number of green eggs = 9 females X 2,282 eggs/female

Number of green eggs = 20,538 eggs

### Green Egg Enumeration Using the Weight Method

Only use this method when recommended by the Community Advisor.

This method involves counting out a weight sample of eggs and then measuring the total weight of eggs from each female.

For small egg takes, less than 10 females, do egg weight samples for each female.

For larger egg takes, do egg weight samples from a proportion of the females (eg. sample 20% or every fifth fish).

Egg sample weights can range from 25 to 100 grams of eggs depending on the size of the egg. Species like Chinook that have larger eggs require a larger weight sample (eg. up to 100 gram samples).

Measure the total weight of eggs for each female.

Where there are identified disease concerns, as determined by the Community Advisor and/or Fish Health Veterinarian, the eggs and ovarian fluid from one female should not be mixed with the eggs and/or ovarian fluid from other females. Equipment must be disinfected between females.

Green Egg Enumeration Using  the Weight Method Continued

Equipment

- egg scoop to get eggs out of the egg basins (eg. Plastic spoons that are about teaspoon size)

- egg sample cups/containers

- a taring weigh scale (balance)

- counting board or surface

- record keeping sheet and pencils

- stock solution of 250 PPM Ovadine

Follow the steps below :

  - Assign each female a number.

  - Line up the egg basins in numeric order.

  - Place the numbered egg sample cups in front of the basin with the corresponding number.

  - Using a taring balance, take the first egg cup/container and place it on the balance.

  - Zero the balance.

  - Use a disinfected, dry, plastic spoon to gently scoop out 25 to 100 grams of eggs into the egg cup/container.

  - Record the weight of the eggs on the record sheet. Count the eggs into the basin they came from. Write the number of eggs counted on the record sheet. (Refer to Appendix I for an example record sheet).

  - When all egg samples have been counted, the total weight of eggs per female is measured.

  - Using a disinfected, dry basin that is identical to the basins containing the eggs, tare the balance to ZERO. Remove the taring basin and put the basin containing the eggs onto the balance.

  - Record the total weight of the eggs for each female on the record sheet.

After an egg basin has been weighed, those eggs can be fertilized

### Green Egg Enumeration Using the Volume Method

Only use this method when recommended by the Community Advisor.

This method involves counting out a volume sample of eggs and then measuring the volume of eggs from each female.

Volume containers must be marked in millilitres (mls).

For small egg takes, less than 10 females, do egg volume samples for each female.

For larger egg takes, do egg volume samples from a proportion of the females (eg. sample 20% of the females).

Egg sample volumes can range from 25 to 100 mls of eggs depending on the size of the egg. Species, like Chinook, that have larger eggs, require a larger volume sample (eg. up to 100 ml samples).

Measure the volume of eggs per female.

Where there are identified disease concerns, as determined by the Community Advisor and/or Fish Health Veterinarian, the eggs and ovarian fluid from one female should not be mixed with the eggs and/or ovarian fluid from other females. Equipment must be disinfected between females.

Equipment

- egg scoop to get eggs out of the egg basins (eg. Plastic spoons that are about teaspoon size)

- egg volume containers for measuring egg samples (eg. 100 ml beakers marked off in 1 ml increments)

- egg volume containers for measuring the total volume of eggs

- counting board or surface

- record keeping sheet and pencils

- stock solution of 250 PPM Ovadine

Ensure that all equipment has been disinfected, rinsed well and dried, prior to egg sampling.

Green Egg Enumeration Using the Volume Method Continued

Follow the steps below :

- Assign each female a number.

- Line up the egg basins in numeric order.

- Place the numbered egg volume cups in front of the basin with the corresponding number.

- Use a disinfected, dry, plastic spoon to gently scoop out 25 to 100 mls of eggs into the egg cup/container.

- Record the volume of the eggs on the  record sheet.

(Refer to Appendix I for an example record sheet).

- Count the eggs into the basin they came from. Write the number of eggs counted on the record sheet.

- When all egg samples have been counted, the total volume of eggs per female is measured.

- Record the volume of the eggs per female on the record sheet.

After the volume of eggs in the basin has been measured and recorded, those eggs can be fertilized.

# Adult Sampling

Background

Adult sampling is not required at all projects. The Community Advisor will provide instruction regarding when sampling is required and what types of sampling are necessary.

Adult sampling is often conducted on hatchery carcasses but can also be done on carcasses at stream locations.

Adult sampling can include :

- Removing scales for fish age analysis

- Removing otoliths as part of a mass marking assessment program

- Removing a piece of the kidney or organs for presence/incidence of pathogens

- Measuring the post orbital-hypural or nose to fork length – is commonly done along with scale sampling

- DNA sampling

- Removing the snout area from coded wire tagged adults

Standards to Follow

Adults carry pathogens therefore any on-site adult sampling should occur away from juvenile rearing and incubation areas. Adults can be sampled in the egg take area as long as there is spatial separation from incubation and rearing areas. This eliminates the need to move them to another location on site (and eliminates the potential of spreading pathogens to another location on site).

Keep the adult sampling site as clean as possible (i.e. contain blood and fluids from adults to the adult sampling area).

Follow equipment disinfection protocols for adult sampling equipment.

Fecundity sampling (counting the number of eggs in a female salmon) should be done in an area that can be disinfected. This will ensure that pathogens from ovarian fluid do not spread.

Samples taken from adults must be stored in a designated area that is away from fish food used for juvenile salmonids or captive broodstock.

Scale sampling, DNA sampling, Post-orbital/hypural length sampling and sampling for Ichthyophthirius multifillis (Ich) or other ecto-parasites, does not require sterile sampling.

When sampling the kidney for BKD, sterile sampling techniques are required.

### Scale, Length, Fecundity and DNA Sampling

Sort males and females so that all of the females are in one group and all of the males are in the other group.

Assign each fish a number.

Lay all fish down on the same side (eg. all fish laid on the right operculum).

Designate someone to record the data. Designate someone to conduct the sampling.

After sampling is complete, immediately discard carcasses to the designated area.

Disinfect the sampling site as appropriate.

### Bacterial Kidney Disease (BKD)

Background

The BKD bacterium is called Renibacterium salmoninarum.

When the bacterium is present outbreaks can be triggered by poor husbandry techniques, poor nutrition and stress.

The disease can impact salmon in both fresh and marine waters. All fish in the salmonid family are susceptible to BKD.

The bacterium can be transmitted horizontally (fish to fish via the water, equipment, people) or vertically (from the female spawner to the egg).

BKD can be present in very young fish, yet they may show no external signs of the disease. Very often, BKD will become evident at the yearling stage and, by this time, the infection can already be at an advanced stage.

Some of the common external signs of BKD are a combination of the following :

- Pop-eye (eyes are protruding)

- Darkening of the skin

- Haemorrhaging at the base of the fins

- Pale gills

- Fluid accumulation in the abdominal cavity – the abdomen looks swollen

When any of those external symptoms are evident, contact the Community Advisor and/or Fish Health Veterinarian.

Bacterial Kidney Disease : Background Information Continued

To determine if BKD is present in a stream system, returning adults can be screened/tested for the presence of BKD.

Sterile kidney sampling to test for the presence of Bacterial Kidney Disease (BKD) will be done when directed by the Community Advisor or Fish Health Veterinarian.

Sterile kidney sampling is used as a tool to determine the incidence of BKD in a stock of fish.  If BKD is present in the stock(s) of fish at the hatchery, an appropriate level of bio-security must be put into practice.

There are four basic levels of BKD test results :

- Negative – this means that fish that were tested have no detectable level of BKD (i.e. the lab couldn't detect BKD but it may be present in extremely low levels).

- Low Positive for BKD – BKD is present but at very low levels. The eggs from a low positive female, do not have to be destroyed. It is preferable that fish resulting from those eggs be released as unfed or fed fry. Where a smolt/yearling release has been planned, the fry should be tested for BKD to determine incidence levels. If incidence levels are negative to very low, the Community Advisor or Fish Health Veterinarian may recommend/approve rearing of those fish to the smolt/yearling release stage.

- Moderate positive for BKD - those eggs have a moderate incidence of BKD.  It is best if those eggs are destroyed.  If the Community Advisor and Fish Health Vet recommend retaining those eggs, place them in a separate incubator or on the bottom of the Heath stack. Ensure that effluent water from those incubators does not flow through the other eggs or fish. Resultant fry should be kept separate from other groups of fry. Release as unfed fry is preferred.

- High Positive – this means that there is a high incidence of BKD in those eggs. High positive eggs pose a high fish health and bio-security risk. Those eggs must be destroyed. Egg destruction can be done by placing the eggs in a bucket containing bleach. Dispose of those eggs to the landfill.

Note : Kidney samples must be submitted to the lab by a date that will give the lab enough time to conduct the testing and provide results back to the hatchery prior to the eggs becoming eyed. The Fish Health Veterinarian or the lab technicians can assist you in determining the deadline date for submitting samples for BKD analysis.

### Sterile Kidney Sampling for BKD

Ask the Community Advisor or a person with fish health training who is familiar with Sterile Kidney Sampling techniques to demonstrate the technique first.

Standards to Follow

Only females are to be sampled

- Label Whirl-pak™ bags with the female’s identification number using  a waterproof felt pen.

- Put two sets of instruments (i.e. a scalpel and  tweezers) into a beaker of alcohol.  Burn off the alcohol by passing the blade of the scalpel and the tweezers, tips down, through a propane torch flame (called “flaming”).  Tools may be laid across the top of the beaker until used.

- Do an external examination.  Record any abnormalities.

- Pull away swim bladder and other internal organs using the scalpel handle.  Start at the anterior (head) end of the swim bladder and pull down and towards the tail end.  DO NOT TOUCH the middle or posterior (tail end) kidney with the scalpel handle!

- Using the "flamed" (sterilized) scalpel, cut a piece of kidney (about 1cm wide x 1cm deep x 2 cm long, or roughly the distance between the tip of your thumb and the knuckle) from the posterior portion of the kidney.  Use the tweezers to put these into the labeled Whirl-pak bag and seal.  DO NOT TOUCH THE KIDNEY SAMPLE WITH ANYTHING BUT THE TWEEZERS!!!  Put the Whirl-pak™ bag on ice in either a garbage bag or cooler to keep the samples cool.  Wipe the scalpel blade and tweezers with paper towel and return them to the alcohol beaker.  Frequently change the scalpel blade as it becomes dull easily and scrub tweezers with a wire brush to keep them clean.

- Examine the internal organs and record any abnormalities.

- Discard any eggs from fish with obvious pustules in the kidney or if the ovarian fluid is cloudy.

- The samples can be frozen until all samples have been collected.

- When all samples have been collected, phone the lab at 250-756-7057 with the sample size, and make an appointment with the lab – they will tell you what date to send the samples. On the day that samples are to be shipped, make sure that the frozen kidney samples are placed in a cooler with ice packs. Samples should arrive at the lab while still frozen so timing is important. Put a copy of the BKD Sampling Record sheet in a freezer bag, seal it and place it in with the kidney samples. Include the address of the hatchery and the phone number of the contact person who shipped the samples.

(Refer to Appendix I for the BKD sample record sheet).

- When shipping by air, provide the airline information to the lab i.e. arrival time at Nanaimo Airport and the airline’s waybill number.

- It is VERY IMPORTANT that the samples be kept cool at all times.  The airline will often have a cool area where they can store the cooler until it is shipment time.

### Shipment of Fresh Kidney Samples

Follow the steps above for taking kidney samples and informing the lab of the shipment date.

To ship fresh kidney samples, they must reach the lab within 24 hours of being taken.

Ensure that kidney samples are in well marked freezer baggies and ship them on ice, in a sturdy cooler. Make sure that you attach KEEP COOL labels to the cooler and ask the airline or courier to keep the cooler in a cool place.

Note : When shipping samples by air, provide the airline information to the lab i.e. arrival time at the Nanaimo Airport and the airline’s waybill number.

Note : For off site/field adult sampling, do not use waders with felts on boots, hip or chest wader soles. Use Vibrum or other boot sole grip materials that can be properly disinfected. Felt soles have the potential for transferring invasive species and other organisms from one aquatic environment to another.

Do not cross watershed boundaries before disinfecting equipment and personal gear.

Where possible schedule your field work so that you concentrate on one watershed per day.

All sample bags/containers must be labelled while in the field and transported ensuring that fluids do not leak from sample bags/containers into the environment.

# Carcass Disposal

Carcasses that have been transported to the hatchery for use as broodstock can be disposed of in two ways :

- Return to the same stream location : Be careful about putting large numbers of carcasses into the location of origin if water flow and level conditions are low. Carcass build up may attract predators and cause un-pleasant odors to nearby homes and public areas. Where possible, spread the carcasses out i.e. do not put them in one large pile in the stream.

- Dispose directly to a landfill :This may require pre-authorization from the municipality or Regional District responsible for the landfill.

Note : Carcasses that result from adult broodstock that have been treated with chemical anaesthetics or antibiotics must not be disposed of to a stream.

There may still be chemical by-products present in the tissue (meat) of the fish that can be harmful to animals that consume it. These carcasses should be disposed of to a landfill.

Carcasses may be frozen prior to disposal. Ensure that carcasses are placed in a freezer on-site that is designated for carcass disposal.

Do not freeze carcasses in close proximity to fish food or in close proximity to frozen biological samples.

# Carcass Placement for Stream Enrichment

Background

Historically, large numbers of salmonid carcasses provided entire watersheds with abundant nutrients and organic matter derived from the ocean. Recent research strongly supports the hypothesis that salmon carcasses play a key role in maintaining the productivity of salmonid systems and benefiting the aquatic and terrestrial ecosystem as a whole. Rearing juveniles consume salmon eggs, feed directly on spawned-out carcasses, and benefit from increased abundance of invertebrates and algal growth. The presence of carcasses in streams has been related to increased juvenile density, growth rate, body size, improved fish condition, improved over wintering survival and ultimately increased marine survival. The riparian vegetation also benefits from nutrients derived from rotting carcasses transported into terrestrial ecosystems by bears and other animals.

Carcass Placement for Stream Enrichment Continued

Standards to Follow

Follow the “Guidelines for In-Stream Placement of Hatchery Salmon Carcasses” attached as Appendix III of the PAR licence and as Appendix XIII in the BMP document.

Contact the Community Advisor for assistance.

# Spawning Protocols/Egg Fertilization Protocols

Background

Egg fertilization or spawning protocols are extremely important. In nature, fish select a mate using a variety of cues. They are able to identify related individuals and will select fish that are unrelated.  Mate selection and spawning in the wild ensure that genetic diversity in a population is maintained and negative genetic impacts from inbreeding do not occur. This is especially important for streams that have a very small escapement.

In fish husbandry, fish culturists determine the individuals that will mate. Fish should be selected randomly (i.e. do not cross larger fish only with larger fish) for mating crosses and all broodstock should have an EQUAL opportunity to contribute their genetics to the population of fish.

Standards to Follow

Consult the Community Advisor for advice regarding use of hatchery and wild fish in egg takes.  Follow the Operational Guidelines for Pacific Salmon Hatcheries. (Appendix IX).

In some cases hatchery fish will be used proportionately to capture rate and in other cases, the use of wild fish only may be recommended.

Where run size is not known, use escapement estimates provided by the Community Advisor OR only take 30% of the fish caught during each capture effort.

Example

If 18 fish are caught on a specific date, randomly select 30% or 6 of those fish to be used as broodstock.

Return the other 12 fish to the stream.

Ensure that jacks are used proportionately to capture rate.

Spawning Protocols/Egg Fertilization Protocols Continued

Do not remove more than 30% of the total run for use as broodstock as this may result in a NEGATIVE impact on the wild population.

The Reason Why

This has the impact of exaggerating the contribution of the broodstock offspring into the genetic material of subsequent generations.

Refer to the Salmonid Enhancement Program Operational Guidelines for Pacific Salmon Hatcheries included as Appendix IX.

Use males ONCE and then humanely destroy them (i.e. do not return them live to the stream).

Under NO circumstances should you conduct cross stock fertilization. DO NOT provide milt from males at one hatchery to another hatchery (i.e. from one creek to another).

The Reason Why

If milt from males is used on more than ONE female – this gives those males a genetic advantage over other males. If those males contain deleterious genetic material –that genetic material is being propagated resulting in a NEGATIVE impact (reduced survival rates) on those stocks.

The goal is to have hatchery fish spawn in the wild with the same success as wild fish.

Use only the spawning (fertilization) protocols listed listed in Appendix IX:

- Matrix fertilization

- One female to one male fertilization

- One female to two males fertilization

Use the fertilization method that the Community Advisor has recommended. (Refer to Appendix IX).

### Matrix Fertilization

Matrix fertilization is employed when very few spawners are available (less than 50) and/or collected broodstock make up a significant proportion (>20%) of that years escapement and/or future adult returns are expected to be comprised of a large percentage of enhanced origin fish.

Equipment

- Three or four small egg containers for each female that has been spawned

- Weigh scale or volume measuring containers

- Milt in numbered bags – enough for three to four different males for each female’s eggs.

- Record sheet and pencils

Ensure that all equipment has been disinfected, rinsed well and dried prior to use.

Follow the steps below :

- Divide each females’ eggs into three or four equal lots.

- This can be done using weight or volume. Each lot of eggs will be in a separate, disinfected and dry container.

- Use a different male per lot of eggs.

DO NOT POOL MILT.

Matrix Fertilization Continued

Example

For Female #1 eggs : Split into three equal sized groups of eggs.

Use 3 different males.

Lot #1 eggs X Male #1

Lot #2 eggs X Male # 2

Lot #3 eggs X Male #3

For Female #2 eggs : Split into three equal sized groups of eggs.

Use another 3 males.

Lot #1 eggs X Male #4

Lot #2 eggs X Male #5

Lot #3 eggs X Male #6

### One to One Fertilization

Where there is confidence that the milt is fully viable (i.e. water temperature is within the normal range, milt is white, containing no blood or other body fluids) and there are more than 50 spawning pairs available, one male can be used to fertilize one female.

Example

For Female #1 eggs, add milt from Male #1 onto the eggs.

For Female #2 eggs, add milt from  Male #2 onto the eggs.

For Female #3 eggs, add milt from Male #3 onto the eggs.

When the milt has been added to the eggs, add enough water to the egg basin to completely cover the eggs.

For re-circulating systems, like aquariums, use water from the aquarium and ensure that the aquarium water is chlorine free.

Although fertilization usually takes less than thirty seconds it is good practice to allow the eggs and milt mixture to sit in the water for about 60 seconds.

One to One Fertilization Continued

After 60 seconds, the eggs can be rinsed using the incubation source water. This rinses excess milt and other matter from the eggs.

When rinsing eggs destined for an aquarium, use the aquarium water to rinse the eggs and do not pour the rinse water back into the aquarium.

### One to Two Fertilization

Where there is not complete confidence that the milt is fully viable (i.e. water temperature is within the normal range and there are more than 50 spawning pairs available), two males can be used to fertilize one female.

Example

For Female #1 eggs, add milt from Males #1 and #2 onto the eggs.

For Female #2 eggs, add milt from Males #2 and #3 onto the eggs.

For Female #3 eggs, add milt from Males #3 and #4 onto the eggs.

When the milt has been added to the eggs, add enough water to the egg basin to completely cover the eggs.

For re-circulating systems, like aquariums, use water from the aquarium and ensure that the aquarium water is chlorine free.

Fertilization usually takes less than thirty seconds but allow the eggs and milt mixture to sit in the water for about 60 seconds.

After 60 seconds, the eggs can be rinsed using the incubation source water. This rinses excess milt and other matter from the eggs.

When rinsing eggs destined for an aquarium, use the aquarium water to rinse the eggs. Do not pour the rinse water back into the aquarium.

# Ovadine Disinfection of Eggs

Background

The increase in egg survival provided by Ovadine disinfection through removal of surface viral, bacterial, protozoan, and fungal pathogens has been shown repeatedly.

For Pacific salmon species, the effective concentration of 100 ppm and 10 minute exposure (60 minutes for sockeye) has been tested and used for decades without issue, is well within safety margins, and has been shown to reduce surface pathogens significantly, thereby increasing survival to ponding. There is a minor risk of harming a

few weak eggs, but the danger is far outweighed by the effectiveness that

iodophors have at reducing pathogens that could kill a lot more if given the

opportunity. (Dr. Paige Ackerman, StreamTalk April 2012).

Standards to Follow

All eggs at Community Involvement Program hatcheries, field incubation sites and classroom incubators must be disinfected in a 100 PPM solution of Ovadine.

The standard egg disinfection time for all species except sockeye is 10 minutes during the initial stages of water hardening. The protocol for disinfection of sockeye eggs is a 100 PPM static bath for 60 minutes, during the initial stages of water hardening. (Refer to Appendix XII for the Alaskan Protocols for Sockeye which are being used by the Salmonid Enhancement Program).

Note : If at all possible, disinfect eggs in the incubation container to minimize handling during water hardening.

Caution : Make sure that Ovadine from incubators does not flow through alevin or fry as this will result in mortality.

Disinfection is normally done as a static bath but flow through treatments may be used as an alternate method, as determined by the Community Advisor.

For a 100 PPM solution of Ovadine, add 10 mls of Ovadine concentrate to each litre of water.

Ovadine Disinfection of Eggs Continued

### 100 PPM Ovadine Solution Guide for Egg Disinfection

| Volume of Ovadine Concentrate (mls) (from the jug of Ovadine) | Volume of Water (Litres) |
| --- | --- |
| 10 | 1 |
| 50 | 5 |
| 100 | 10 |
| 150 | 15 |
| 200 | 20 |
| 250 | 25 |
| 300 | 30 |
| 400 | 40 |
| 500 | 50 |
| 1000 | 100 |

Caution : Ovadine should be deactivated or diluted before being released to the aquatic environment or Ovadine can be drained to ground.

(Refer to Appendix II for instructions).

### Heath Tray Egg  Disinfection as a Static Bath

This Preferred Method should not be used on re-circulating water systems.

Eggs should be loaded from the top of the stack towards the bottom of the stack.

Heath trays each hold between 10 and 11 litres of water when they are full.

Note : Heath tray valves do not have to be adjusted as trays are pulled forward OUT of the flow for a static bath treatment.

Follow the steps below :

- Measure the volume of the Heath trays to determine how much Ovadine should be added to the water to make a 100 PPM solution of Ovadine.

- Add the Ovadine concentrate (undiluted, right from the container of Ovadine) directly to the Heath tray basket. Stir in the Ovadine concentrate to ensure uniform distribution in the water.

- Pour the fertilized and washed eggs directly into the Heath tray basket, install the basket lid and leave the tray out of the flow for 10 minutes.

- After 10 minutes gently push the Heath tray back into the stack.

Heath Tray Egg Disinfection as a Static Bath Continued

Note : For each stack of Heath trays to be treated with Ovadine, ensure that the same number of Heath stacks are flowing with fresh, incubation source water. This will ensure an appropriate dilution rate for the Ovadine and it will be safe to discharge to the aquatic environment when the Ovadine treated trays are pushed into the flow. (Refer to Appendix II for further information on Ovadine).

### Static Bath Egg Disinfection Outside an Incubation Unit

This method is appropriate for re-circulating water systems and is also a cost effective method where a large number of incubators would require treatment with Ovadine (i.e. uses less Ovadine as the solution can be used multiple times reducing the cost).

In a re-circulating water system, the water from the incubation room and/or the rearing containers is circulated through a bio-filter system that strips out waste matter and some chemicals (eg. ammonia) and then the filtered water is re-circulated through incubation, rearing and adult holding containers.

Chemicals used to disinfect the eggs will not be stripped out in the bio-filters and should not be released to the effluent system as that water will re-circulate through all incubation, rearing and holding containers - resulting in mortality.

Egg disinfection must be done in stand-alone containers.

NOTE : use of a stand alone container involves moving eggs that are water hardening and are sensitive to movement. Move eggs as gently as possible from the disinfecting container to the incubator immediately after the Ovadine treatment.

The stand-alone containers must be large enough to receive perforated buckets, sieves, nets or other containers used to hold the eggs.

When using Heath trays eggs can be disinfected in the Heath tray basket (make sure the lid is on) using an empty tray (or two) as the disinfecting container.

Static Bath Egg Disinfection Outside an Incubation Unit Continued

Follow the steps below :

- To make a 100 PPM solution of Ovadine, add 7 litres of water to the Heath tray and stir in 70 mls of Ovadine.

- Place the empty Heath tray basket into the Ovadine solution. Gently pour the fertilized and washed eggs into the Heath tray basket.

- Allow eggs to sit in the Ovadine solution for 10 minutes.

- After 10 minutes, very gently lift the Heath tray basket of eggs out of the Ovadine solution.

- Allow the Ovadine to drain off the eggs back into the Heath tray being used as the disinfectant container.

- Make sure that the destination tray contains some water. Gently place the Heath tray basket into the destination tray and gently push the tray into the flow.

For eggs that will be incubated in bulk incubators, Atkins cells and/or  Kitoi boxes follow the steps below :

- Mix up a stock solution of Ovadine in a large bucket or tote.

- Hang/place sieves, nets or perforated buckets in the Ovadine bucket/tote.

- Once eggs have been fertilized and washed, gently pour the eggs into sieves, nets, or perforated bucket(s) and allow to sit in the Ovadine for 10 minutes.

- After 10 minutes, gently lift the sieves, nets, or perforated bucket(s) out of the Ovadine solution. Allow the Ovadine to drain off the eggs back into the disinfectant container.

- Gently pour the eggs into the incubator.

The Ovadine solution can be used two to three times or until the Ovadine is no longer dark brown. The disinfectant solution will be a rusty brown colour when fresh, but as iodine degrades, the solution will start to lighten in colour to yellow indicating a loss of activity and effectiveness.

To dispose of the Ovadine drain to ground or de-activate or dilute sufficiently before pouring the solution into the aquatic environment. Refer to Appendix II for further information.

### Atkins Cell Egg Disinfection as a Static Bath

For this method, all water flow valves are left open and remain at their original flow settings.

Note : To ensure adequate dilution of the Ovadine after the treatment, ensure that for each Atkins cell being treated, there is an Atkins cell flowing with fresh, incubation source water. This will ensure a safe dilution level as Ovadine flows out of the treated Atkins cells into the hatchery effluent and/or to an aquatic environment.

Follow the steps below :

- Remove the outlet cap on the Atkins cell that is upstream of the cell that will receive eggs.  The water will continue to flow through the upstream Atkins cell(s) but will not flow through the Atkins cell to be treated with Ovadine.

- Place 60 litres  of a pre-made Ovadine solution into the cell receiving eggs.

Hint : To make a 60 litre Ovadine solution add 600 mls of Ovadine to 60 litres of water.

- Load all of the fertilized eggs into the Atkins cell and set timer for 10 minutes.

- After 10 minutes, replace the outlet cap on the upstream Atkins cell. Flow will resume to the downstream Atkins cell and Ovadine will be flushed out of the incubator.

- Ensure that water is flowing through all cells to the downstream most cell before leaving the incubation area.

NOTE : If the Atkins cell is not filled with ONE egg take and eggs must added to the Atkins cell, eggs must still be disinfected in Ovadine. The eggs from subsequent egg takes must either be disinfected in a static bath outside of the incubation unit or the flow through method may be used.

### Atkins Cell Egg Disinfection Using Flow Through

Flow through Ovadine disinfection may be used when the Atkins cell is not filled with one egg take (i.e. eggs are added to the Atkins cell from later egg takes). Eggs that have been previously added to the incubator will be treated with Ovadine on each occasion that eggs are added to the incubator. This does not harm the eggs.

Follow the steps below :

- Set the line of Atkin’s cells to 10 L/min flow. (The cell flows can be preset prior to incubation and the flow lines can be marked on the inside of the last Atkins cell in the line).

- Dispense 25 ml of Ovadine to the head section of the cells to be disinfected every 15 seconds for ten minutes. The total volume of Ovadine to be delivered is 1 L.

- After all of the Ovadine has flushed through all the cells, the flow is set to 30 L/min by using the 30 L/min mark line on the last cell in the line.

NOTE : It is preferable to dispense the Ovadine using a peri-staltic pump or other calibrated dispensing device.

# Incubation

Background

A basic understanding of egg development can be of great use in understanding the incubation requirements of salmon eggs.

Newly fertilized eggs are a delicate life stage and there are a number of factors that affect their health and development. Light, temperature, and oxygen are the three primary considerations in incubation.  In nature, salmonid eggs are buried safely in redds, in cool, flowing, oxygen rich waters. In culture, we must attempt to mimic these conditions to ensure high quality fry and good survival rates.  In nature, the water in which eggs incubate is exposed to many different pathogens and mortality rates to hatch are often high. In culture, we can protect the eggs during incubation from this early mortality through simple protective methods (such as regular fungal treatments and appropriate disinfection procedures) to prevent the introduction and/or spread of disease.

Salmon eggs become progressively more fragile during a period from roughly 48 hours after water hardening until they have reached the eyed stage. It is best not to  handle the eggs during this extremely sensitive life stage. Once the eggs reach the eyed stage, they are

Incubation Continued

quite resilient and can withstand careful handling in a way that avoids undue stress or

damage. This is the point at which egg shocking and egg picking generally should take place.

Standards to Follow

### Accumulated Thermal Units Method to Monitor Stage of  Development

Accumulated Thermal Units (ATUs) should be used to monitor the stages of development from egg to fry.

Knowing the stage of development of the egg is imperative in determining which incubation activities are appropriate. The table below provides some information on water temperature and stage of development.

Predicted embryonic development times for five species of Pacific salmon and steelhead trout,  from Billard and Jensen (1996). Taken from Clarke 1997.

| Species | Temperature ° C | Yolk plug closure | Eyed stage | 50% hatch |
| --- | --- | --- | --- | --- |
|  |  | Days | ATUs (°C-days) | Days | ATUs (°C-days) | Days | ATUs (°C-days) |
| Chinook | 5.0 | 26.7 | 133.5 | 51.5 | 257.5 | 102.4 | 511.8 |
| (O. tshawytscha) | 7.5 | 17.9 | 134.5 | 34.2 | 256.6 | 70.3 | 527.5 |
|  | 10.0 | 13.4 | 133.5 | 24.9 | 249.2 | 52.6 | 526.4 |
|  | 12.5 | 10.6 | 132.1 | 19.2 | 240.5 | 42.1 | 525.7 |
| Chum | 5.0 | 31.9 | 159.6 | 50.1 | 250.3 | 99.6 | 498.2 |
| (O. keta) | 7.5 | 19.3 | 145.1 | 32.4 | 243.3 | 72.3 | 542.3 |
|  | 10.0 | 13.3 | 133.0 | 22.9 | 229.0 | 54.4 | 544.5 |
|  | 12.5 | 9.9 | 123.2 | 17.1 | 214.1 | 42.7 | 533.2 |
| Coho | 5.0 | 22.8 | 114.1 | 46.1 | 230.6 | 93.6 | 467.8 |
| (O. kisutch) | 7.5 | 16.3 | 122.1 | 31.5 | 236.6 | 63.1 | 473.6 |
|  | 10.0 | 12.0 | 119.7 | 22.8 | 227.8 | 45.9 | 459.5 |
|  | 12.5 | 9.0 | 112.9 | 17.1 | 214.4 | 35.6 | 444.8 |
| Pink | 5.0 | 36.7 | 183.4 | 51.4 | 257.2 | 109.0 | 545.0 |
| (O. gorbuscha) | 7.5 | 22.2 | 166.2 | 32.3 | 242.5 | 80.9 | 606.4 |
|  | 10.0 | 15.1 | 151.5 | 23.1 | 231.4 | 63.0 | 629.6 |
|  | 12.5 | 11.2 | 139.4 | 17.8 | 222.7 | 54.0 | 674.9 |
| Sockeye | 5.0 | 27.3 | 136.4 | 48.2 | 240.9 | 122.8 | 613.8 |
| (O. nerka) | 7.5 | 18.3 | 137.0 | 34.3 | 257.2 | 90.5 | 679.0 |
|  | 10.0 | 12.6 | 126.0 | 25.0 | 249.6 | 69.3 | 693.2 |
|  | 12.5 | 8.9 | 111.4 | 18.5 | 231.7 | 55.4 | 692.5 |
| Steelhead | 5.0 | 17.6 | 88.0 | 34.3 | 171.4 | 70.7 | 353.4 |
| (O. mykiss) | 7.5 | 11.7 | 87.5 | 23.9 | 179.5 | 47.2 | 354.0 |
|  | 10.0 | 8.5 | 84.6 | 17.1 | 171.0 | 32.9 | 328.6 |
|  | 12.5 | 6.5 | 81.1 | 12.5 | 155.9 | 24.8 | 309.8 |

Accumulated Thermal Units Method to Monitor Stage of Development Continued

Billard, R., and J.O.T. Jensen. 1996. Gamete removal, fertilization and incubation. Pages 291- 363 In: W. Pennell and B.A. Barton, Editors. Developments in Aquaculture and Fisheries Science V. 29: Principles of Salmonid Culture. Elsevier, Amsterdam.

Clarke, C. 1997. Predictions for salmonid egg development. Aquaculture Update No. 80. Fisheries and Oceans Canada

Clarke, C. 2000.IncubWin : A New Windows 95/98NT Computer Program for Predicting Embryonic Stages in Pacific Salmon and Steelhead Trout. Aquaculture Update No. 87

Accumulated thermal units are calculated by adding up the incubation water source temperature each day during the incubation period.

Example

On September 25'th, egg incubation began. The water temperature was 10 degrees C.

| Egg Take Date : Sept 25'th |  |  |
| --- | --- | --- |
| Date | Water Temp (C) | ATUs |
| Sept 25 | 10 | 0 |
| Sept 26 | 10 | 10 |
| Sept 27 | 9.5 | 19.5 |
| Sept 28 | 9.0 | 28.5 |
| Sept 29 | 9.0 | 37.5 |
| Sept 30 | 8.5 | 46.0 |

Record the daily water temperature and the ATUs  from the time incubation begins to the day the fry are ponded.

(Refer to Appendix I for an example record sheet).

Caution :  Do not disturb salmon eggs until the eggs have reached 250 ATUs unless otherwise instructed by the Community Advisor. Eggs are very sensitive to being moved prior to 250 ATUs.

Note : trout eggs develop eyes at an earlier ATU. Contact the Community Advisor for information on trout egg development.

### Egg Fertility Rate Monitoring

Background

Egg fertility rate monitoring is useful in situations where milt viability may be a concern. For example, when water temperatures are well above 15 °C, milt viability may be low and this may result in lower fertilization rates.

Egg fertility can be checked at the stage of development where two to four cell division (ATUs = 18 to 21) can be seen.

Where fertility rates are below acceptable levels and egg targets will not be met as listed on the Facility Production Plan, extra eggs may be taken so that the Production Egg target can be met.

Standards to Follow

Egg fertility rate monitoring should be done only as advised by the Community Advisor.

CAUTION : before the eyed stage, eggs are very sensitive to mechanical shock. Removing eggs to conduct fertility rate checks may cause significant mortality.

Follow the steps below :

- At 18 to 21 ATUs, very gently remove 10 eggs from the incubator and place them in a glass or clear plastic container containing household grade white vinegar or Stockard’s solution.

- Make sure that the eggs are completely immersed in the vinegar or Stockard’s solution and wait 10 to 15 minutes.

- The vinegar/Stockard’s solution clears the amniotic fluid in the egg making the cell visible. Using a magnifying glass or a microscope look for the two or four cell stage of cell division. There should be a clear “line” delineating the cells.

- Record the total number of eggs checked and the total number of eggs at the two or four  cell stage.

- Eggs that have been cleared in vinegar or Stockard’s solution are dead and must  be discarded.

### Egg Fungal Treatments

Background

Dead eggs serve as growth media for fungal infections. Once a fungal infection has started, it can spread rapidly to adjacent eggs and can result in poor survival to hatch. Egg disinfection and picking are the first steps in preventing fungal infections. However, depending on water source, temperature and water hardness, preventing and controlling fungal infections of eggs may be best accomplished by administering chemical treatments.

Standards to Follow

Discuss the use of fungal treatments with the Community Advisor prior to commencing any treatment.

Egg batches should be observed on a routine and frequent basis to assess and track the development of mortalities and fungal infection.

Chemicals used for treating fungus are dangerous and should only be used as a last resort, not as a matter of course.  Alternate water supply, water treatment or other options should be considered.

Caution: observations must be done without causing premature shocking of eggs (i.e. very gently pull out Heath trays, removing Atkins cell and/or Kitoi box lids to inspect the eggs).

Use approved treatments such as Parasite-S™ or Perox-Aid TM to control fungus on eggs. Fungal treatments can be started one to two days after fertilization. The standard treatment is a twice weekly, 15 to 20 minute, flow through treatment. Depending on severity of fungal infections, treatments can occur more regularly than twice per week as recommended by the Community Advisor or Fish Health Veterinarian.

Ensure that these chemicals are dispensed at the appropriate drip rate so the concentration is consistent throughout the treatment period. Medical IV drip bags, peristaltic pumps, and other constant drip devices are recommended and those devices must be calibrated to deliver a consistent flow rate of the treatment chemical.

Caution : Always consult the MSDS information BEFORE handling these chemicals (Appendix II).  Use the appropriate Personal Protective Equipment when handling and administering chemicals. Do not pour Parasite-S™ or Perox-Aid TM solutions into the incubators by hand as contact with skin and/or inhaling vapours is harmful.

Provide signage at the work area to warn other staff/volunteers that you are working with Parasite-S™ or Perox-Aid TM.

Egg Fungal Treatments Continued

Fungal treatments must be stopped by approximately 375 ATUs or five days prior to hatch for Pacific salmon species.

Caution : DO NOT release effluent water from a treated incubator without sufficient dilution. As a rule of thumb,  DILUTE the effluent water by having it mix with the effluent from other untreated incubators and rearing containers BEFORE it enters the aquatic environment (eg. when treating a Heath stack, ensure that there is water flowing at the same flow rate or more, from an untreated Heath stack). DO NOT release effluent water from Parasite-S or Perox-Aid into re-circulating water systems.

### Egg Fungal Treatments Using Parasite-S TM

Caution : Parasite-S is dangerous! Check the information in Appendix II before proceeding with a Parasite-S treatment.

This Preferred Method should not be used on re-circulating water systems. This method should not be used if the discharge water from the incubators is not sufficiently diluted prior to entering a stream or water course.

Set flow to 12 LPM in each Heath stack to be treated.

Set flow to 30 LPM in each Atkins cell line to be treated.

Prepare a solution by mixing 1.67 mls of Parasite-S TM in 1 litre of water. Make sure that you make up enough solution for the fungal treatments.

Solution Guide for Parasite-S TM

| Amount of Parasite-S TM (mls) | Amount of Water (l) |
| --- | --- |
| 1.67 mls | 1 litre of water |
| 3.34 mls | 2 litres of water |
| 8.35 mls | 5 litres of water |
| 12.53 mls | 7.5 litres of water |
| 16.7 mls | 10 litres of water |
| 33.4 mls | 20 litres of water |

Calculation for Fungal Treatment Using Parasite-S TM in Heath Stacks

Flow (L/min) x concentration  x duration (min)    = amount of  Parasite-S (L) to add

1,000,000

Example

12 L/min x 1667 ppm x 20 min  = 0.400 L Parasite-S

1,000,000

For Heath trays with a flow of 12 LPM use 400 mls of the Parasite-S TM solution for a 20 minute, flow through treatment.

Dispense 26.7 mls of the Parasite-S TM solution into the top tray every minute for 20 minutes.

Calculation for Fungal Treatment Using Parasite-S TM in Atkins Cells

Example

30 L/min x 1667 ppm x 20 min  = 1.000 L Parasite-S

1,000,000

For a line of Atkins cells with a flow of  30 LPM use 1.00 litres of the Parasite-S solution for a 20 minute flow through treatment.

Dispense 50 mls of the Parasite-S solution into the head section of the first Atkins cell in the line, every minute for 20 minutes.

### Egg Fungal Treatments Using Perox-AidTM

Caution : This chemical is dangerous! Check the information in Appendix II before proceeding with a Perox-Aid  treatment.

This  method should not be used on re-circulating water systems. This method should not be used if the discharge water from the incubators is not sufficiently diluted prior to entering a stream or water course.

Egg Fungal Treatments Using Perox-AidTM  Continued

The standard treatment regime to prevent fungal infections of eggs is 500 ppm for 15 minutes every other day. To treat existing fungal infections, use 500 ppm for 60 minutes every other day.

Set flow to 12 LPM in each Heath stack to be treated.

Set flow to 30 LPM in each Atkins cell line to be treated.

Mix 1.43 mls of Perox-AidTM in 1 litre of water to make up the solution.

Calculation for Fungal Treatment Using Perox-AidTM in Heath Stacks

This calculation is to prevent fungal infections.

Flow (L/min) x concentration  x duration (min)    = amount of Perox-Aid (L) solution to 								add

1,000,000

Example

12 L/min x 500 ppm x 15 min  = 0.090 L Perox-Aid

1,000,000

For Heath trays with a flow of 12 LPM use 90 mls of the Perox-Aid solution for a 15 minute, flow through treatment.

Dispense 4.5 mls of the Perox-Aid stock solution into the top tray every minute for 15 minutes.

Calculation for Fungal Treatment Using Perox-AidTM  in Atkins Cells

This calculation is to prevent fungal infections.

Example

30 L/min x 500 ppm x 15 min  = 0.225 L Perox-Aid

1,000,000

For a line of Atkins cells with a flow of 30 LPM use 0.225 litres of the Perox-Aid solution for a 15 minute flow through treatment.

Dispense 11.25 mls of the Perox-Aid stock solution into the head section of the first Atkins cell in the line, every minute for 15 minutes.

# Egg Shocking, Picking and Enumeration

### Egg Shocking

Background

Dead eggs are removed to reduce fungal growth and disease transfer.

After eggs have reached the eyed stage, they are no longer sensitive to movement and should be physically shocked to differentiate between live eggs and dead eggs. The shocking process breaks the egg membrane allowing water to enter the egg. This causes the dead egg to turn white/opaque. Many of these dead eggs are eggs that simply did not get fertilized.

Standards to Follow

Note :  Check the ATU record sheet to determine which batches of eggs should be eyed.

(Refer to the Predicted embryonic development times for five species of Pacific salmon and steelhead trout in the ATUs section to find ATUs at the eyed stage).

Gently pull out the tray/open the incubator to make sure you can see a well developed eye before shocking the eggs.

Shocking eggs prior to the stage of  development when the eyes have formed, will cause mortality.  If you wait too long to shock the eggs (i.e.closer to hatch), this can cause mortality or premature hatching.

Hint : Egg shocking is a good time to clean incubators and/or incubator trays of any fungus, silt or fine organic matter.

Heath trays and baskets can be washed and rinsed clean.  Trays can be dinsinfected in Ovadine after washing and this keeps the eggs cleaner and less susceptible to fungus.

Handle the eggs using the same incubation water source that the eggs came from.

It is preferable to wait 24 hours after shocking before picking out the dead eggs.

Once eggs are eyed, regular removal of dead eggs reduces fungus growth.

Dead and live eggs must be enumerated as accurately as possible to determine the total number of eggs that were loaded into the incubators at egg take time and to determine the current live balance.

Egg Shocking Continued

Keeping track of the dead and live eggs at time of shocking and initial picking, allows the calculation of the survival rate from egg to eyed egg.

This is the accurate starting live balance that all subsequent inventory numbers will be based on.

### Shocking Eggs from Heath trays

Equipment :

- buckets

- clean basins/containers

- garden hose hooked into incubation water supply

Follow the steps below :

  - Fill the basin about ¼ full with water.

  - Fill buckets about 1/2 full of water.

  - Gently pour the eggs from the Heath tray basket into the basin.

  - Spray off the Heath tray, basket and lid to clean it. Inspect the tray screen for tears. Heath trays and baskets can be disinfected using a 250 PPM Ovadine solution.

  - Put the Heath tray basket back into the Heath tray but leave the lid off.

  - Pour the eggs from the basin into the bucket. Make sure the eggs drop from a height of at least 45 cms (18 inches) but not more than 61 cms (24 inches).

  - Pour the water off the eggs and then pour the eggs back into the Heath tray. Replace the lid and push the Heath tray back into the stack.

  - Repeat the procedure for each batch of eyed eggs. It is preferable to wait 24 hours before starting the dead pick.

### Shocking Eggs from Atkins Cells

Equipment :

- Five to ten buckets

- siphon hose with a minimum inside diameter of ¾ of an inch

Follow the steps below :

- Fill each bucket about ¼ full with water.

- Siphon the eggs out of the Atkins cell into the buckets making sure that the eggs drop a height of at least 45 cms (18 inches) but not more than 61 cms (24 inches).

- Pour off the water and pour the eggs back into the Atkins cell.

- Repeat the procedure for each batch of eyed eggs. It is preferable to wait 24 hours before starting the dead pick.

### Eyed Egg Picking and Enumeration

Pick out dead eggs and do not dispose of the dead eggs to the aquatic environment (i.e. dispose of dead eggs to a garbage container going to landfill or to an enclosed composter).

Use egg picking equipment that will not damage the eggs. Tweezers work well for hand picking when the mortality rate is low.

Automatic egg picking machines can be used when mortality rates are high (over 20%) or when hand picking is not practical (i.e. large number of eggs to be picked).

Hand counting or weight enumeration of dead eggs is preferred.  Volume enumeration is not preferred but can be done as an alternate method where the eggs are relatively clean (i.e. little to no fungus).

Keep accurate records of the numbers of dead eggs picked out and of enumeration of live eggs.

(Refer to Appendix I for Egg Picking and Enumeration record sheets).

Note : Enumeration of live eggs by weight is preferred.

Eyed Egg Picking and Enumeration Continued

Incubators can be re-loaded after picking to make best use of available space and water flow. Pooling of eyed eggs can be done with the same stock and species, when the egg take date is the same and there are no disease concerns (i.e. screening results for BKD are negative).

### Eyed Egg Picking and Weight Enumeration for All Types of Incubators

Pick the dead eggs BEFORE conducting weight enumeration.

Heath trays can be pulled out of the flow and the dead eggs can be picked out.

For Atkins cells and bulk incubators, eggs can be transferred to empty Heath trays for picking or eggs can be placed in suitable containers (i.e. must be able to efficiently pick out dead eggs).

Eyed eggs must be kept moist and should not be left out of flowing water for more than 30 minutes.

Count all of the dead that are removed. Record the number of dead eggs by incubation container on the record sheet.

Live eggs should be weight enumerated. Enumeration by volume is an acceptable alternate method.

Weight Enumeration of Eyed Eggs Continued

Example of  weight enumeration of shocked and dead picked eggs.

Follow the steps below :

- Pour live eyed eggs from the incubator into a basin or bucket containing enough water to cover the eggs.

- Pour the eyed eggs into a strainer(s) – this drains the water from the eggs.

- Weigh out and count two or three samples of eggs. For Heath trays take two 25 gram samples and for Atkins cells and bulk incubators take three 50 to 100 gram samples (i.e. due to the larger number of eggs, larger sample sizes are required for accuracy. Follow appropriate biosecurity protocols when working with lots of eggs that require separation due to the presence of BKD or other pathogens.

- Return counted eggs to the strainer(s).

- Record the sample weights and the corresponding number of eggs on the record sheet.

- Weigh all of the eggs in the strainer(s) to get the total weight of live eggs. Record the total weight.

- Return the live eggs to the incubator.

Eyed Egg Picking and Weight Enumeration for All Types of Incubators Continued

EXAMPLE for a Heath Tray

Calculate the following:

1.  Calculate the mean number of eggs per gram using the egg samples.

(125 + 145)/(25 + 30) = 4.92

2.  Calculate the number of live eggs using the mean number of eggs per gram and the total weight of eggs for that incubator.

4.92 X 1245 = 6121

3.  Calculate the total number of green eggs loaded into the tray by adding together the number of live eggs and the number of dead eggs that were picked out.

6121+57 = 6178

Survival rate = number of live eggs/no of green eggs taken

Survival rate = 6121/6178 = 0.99 or 99%

Mortality rate = 100% - survival rate

Mortality rate = 100% - 99% = 1%

### Eyed Egg Picking and Volume Enumeration for All Types of  Incubators

Note : Volume enumeration of live (or dead) eggs is not as accurate as weight enumeration and is not the preferred method.

Pick the dead eggs BEFORE conducting volume enumeration.

Pull Heath trays out of the flow to pick out dead eggs.

For Atkins cells and bulk incubators, eggs can be transferred to empty Heath trays or other suitable containers for picking.

Eyed eggs must be kept moist and should not be left out of flowing water for more than 30 minutes.

Count all of the dead that are removed. Record the number of dead eggs by incubation container on the record sheet.

(Refer to Appendix I).

Dispose of dead eggs to an appropriate location (i.e do not be return to the aquatic environment).

Eyed Egg Picking and Volume Enumeration for All Types of Incubators Continued

Example of volume enumeration of shocked and dead picked eggs.

Follow the steps below :

- Pour live eyed eggs from the incubator into a basin or bucket containing enough water to cover the eggs.

- Pour the eyed eggs into a strainer(s) – this drains the water from the eggs.

- Using calibrated beakers/containers take two or three volume samples of eggs. For Heath trays take 25 ml samples and for Atkins cells and bulk incubators take three 50 ml to 100 ml samples (i.e. due to the larger number of eggs, larger sample sizes are required for accuracy). Follow appropriate biosecurity protocols when working with lots of eggs that require separation due to the presence of BKD or other pathogens.

- Return counted eggs to the strainer(s).

- Record the sample volumes and the corresponding number of eggs on the record sheet.

- Volume all of the eggs in the strainer(s) to get the total volume of live eggs. Record the total volume.

- Return the live eggs to the incubator.

Eyed Egg Picking and Volume Enumeration for All Types of Incubators Continued

Example for a Heath tray

| Sample #1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Volume | No. eggs | Mean |  |  |
| of eggs(ml) | counted | eggs/ml |  |  |
| 25 | 125 | 5.00 |  |  |
| Sample #2 |  |  |  |  |
| Volume | No. eggs | Mean |  |  |
| of eggs(ml) | counted | eggs/ml |  |  |
| 30 | 140 | 4.67 |  |  |
| Mean No. | Total | No. Live | No. Dead | Total Green |
| eggs/ml | Volume(ml) | eggs | eggs | Eggs Taken |
| 4.82 | 1250 | 6025 | 57 | 6082 |

Calculate the following :

Mean number of eggs/ml = (125+140)/(25+30)

Mean number of eggs/ml = 4.82 eggs/ml

Number of live eggs = Total volume of eggs X mean number of eggs/ml

Number of live eggs = 1,250 mls X 4.82 eggs/ml = 6,025 live eggs

Total number of green eggs that were loaded into the incubator = #live + # dead

Total number of green eggs = 6025 + 57 = 6,082 eggs

Survival rate = number of live eggs/number of green eggs taken

Survival rate = 6025/6082 = 0.99 or 99%

Mortality rate = 100% - survival rate

Mortality rate = 100% - 99% = 1%

### Transfer of Eyed Eggs

Background

Eyed eggs may be transferred from a hatchery site to a classroom aquarium or to another hatchery site. Hatcheries that are re-introducing salmon may not have access to broodstock and will transplant fish as approved by the Introductions and Transfers Committee (ITC). (Refer to the website for information on the ITC - http://www.dfo-mpo.gc.ca/aquaculture/regions/pac/introduction-eng.htm)

Newly fertilized eggs are at an extremely sensitive stage and cannot be moved. Often the hatchery facility that has access to broodstock will incubate eggs to the eyed stage and then transfer eyed eggs to the receiving facility or classroom incubator.

Standards to Follow

Note : All Transfers In and Out must occur in accordance with the Facility Production Plan (Attachment I of the PAR licence).

At the Donor Hatchery Site

- Shock, pick and enumerate the eyed eggs to be transferred.

- Ovadine disinfect the eyed eggs to be transferred the day prior or the day of transfer.

- Use clean, disinfected containers to transfer eggs. (For coolers make sure the outside of the cooler is wiped down with Ovadine just prior to leaving the hatchery).

- Prepare a Transfers Out record sheet (Example record sheet in Appendix I).

- A copy of the PAR licence must accompany the eyed eggs to the receiving facility.

At the Receiving Hatchery

- Prepare the incubators by disinfecting, rinsing well and setting flows.

- Incubators that will receive eyed eggs should be spatially separated (isolated) from other incubators on site (reduces risk of pathogen transfer from donor site to the receiving site).

- When eyed egg containers arrive, wipe down the outsides of the containers with Ovadine before transferring containers to the incubation area.

- record the live balance of eyed eggs, the current ATUs etc... onto the Transfers In and incubation record sheets. (Refer to Appendix I for example record sheets)

- return the eyed egg transport containers to the donor hatchery staff/volunteers AFTER they have been wiped down with Ovadine. (This reduces the risk of pathogen transfer from receiving to donor hatchery).

# Ponding

Background

Ponding of fish involves transferring emerged/swim-up fry from incubators to hatchery rearing areas. This occurs when the swim-up fry have utilized most of the yolk sac (i.e. there is just a faint hairline slit along the belly remaining).

Swim-up fry exhibit different behaviour than alevin. Since fish are more dense than water they will sink when the swim bladder is empty. Alevin do not fill the swim bladder and so remain on the bottom of the incubator. Swim-up fry actively swim towards the surface of the water and gulp air to fill the swim bladder.  Once the swim bladder has been inflated the fish attain neutral buoyancy and can swim to various depths in the water.

Swim-up fry have few nutrient reserves in the remaining yolk sac and must seek food.

Note : The timing of ponding is crucial.

Fish that are ponded either too early or too late can become stressed which increases susceptibility to pathogens.

Readiness for ponding can be monitored by tracking ATUs and through visual observation of yolk sac absorption.

Standards to Follow

Plan ahead.

Purchase fish food prior to ponding fry or contact the Community Advisor if they usually purchase the fish food for the project.

Clean and disinfect rearing containers, rinse and set to the appropriate ponding flows and water levels in advance of ponding.

Install covers on the rearing areas so that newly ponded fry have refuge from direct sunlight, this reduces stress. Covers will also protect juveniles from predation.

Prepare a schedule that shows which incubators will be loaded into each rearing container.  (Refer to Appendix I for an example Ponding Schedule). It is good practice to pond the number of fry that will maximize the rearing density in the container at PEAK rearing. This eliminates stressing fish due to moving them to alternate rearing containers as they grow.

Ponding Continued

Prepare the record sheets for each of the rearing containers to be used.

(Refer to Appendix I for example record sheets).

Use ATUs to approximate ponding dates.

Use visual checks on rate of yolk sac absorption to determine exact ponding date(s).

The use of ponding boxes is recommended. (Refer to Appendix X for information on ponding boxes).

Note : Maximum rearing density for full size Capilano troughs with a volume of 2 cubic metres, is 1.0 kgs of fish per LPM of flow OR 32.4 kgs of fish per cubic metre of water.

Maximum rearing density for circular tubs, rearing raceways and earthen channels is 1.0 kgs of fish per LPM of flow OR 10 kgs of fish per cubic metre of water.

Refer to :Oceans, Habitat and Enhancement  Facts and Figures, Fourth Edition, 2009 for information on rearing density.

When to Pond

Pond only when 75% of the fish in the incubator no longer have the yolk sac visible and there is a faint, hairline slit along the belly line.

How to Pond

It is good practice to test a sample of fry to make sure they are ready to swim up. This can be accomplished by removing 30 to 50 fry from the incubator, and placing them in a bucket containing about 15 cms of aerated water. If they "swim-up" within 10 – 15 minutes they are ready to pond. If fry remain on the bottom of the bucket (i.e. are not swimming up and down in the water column), they are not ready to pond and should be returned to the incubator.

Ponding is a stressful time for fry therefore handle as gently as possible. Do not de-water fry during ponding (i.e. always transport fry in water to the rearing location).

It is good practice to pond fish early in the day and this allows time to observe the fry throughout the day (i.e. do not pond fish late in the day and then leave the site) to ensure they are not in distress. It is good practice to pond fish in stages and this allows fish time to swim up. Ponding too many fish at once can lead to fry clumping together which may cause mortality from smothering.

Ponding Continued

Count any dead eggs that remain in the incubators and update the live balance for each incubator that has been ponded.

Enter the ponding live balance for each rearing container, onto the rearing record sheet(s).

(Refer to Appendix I for an example rearing record sheet).

### Ponding from Heath Trays

DO NOT remove the Heath tray basket and carry it to the rearing location.  This can damage the fry and increase the risk of developing an infection.

There are two methods for transferring swim-up fry from the Heath tray to the rearing container :

- Using a large tote or basin containing water, gently submerge the basket in the water. Remove the basket lid and gently pour fry into the water. Carry the tote/basin to the rearing location and pour into the rearing container.

- Remove the entire Heath tray, leaving as much water as possible in the tray, and carry the entire tray out to the rearing container. Gently submerge the tray in the water. Remove the Heath tray basket lid and allow fry to swim out.  While keeping the Heath tray basket in the water, gently tip the basket to release the fry to the rearing container.

Note : It is good practice to use ponding boxes. Ponding boxes are submerged just below the surface of the water making it much easier for fry to swim to the surface for air to fill the swim bladder. (Refer to Appendix X for further information).

Where ponding boxes are not used, water level in the rearing container should be low (15 to 25 cms) to encourage swim-up. Flow level should also be low (i.e. keep velocity low) enough so that fry are not swept downstream to the end screen.

Once fry are free-swimming in the water, water level can be increased so that fry are at an acceptable rearing density i.e. less than 32.4 kgs of fish biomass per cubic metre of water.

Record the Heath tray number, live balance and ponding location on the ponding record sheet.

Record the number of fish ponded onto the rearing record sheet(s).

(Refer to Appendix I  for example record sheets).

### Ponding from Keeper Channels

When 75% of the fry are buttoned-up and swimming freely (not staying on the bottom), remove the keeper channel end screens so fry have access to the rearing raceways.

After two to three days, remove every second keeper channel lid to encourage movement downstream. Re-install the keeper channel lids at night to protect the fry from predation.

After three days, remove all the lids during the day and move the gravel aside to create an open channel down the middle of the keeper channels. Gradually begin reducing the flow in the keeper channels. This should encourage the remaining fry to migrate downstream into the raceways. (Remember to replace the keeper channel lids at the end of each day to protect fry from predation).

The few fry that remain in the channels can be removed with a dip net.

Record the keeper channel number(s), ponding dates and rearing raceway number on the ponding record sheet.

### Ponding from Bulk Incubators

When fry are observed swimming above the incubation box media (gravel, bio-rings etc…) the outlet to the rearing area can be opened.

Fry from bulk incubators will swim out on their own or as they swim-up, they can be dip netted out of the box and transferred in buckets to the rearing area.

Opening the lid of the bulk incubator to daylight will encourage swim-up.

Caution : Replace the lids at the end of the day to protect the fry from predation.

If eggs were enumerated at the eyed stage, and dead eggs were picked and counted from the bulk incubator screens, use the resulting live balance to record the number of fry ponded.

Without an eyed egg enumeration number, fry migrating out of bulk incubators must be weight enumerated to determine the ponding live balance.

Note : The number of fry ponded must be recorded on the Project Brood Summary Report attached as Appendix II of the PAR licence.

Use the ponding record sheet to record dates of ponding, ponding locations and the number of fry ponded to each rearing container. (Refer to Appendix I for example record sheets).

### Fry Enumeration from a Bulk Incubator, By Weight

Background

Conduct weight enumeration if recommended by the Community Advisor.

If there is uncertainty/suspected error in the number of fry emerging from a bulk incubator, the fry can be weight enumerated as they emerge. Weight enumeration involves taking a series of weight samples (similar to bulk sampling) to determine the mean weight of the fry and then bulk weighing all of the fry that emerge.

Fry of different species will have different mean weights at time of swim-up. Over the duration of swim-up from a bulk incubator, the size of the fry may change (i.e. larger swim-up fry migrate out of the incubator earlier).

Standards to Follow

Weight samples and total weight of fry should be taken DAILY during out-migration from bulk incubators.

Follow the steps below :

- Capture fry at the outlet area of the bulk incubator. This can be done by setting up a capture net that is large enough to hold the numbers of fry that will migrate over a 10 to 12 hour period OR divert migrating fry to a section of a rearing container using pipes attached to the incubator outlet.

- Take three weight samples containing at least 100 fry each. Take a random sample so that the fish being sampled provide good representation of the group of fish that have out-migrated from the incubator.

- Calculate the mean fry weight (grams/fry).

- Bulk weigh the fry that have migrated to the capture area making sure to weigh them as "dry" as possible.

- Calculate the number of fry that have out-migrated.

Number of fry = Bulk (total) weight/mean fry weight

Refer to the example below.

Fry Enumeration from a Bulk Incubator, By Weight - Continued

Example : Weight Enumeration of Fry from a Bulk Incubator

Find the mean weight of a fry (g/fry).

| Sample # | Weight (grams) | No. of Fish Counted |
| --- | --- | --- |
| 1 | 25 | 100 |
| 2 | 32 | 130 |
| 3 | 27 | 107 |
| Total | 84 | 337 |

Mean Fry Weight = Total Weight of all the samples ÷ the total number of fry counted

Mean Fry Weight = 84 ÷ 337

Mean Fry Weight = 0.25 grams/fry

Weigh all of the fry that migrated from the bulk incubator.

- Fill two or three buckets about half full with water from the bulk incubator or a rearing container.

- Place one of the buckets onto the weigh scale and zero the scale.

- Gently scoop fry from the capture area - making sure to take light loads (i.e. do not squish the fish on the bottom of the dip net).

- Let the water drain out of the dip net for approximately 5 seconds or gently dab the dip net onto paper towel, and then pour the dip net of fry into the bucket.

- Put a few kgs of fish into the bucket. Record the weight and transfer fry to the rearing container.

| Bucket No. | Weight (g) | Bucket No. | Weight (g) |
| --- | --- | --- | --- |
| 1 | 1210 | 5 | 1150 |
| 2 | 950 | 6 | 1200 |
| 3 | 1300 | 7 | 1450 |
| 4 | 1650 | 8 | 1350 |

Total Weight of fry moved to the rearing container = 10,260 grams

Number of fry moved to the rearing container = Total weight of the fry ÷ Mean fry Wt The number of fry moved to the rearing container =  41,040 fry

# Rearing

Background

Rearing represents the greatest time and energy investment during the entire process of fish culture at an enhancement facility. It is a period that requires care and attention to details that may seem relatively minor, but may well determine the overall health of the population.

Feeding of fish is one of the most costly activities at a hatchery making it extremely important to feed in a way that reduces waste and maximizes growth.

Proper nutrition helps the fish maintain a strong immune system and this reduces susceptibility to disease.

Although handling of fish should be minimized, some handling is necessary so that mean weight can be determined, rearing containers can be cleaned and fish can be transferred to larger rearing containers as they grow.

Care should be taken to minimize stress on fish as follows :

- Exclude predators (covers on all rearing containers)

- Provide water of good quality (dissolved oxygen, water temperature, pH etc...all within preferred limits for salmonids)

- Ensure appropriate rearing densities

- Reduce waste build-up in containers

- Handle fish carefully taking care not to damage the mucous coat

The flow of fish culture activities is important.

Fish culture activities should be done in a way that minimizes the risk of pathogen transfer from one rearing container to another and from older year classes (eg. yearling juveniles) to younger year classes (eg. fry of the year) at the hatchery site.

Fry of the year, and especially newly ponded fry, are more susceptible to infection from pathogens than yearling juveniles. It is important to conduct activities like rearing container cleaning, mortality picking and individual or bulk sampling, starting with fish of the youngest age class FIRST and then working with older (yearling) juveniles.

Rearing Continued

Standards to Follow

Regardless of year class (age of the fish), clean and pick mortalities from rearing containers that are showing signs of illness or have increasing mortality rates – LAST.

Keep juvenile year classes in separate rearing areas of the hatchery( i.e. fry should be reared in an area that is spatially separated from yearling juveniles).

All juvenile rearing containers should be spatially separated from adult holding containers and egg take areas.

Each rearing container should have a separate set of cleaning equipment.

If it is not possible to have a set of cleaning equipment for each rearing container (eg. vacuum cleaning hoses), follow equipment disinfection protocols where cleaning equipment has to be shared.

Where possible, assign separate mortality buckets/containers to each rearing container.

Clean rearing containers regularly so that waste matter does not accumulate. Daily cleaning is common practice.

Monitor daily mortality rates in each rearing container.

Classify the mortalities as :

- Background mortality - expected losses

- Systems related – due to systems or equipment failure eg. accidental over-dose in anaesthetic

- Environmental – water quality, water temperature

- Disease related

- Handling/transport

- Removal of pinheads

Record the mortality data on the rearing record sheets.

(Refer to Appendix I for example record sheets).

Rearing Continued

Note : If daily mortality rate in a container is 0.1%, there may be a fish health issue starting. This is a cue to carefully watch the fish and monitor daily mortality rate.

Note : If the mortality rate in a container is more than 0.5% for four consecutive days, contact the Community Advisor and/or Fish Health Veterinarian.

Note : If the mortality rate for the three month period prior to release is 5% or greater, this could be an indication of Bacterial Kidney Disease. Send samples to the Fish Health Vet for disease screening.  Conducting fish health sampling 3 months prior to release allows time to treat fish before release.

### Initial Feeding

Background

Starting newly ponded fry on feed takes patience and vigilance. Fry may be unsure of their rearing environment and may not respond to the presentation of feed for a few days.

Water temperature will also affect the fish's appetite. Fry that are ponded into cooler water may have a slower feeding response as compared to fry ponded into warmer water.

Starter feeds have a unique nutrient content and pellet size and are specifically formulated for newly ponded fry.

Use starter feeds that are recommended by the Community Advisor.

Standards to Follow

Fish food must be stored, handled and fed according to the feed manufacturer’s instructions.

In general, keep food cool, out of direct sunlight and in containers with tight fitting lids to keep moisture and pests (insects, small animals) out.

Use fish food that is within the expiry date marked on the fish food package. When ordering fish food, ensure that the fish food that you order has been manufactured as recently as possible.

Use best judgement when determining feed rate. The objective is to feed what the fish want – use the manufacturer’s feed schedule as a guideline only.

Initial Feeding Continued

For example, newly ponded fry may only be interested in eating 60% of the ration at the start. As fish grow and as water temperature increases the feed rate will increase.

It is common practice to feed less than 100% of the recommended daily ration. The exact ration can be determined by observing feeding behaviour, amount of food in the waste and by monitoring conversion ratio.

Feed regularly and only during daylight hours for the first 5 to 10 days.

It is preferable to feed by hand when initiating feeding. When feeding by hand observe feeding behaviour and adjust feeding frequency and amounts per feeding accordingly.

A good feeding response is when all fish actively go after feed pellets and very little fish food is reaching the bottom of the rearing container.

If automatic feeders must be used, they should be placed in such a way that all fish have an opportunity to gain access to the fish food. The automatic feeders must be set at a feeding frequency that ensures that the daily ration is delivered evenly throughout the day.

Note : Waste food on the bottom of the rearing container is an indication that either fish are not eating the food (fish may not have caught onto the feed, pellet size may be too large, fish may be ill), or the food is being fed too quickly, and/or quantity of food at each feeding is too much.

Track the amount of fish food being fed and eaten and record this on the rearing record sheets.

Feed Calculation

Amount to feed = Number of fry X their mean weight (grams/fry) X percent body weight per day (from the feed manufacturer’s feed schedule – refer to example feed schedule below).

Example Feed Schedule (www.bio-oregon.com)

| Example Feed Size and Feed Rate Guidelines |  |
| --- | --- |
| Feed Size | # 0 | # 1 | # 2 | 1.2 mm | 1.5 mm | 2.0 mm | 2.5 mm |
| Water | Fish Size(g) |  |  |  |  |  |  |
| Temp °C | 0.15 - 0.80 | 0.80 - 1.5 | 1.5 - 3.0 | 3.0 - 5.0 | 5.0 - 8.0 | 8.0 - 18 | 18 - 40 |
| 2 | 0.7 | 0.7 | 0.7 | 0.5 | 0.4 | 0.3 | 0.2 |
| 4 | 1.3 | 1.2 | 1.1 | 1 | 0.9 | 0.7 | 0.6 |
| 6 | 2.1 | 2 | 1.8 | 1.6 | 1.4 | 1.2 | 0.9 |
| 8 | 2.7 | 2.6 | 2.4 | 2.2 | 2 | 1.7 | 1.4 |
| 10 | 3.1 | 3 | 2.7 | 2.5 | 2.4 | 2.1 | 1.7 |
| 12 | 3.5 | 3.3 | 3.1 | 2.9 | 2.7 | 2.4 | 1.9 |
| 14 | 4.1 | 3.8 | 3.7 | 3.5 | 3.2 | 2.8 | 2.3 |
| 16 | 4.7 | 4.5 | 4.3 | 4 | 3.7 | 3.3 | 2.6 |

Example : Feed Calculation Using the Feed Size and Feed Rate Guidelines above.

Number of fish in the rearing container 			20,000

Mean Weight of the fish					1.65 g/fry

Water Temperature °C					8.0

Step 1. Find the feed rate from the table above. The water temperature is 8 degrees and the fish size falls into the 1.5 to 3.0 gram category. The feed rate is 2.4%.

Step 2. Convert the feed rate from a percentage to a decimal by dividing by 100%

The feed rate would be 2.4 ÷ 100 = 0.024

Step 3. Find the total BIOMASS of fish in the rearing container.

Biomass = Number of fish in the rearing container X the mean weight

Biomass = 20,000 fry X 1.65 g/fry

Biomass = 33,000 grams.

Example Feed Calculation Continued

Step 4. The amount to feed = biomass X feed rate

The amount to feed = 33,000 grams X 0.024

The amount to feed = 792 grams

Use the recommended feed pellet size – in this example, use the #2 size feed.

NOTE : This calculation is for 100% of the ration. In many cases, a 100% ration is not necessary. Discuss the ration with the Community Advisor to determine what would be best for the fish at a specific site.

Using the biomass from the example above :

To feed 80% of the ration : 33,000 grams X .024 X 0.8

The amount to feed at 80% ration = 633.6 grams of fish food

To feed 60% of the ration : 33,000 grams X .024 X 0.6

The amount to feed at 60% ration = 475.2 grams of fish food

### Feeding

Standards to Follow

Feed the fish regularly so that the daily calculated feed amount can be dispensed throughout the course of the day.

It is appropriate to feed a greater amount of the daily fish food ration during times of the day when fish have an increase in feeding behaviour.

Use fish food that is recommended by the Community Advisor. The food must be of an appropriate quality with pellets that are appropriate for the size of the fish (based on mean weight).

Monitor the amount fed to each rearing container on a daily basis. Record the amounts on the rearing record sheet. This information can be used to calculate feed conversion ratios.

Feed conversion ratio is the ratio of food fed to achieve a gain in biomass. The biomass is the combined weight of all fish in the rearing container. (Oceans, Habitat and Enhancement Facts and Figures, 4’th Edition 2009).

The food conversion ratio is a good indicator that shows when too much food is being fed.

The goal is to have as much of the food as possible converted into growth of the fish.

Feeding Continued

Example Feed Conversion Ratio Calculation

In a 10 day period the fish grew from a mean weight of 1.65 grams to a mean weight of 1.95 grams.

Number of fish = 20,000

8,650 grams of fish food was fed during that period.

Step 1. Calculate the starting biomass.

Biomass = Number of fish X mean weight of the fish (grams)

Starting biomass = 20,000 X 1.65 g/fry = 33,000 grams

Step 2. Calculate the current biomass.

20,000 X 1.95 g/fry = 39,000 grams

Step 3.	 Calculate the biomass gain.

Current biomass – starting biomass

39,000 grams – 33,000 grams = 6,000 grams

Step 4.	 Calculate the Feed Conversion Ratio

Food Conversion Ratio = Amount of Food Fed ÷ Biomass gain

Food Conversion Ratio = 8,650 grams ÷ 6,000 grams = 1.44:1

Step 5. Analyze the results.

This means that for every 1.44 kgs of fish food that is fed, the group of fish will gain 1.0 kgs of weight.

Feed Conversion Ratios that are close to 1:1 are best. This means that most of the fish food being fed is being converted into growth and very little fish food is being wasted.

Feeding Continued

Re-calculate the amount of food at least once every 10 to 14 days. It is preferable to use actual mean weights.

If weight sampling is not possible, ask the Community Advisor to recommend a growth projection model to determine approximate mean weight.

### Rearing Container Cleaning and Mortality Removal

Background

Build up of waste in rearing containers can compromise water quality increasing stress on the fish which increases susceptibility to pathogens.

The presence of mortalities in the rearing area can contribute to :

- horizontal transmission of disease

- attraction of predators

- negative effects on water quality and hygiene in the fish's environment

Timely removal of dead fish from the rearing environment decreases predator attraction and pathogen spread and assists in keeping water quality parameters within preferred levels.

Gentle cleaning can be conducted the day after ponding and daily cleaning is preferred.

Standards to Follow

Clean rearing containers with the youngest and healthiest fish first.

Conduct rearing container cleaning as early as possible during the day. When possible, cleaning should be done prior to first feeding of the day.

The cleaning equipment and method must be appropriate for the rearing container and size of fish (i.e. least amount of stress on the fish). For example – for a Capilano trough, use brushes that are small enough to avoid fish while brushing the bottom and sides of the trough.

Use a cleaning method that effectively removes waste from the rearing container without stirring up the waste into the water column. Waste matter in the water column can cause gill irritation and reduced fish health.

Each rearing container should have its own cleaning equipment and mortality container. This reduces the risk of horizontal transmission of pathogens.

Rearing Container Cleaning and Mortality Removal Continued

For large raceways, have separate brushes. For other cleaning equipment (vacuum hoses, vacuum heads) that is shared between rearing containers, follow equipment disinfection protocols.

Hint : Inspect the rearing container waste and make note of the amount of fish food in the waste. This can be done by visual inspection to determine if the amount of fish food in the waste is low, moderate or high. There should be little to no fish food in the waste once the fish have caught onto their feed.

Pick out and count mortalities either during cleaning or right after cleaning.

Record mortalities on the rearing record sheet.

Calculate the daily percent mortality rate.

Remember : If the daily percent mortality rate reaches 0.5% for four consecutive days, contact the Community Advisor and/or Fish Health Veterinarian

Example : How to Calculate  % Daily Mortality Rate

Daily Mortality Rate = Number of mortalities picked out that day ÷ Number of Live fish in the rearing container on that day

% Daily Mortality Rate = Daily Mortality Rate X 100%

Number of live fish on Feb 13’th = 23,445

Number of mortalities picked out on Feb 14’th = 200

Number of live fish on Feb 14’th = 23,245

Daily Mortality Rate = 200 ÷ 23,245

Daily Mortality Rate = .0086

% Daily Mortality Rate = .0086 X 100% = 0.86%

In general, inspect the mortalities on a regular basis to look for signs of disease.

Classification of mortalities is helpful at sites with a history of disease as this allows for early detection of diseases.

Classification of mortalities should be done when the daily mortality rate begins to rise above what has been normal.

Rearing Container Cleaning and Mortality Removal Continued

Note : Dispose of the mortalities to an appropriate location. Do not dispose of mortalities to the aquatic environment.

Dispose of mortalities :

- To an enclosed composting area

- To a septic system

- To a landfill

Capilano Trough Cleaning and Mortality Removal

Cleaning should be done once per day.

Conduct cleaning first thing in the morning prior to the first feeding of the day.

Clean and pick mortalities from Capilano troughs containing the youngest and healthiest fish first, leaving containers with diseased fish for last.

Use a Turks head or similar brush to gently push waste and mortalities along the trough bottom, moving towards the end screen/outlet area.

Use the brush to clean the end screen.

The outlet pipe should be partially pulled out so that water moves more quickly to the outlet.

Use the faster water flow to move waste and mortalities towards the outlet.

Allow the water level to decrease to half normal depth, then put the outlet pipe back in.

Remove and count mortalities right after cleaning and where possible, classify the mortalities.

Record the mortality data onto the rearing record sheet.  At a minimum, update the rearing record sheets once per week.

Note : The Pacific Aquaculture Regulation licence requires that there be accurate and up to date inventory of all fish on site.

Rearing Container Cleaning Hint : Installing baffles in Capilano troughs and linear raceways creates a faster flow along the bottom and this aids in moving waste towards the outlet screen.

Large Concrete Raceway  Cleaning and Mortality Removal Method Using a Shared Vacuum Pump System

Where fish are healthy, the same vacuum hose and cleaning head can be used for raceways containing the same stock, species, and life stage of fish. However, the vacuum hose and cleaning head should be disinfected after use in each raceway.

Where raceways contain different stocks, species, and life stages of fish – each rearing container should have its own vacuum hose.

The vacuum cleaning head can be disinfected in between raceways by following the equipment disinfection protocols.

Use of a vacuum pump will crush the mortalities so it may not be possible to classify them.  If classification is necessary, use a dip net to retrieve mortalities prior to container cleaning.

If mortality classification is not necessary, mortalities can be counted as they are vacuumed up.

Effluent water from vacuuming should go to a settling pond or sewage system. Mortalities can be disposed of with the effluent water if the effluent is draining directly to a sewage system.

Note : Where effluent empties to a settling pond and the settling pond eventually flows to a stream, mortalities must be removed from the effluent water. This can be done by placing a net or other device that will catch and contain the mortalities at the outlet of the vacuum hose.  The mortalities should be “caught” allowing effluent water to drain to the settling area. Mortalities can then be removed from the nets and disposed of after cleaning.

Circular Tub Cleaning and Mortality Removal

Circular tubs can be cleaned by brushing or vacuuming.

Daily cleaning is preferred.

Follow the same cleaning and mortality removal protocols as for Capilano trough or raceway cleaning.

### Predator Exclusion

Background

Predator interactions with fish result in stress, injury and in some cases death. Increased stress levels and injury can increase susceptibility to disease. In some cases, predators can transfer parasites to juvenile salmon resulting in reduced level of health and survival.

Predators such as scavengers will target areas where they have access to mortalities (i.e. open/unattended mortality buckets, improperly enclosed composting areas).

The use of predator exclusion devices/infrastructure is critical. Predator exclusion devices such as tight fitting rearing container lids, predator fencing or netting, fully fenced sites and screens on effluent drains are a must.

Standards to Follow

Check the site daily for signs of predators.

Check mortalities for signs of predator attack (i.e. gashes, holes in the body, teeth marks).

Ensure that predator attractants are removed.

Store fish food in air tight containers in an enclosed building and ensure feed buckets have tight fitting lids. Domestic refuse should be properly contained and removed from the site on a regular basis. Mortalities should be stored in tight fitting containers and should be disposed of regularly (i.e. to an appropriate refuse location).

All rearing and adult holding containers should have tight fitting lids that are strongly fastened to the container. Where container lids are not feasible (such as net pens) predator exclusion fencing or netting can be used.

Carcasses from broodstock should be disposed of to an appropriate location as soon after egg take as possible. Broodstock handling/sampling and egg take areas should be rinsed well after each activity.

Devices such as horns, air guns, electric fences can deter predators from entering the site and are recommended.

Note : Destruction of predators by trapping, shooting or other lethal methods require approval from the Ministry of BC Lands, Forests and Natural Resource Operations. Contact the local BC Conservation Officer for further information.

### Transfer of Fish

Background

Transfers of fish between sites may be necessary when :

- rearing container densities have reached maximum and an off-site rearing area provides the extra space to rear fish to the target release size.

- a hatchery has only enough rearing capacity for the initial rearing stages and fish must be transferred to freshwater net pens to complete the rearing phase.

- juvenile fish are to be held for short periods of time in net pens located in the marine environment. This allows fish to acclimatize to salt water while feeding and growth continues.

Transfers can be stressful on fish especially when conditions in the receiving environment are different than the hatchery of origin. For example, if fish are transferred from a surface water source to a groundwater source there may be differences in water temperature, dissolved oxygen and pH levels. Surface water sources can be very different (i.e. surface water from glacial fed system versus surface water from a lake fed system) and this can cause stress.

Fish transfer involves additional handling of fish as they are removed from their rearing locations, enumerated into transport containers and transported to a new rearing location. The cumulative effect of this stress can result in an increased risk of pathogen outbreaks.

Standards to Follow

Transfers must be listed on the Facility Production Plan. The PAR licence must accompany all fish transfers.

Minimize stress on the fish throughout the transfer process.

Only transfer groups of  fish that are HEALTHY.

Note : If daily mortality rate is between 0.1% and 0.5% DO NOT transfer fish until the Community Advisor and/or Fish Health Vet have been contacted and approve of the fish transfer.

Note : If daily mortality rate over the last three months is greater than 5% DO NOT transfer fish until the Community Advisor and/or Fish Health Vet have been contacted and approve the fish transfer.

Follow the standards in the following sections of this document :

- Juvenile Transport to Release Location(s)

- Rearing Container Cleaning and Mortality Removal - refer to the section titled "How to Calculate % Daily Mortality Rate"

- Disinfectant Protocols - refer to the section titled "Facility Maintenance".

Transfer of Fish Continued

At the Donor Hatchery Site

- Use clean, disinfected transport tanks/containers to transfer fish.

- Starve fish for 24 to 48 hours prior to transfer.

- Record the number of fish transferred from the facility on the Transfers Out record sheet. (Refer to Appendix I for example record sheet). This information is required for the Project Brood Summary Report (Appendix I of the PAR licence).

- Ensure that the receiving facility is prepared for the fish (i.e. disinfected rearing containers/net pens, cleaning equipment, fish food is available, water levels and flows in rearing containers have been pre-set,  etc...).

- A copy of the PAR licence must accompany the fish to the receiving facility.

At the Receiving Hatchery

- Prepare the rearing containers by disinfecting, rinsing well and setting flows.

- If fish are transferred to a facility that currently has fish on-site, the receiving site must isolate the newly arriving fish. This reduces the risk of pathogen transfer to the receiving site.

- Prepare a rearing record sheet for the newly arrived fish and record the live balance transferred.

- Record the live balance of juveniles onto the Transfers In and rearing record sheets. (Refer to Appendix I for example record sheets)

- Staff/volunteers must be on site to observe fish after the transfer.

Hint : transfer fish early in the day so they can be monitored throughout the day. This provides enough time to ensure they are adjusting to the new location.

# Juvenile Sampling

### Bulk Sampling and Individual Length and Weight Sampling to Monitor Growth Rate, Fish Condition and for Feed Schedule Calculations

Background

Bulk sampling and/or individual length and weight sampling are used to determine the growth rate of the fish, fish condition and to calculate the amount of fish food that should be fed. Weight and length of the fish should be increasing over time. This indicates that nutritional requirements are being met and fish health is being maintained.

At water temperatures less than 6°C, growth will be slow and less frequent sampling is required. At water temperatures above 15°C, sampling may result in excessive stress and could lead to disease.

Before deciding to bulk or individually sample fish, ensure that the population of fish to be sampled is not showing signs of disease ( eg. lesions, bruising, bleeding at the base of Bulk Sampling and Individual Length and Weight Sampling to Monitor Growth Rate, Fish Condition and for Feed Schedule Calculations Continued

the fins, fin erosion, unusual coloring on the body or fins of the fish). Observe the fish to

ensure their behaviour is normal, consult the daily mortality records and the feeding records to help in determining if fish are healthy. Healthy fish can withstand careful sampling but sampling of fish that are showing signs of disease can lead to disease outbreaks.

Standards to Follow

Sampling should occur at least once every 2 to 4 weeks depending on the size of the fish and the water temperature. This allows for updating of the daily feeding schedules, allows regular monitoring of growth rates and/or fish condition and permits general visual observations of fish health. Remember : start with youngest, healthiest fish first.

Take a random sample - ensure that the fish being sampled provide good representation of the whole population of fish in the container.

How to take a random sample

Crowd the fish into one smaller area of the container. Samples that are taken from the fish being crowded will be representative of the whole population of fish in that container. (This ensures the results from sampling will be more accurate).

When bulk sampling, take 3 samples with a minimum of 100 fish in each sample.

Chemical anaesthetics may be used during individual length and/or weight sampling.

Fish can be anesthetized using carbon dioxide (Alka Seltzer powder or tablets, Carbon dioxide gas) or a prescription anaesthetic (i.e. TMS).

NOTE : In order to purchase TMS, a prescription from the Fish Health Veterinarian is required. The Fish Health Veterinarian is responsible for reporting to the Canadian Food Inspection Agency on prescription anaesthetic use for the Salmonid Enhancement Program. If a prescription anaesthetic (i.e. TMS) is being used, a record of anaesthetic use must be kept.

When TMS is used to anaesthetize fish, the fish must be held for 5 to 21 days* prior to being released. The holding time allows anaesthetic residues in the fish to dissipate.  This protects predators in the release environment from negative effects of residual anaesthetic within the fish. (Refer to Appendix III for information on anaesthetics).

When fish are anaesthetized in carbon dioxide, they do not require a withdrawal time.

Bulk Sampling and Individual Length and Weight Sampling to Monitor Growth Rate, Fish Condition and for Feed Schedule Calculations Continued

* Standard Withdrawal Times for TMS Anaesthetic

| Water Temperature °C | Withdrawal Time in Days |
| --- | --- |
| 10 or greater | 5 days |
| 10 or less | 21 days |

Information about Anaesthetics

Carbon dioxide and TMS tend to lower the pH (acidifies) of the water and can also lower pH in the blood of the fish.

Water should be buffered (eg. using sodium bicarbonate) and oxygenated when using anaesthetics. The pH of the anaesthetic solution should be monitored (eg. using Litmus test strips) and should be maintained at the ambient pH level.

In the past, clove oil has been used to anaesthetize fish. Clove oil contains a known carcinogen and is no longer recommended for use as a fish anaesthetic.

Note : Make sure that equipment is disinfected between sampling of different rearing containers. (Follow the Equipment Disinfection protocols).

### Bulk Sampling of Juvenile Salmon

Fish should be starved overnight before conducting sampling. It is easier on the fish if they are sampled while their stomachs are empty.

Conduct sampling as early in the day as possible – remember that the fish have already been starved over-night. Sampling early in the day means that most of the day’s food ration can still be fed. After the bulk sampling for a rearing container is complete, the fish can be fed.

Prepare all of the sampling gear first. Make sure that dip nets, basins and crowders have been disinfected and rinsed well.

Prepare the following equipment :

- buckets

- basins

- aerators

- weigh scale

- record sheets, pencils

- tally counters

Bulk Sampling of Juvenile Salmon Continued

Follow the steps below :

- Fill three 20 litre buckets about half full with water from the rearing container being sampled. One or two of the buckets can be used for fish and the other bucket of water can be used to put water into the sampling basins.

- Crowd fish to the inflow end of the rearing container. This can be done using dip nets or with crowding screens that are built to fit the width and depth of the rearing container.

- Take two or three dip net scoops of fish from the crowded fish. Make sure that the dip nets are not overloaded – over-loading nets will injure (squish) the fish on the bottom of the dip net.  Remove the crowder so that fish have access to the entire rearing container again (no need to stress fish by keeping them crowded).

- Place the fish into the 20 litre buckets. Use aerators to supply the fish with oxygen during the sampling process.

- Transport the buckets to the weighing location. If possible, the weigh scale can be brought out to the rearing container (depends on the type of scale). Some weigh scales are not designed for outdoor use – check the Weigh Scale Instruction manual before using outdoors.

- Place a basin containing water from the rearing container, onto the weigh scale.

7. 	Tare the scale to zero. Take a dip net of fish from the 20 litre bucket and allow the 	water to drain from the net or gently dab the dip net onto a paper towel to remove 	water. If water is added with the sample, the bulk weight will not be accurate. 	Add fish until you have about 100 in the basin. (Do not count 100 fish into the 	basin - estimate about 100 fish).

8. 	Record the weight of the fish on the record sheet. (Refer to Appendix I for an 	example record sheet).

9. 	The basin can be carried back to the same rearing container and the fish can be 	counted back into that rearing container. It is best to aerate the basin and this can 	be done using battery operated pocket aerators.

10. Record the number of fish in that sample.

11. Repeat this procedure until all three samples have been counted.

To calculate the mean weight of fish in the container : divide the total weight of the sample (grams) by the total number of fish counted.

Bulk Sampling of Juvenile Salmon Continued

Example

| Sample #1 |  | Mean |
| --- | --- | --- |
| Wt(g) | No. fry counted | Wt(g) |
| 50 | 98 | 0.51 |
| Sample #2 |  | Mean |
| Wt(g) | No. fry counted | Wt(g) |
| 55 | 110 | 0.5 |
| Sample #3 |  | Mean |
| Wt(g) | No. fry counted | Wt(g) |
| 45 | 85 | 0.53 |
| Mean Wt for all three samples | 0.51 |

To calculate the mean weight for all of three samples, there are two methods that can be used.

Method #1 : Add up the mean weights for all three samples and divide by 3

(0.51+0.5+0.51)/3 = 0.506

Method #2 : Add up all the sample weights and add up all the number of fish counted per sample. The sum of the sample weights = (50+55+45) =150 grams. The sum of all the fish counted =  (98+110+85) = 293.

Mean weight = 150 grams ÷ 293 = 0.511

### Individual Length and Weight Sampling

Background

Individual weight sampling can be used to determine the mean weight of the fish in a rearing container. Individual length and weight sampling can be used to calculate the Fulton’s Condition Coefficient (FCC).  Fulton’s Condition Coefficient (K) is a measure of “fatness” of the fish. The K value is used to gauge the general level of health of the fish.

Standards to Follow

Individual weight and length sample a minimum of 100 fish per rearing container.

Use a weigh scale that is accurate to one hundredth of a gram.

Use a smolt board for measuring the nose-fork length in millimetres.

Fish must be anaesthetized so that they can be sampled without injury.

Use an approved anaesthetic (i.e. carbon dioxide or  TMS).

Use a buffer to maintain the ambient pH level in the water.

Aerate/oxygenate the anaesthetic bath and the recovery container during sampling.

Anaesthetize a few fish first to make sure that the anaesthetic concentration is right. When anaesthetizing juvenile salmon, the fish should take between one and two minutes to become docile enough to handle.

If fish become docile too quickly (less than 1 minute), the anaesthetic should be diluted to the point where fish are taking between one and two minutes to become docile.

Caution : Do not leave fish unattended while they are in the anaesthetic bath.

Make sure that the fishes’ gill covers are moving – this means that the fish are still breathing.

If, after using the anaesthetic bath for a while, the fish are taking longer than 2 minutes to become docile – dispose of that anaesthetic to ground or sewer and make a new solution.

As soon as fish are docile, the nose-fork length can be measured (in mm’s) and the individual weight can be measured (in grams). Fish can be gently dabbed on a paper towel to remove water prior to measuring the weight.

After a fish has been sampled, place it gently into an aerated recovery basin.

Individual Length and Weight Sampling Continued

Return the sampled fish to their rearing container as soon as they have all fully recovered.

Refer to the table below for the range of Fulton’s Condition Coefficient’s that may be found in hatchery and wild fish. This is a guideline only and K values will vary between stocks and species of fish.

Fulton’s Condition Coefficient and Rating of Level of “Fatness”

| K Value (FCC) | Rating |
| --- | --- |
| 1.60 | Excellent |
| 1.40 | Good |
| 1.20 | Fair |
| 1.00 | Poor |
| 0.80 | Extremely Poor |

Calculating Fulton’s Condition Coefficient (K)

K is Fulton’s Condition Coefficient

W is Weight of the fish in grams

L is the nose to fork length of the fish in millimetres

K = W X 100,000 ÷ (Length X Length X Length)

Example

| Fish No. | Weight (grams) | Nose FL (mm) | K |
| --- | --- | --- | --- |
| 1 | 1.2 | 45 | 1.32 |
| 2 | 1.1 | 47 | 1.05 |
| 3 | 1 | 45 | 1.10 |
| 4 | 1.3 | 43 | 1.63 |
| 5 | 1.4 | 48 | 1.27 |

For Fish No. 1 : K = (1.2 X 100,000) ÷ (45 X 45 X 45)

K = 1.32

Calculating Mean Weight from Individual Weight Sampling

The mean weight of the fish can be calculated from the individual weight samples.

After individually weighing at least 100 fish, add up all the fish weights.

Mean weight (grams) = Total weights (grams) ÷ the number of fish sampled

Calculating Mean Weight from Individual Weight Sampling Continued

Example (Using the weights from the example above).

Mean Wt (g) = (1.2+1.1+1.0+1.3+1.4) ÷ 5 fish sampled

Mean Wt (g) = 1.2 grams per fish

Hint : For a 100 fish sample, it is easiest to enter the length and weight data onto an EXCEL spreadsheet and have the computer do the mean weight calculation.

(Refer to Appendix I for example record sheets).

### Monitoring of Rearing Densities Using Weight Sample Data

Background

Each rearing container has a specific rearing capacity. The rearing capacity is the fish biomass load, at a specific flow rate and at a specific volume of water that will best sustain the fish.

The rearing density or load rate  depends on type of rearing container, water quality, water flow, exchange rate (how many times per hour the water is completely refreshed with new water), dissolved oxygen levels, water temperature, size of the fish, and the disease history of the fish.

Rearing densities that are too high can compromise water quality (low dissolved oxygen levels, high ammonia levels due to too many fish/too much biomass), and this can lead to fish health problems.

Where there is a history of disease (i.e. a known susceptibility to specific diseases, such as BKD), keep rearing densities lower than preferred maximum levels.

Standards to Follow

Rearing density for Capilano style rearing troughs should not exceed  0.5 to 1.0 kgs of fish biomass per litre per minute of flow or 32.4 kgs of fish biomass per cubic metre of water volume.

For circular tubs, rearing channels and earthen channels, the rearing density should not exceed 0.5 to 1.0 kgs of fish biomass per litre per minute of water flow OR 10 kgs of fish biomass per cubic metre of water. (Refer to Oceans, Habitat and Enhancement Facts and Figures, Fourth Edition, 2009 for suggested rearing container densities).

Rearing density can be monitored by conducting regular weight sampling and flow measurements.

Monitoring of Rearing Density Using Weight Sample Data Continued

Rearing density can be calculated two ways :

- Flow load rate is calculated by dividing the total kgs of fish biomass in a container by the flow in litres per minute (lpm).

- Volume load rate is calculated by dividing the total kgs of fish biomass in a container by the volume of water in the container (cubic metres).

Bulk or individual weight sampling can be used to determine the mean weight of the fish in a container. The mean weight and the number of fish in the rearing container are used   to calculate the biomass (kgs).

Remember : Biomass = Live Balance X Mean Wt(g)

Refer to the section on Flow Measurements to determine how to measure the flow in the rearing container.

Volume of a rectangular shaped rearing container = length X width X water depth

Volume of a circular shaped rearing container = 3.14 X radius X radius X water depth

Rearing Density Formulas

Flow Load Rate

Rearing Density in kgs/lpm = biomass (kgs) ÷ flow (lpm)

Volume Load Rate

Rearing Density in kgs/cubic metre = biomass (kgs) ÷ volume (cubic metres)

Example Rearing Density Calculation

Type of rearing container : Capilano trough

Mean weight = 2.0 grams/fry

Number of fry in the rearing container = 20,000

Step 1. Calculate the biomass of fish in the rearing container.

Biomass = mean wt (grams) X the number of fry in the rearing container

Biomass = 2.0 g/fry X 20,000 fry = 40,000 grams of biomass

Convert grams to kilograms (kgs) by dividing by 1,000.

The biomass in kgs = 40,000 ÷ 1,000 = 40 kgs

Monitoring of Rearing Density Using Weight Sample Data Continued

Step 2. Calculate the rearing density by flow and/or volume.

Flow = 240 lpm

Volume of the rearing container = 2.0 cubic meters

Rearing Density by flow = 40 kgs  ÷ 240 lpm

Rearing Density by flow = 0.17 kgs/lpm

Rearing Density by volume (of the container) = 40 kgs ÷ 2.0 cubic meters

Rearing Density by volume = 20 kgs/cubic meter

Note : Rearing containers of the same design and volume will have different rearing capacities depending on water quality and fish disease history. With advice from the Community Advisor, use rearing containers at rearing densities that best suit the fish on hand.

For further information and general guidelines on rearing densities, refer to :

Oceans, Habitat and Enhancement, Facts and Figures, Fourth Edition, 2009

# Fish Health Checks and Monitoring

Background

Visual external fish health checks on adults and juveniles should occur regularly.

External inspections can be done on adults at time of capture and throughout adult holding. Adults should be visually inspected for the presence of fungus, lesions and abnormal coloration.  Internal examination of female broodstock can occur at time of egg takes and other internal examination can occur at time of adult sampling.

Note  : Females used for broodstock should undergo visual inspection of the kidneys where there is a prevalence/history of BKD.

External examination of juveniles can occur at time of bulk weight or individual sampling. While observing the fish look for symptoms such as lesions, bleeding at the base of the fins, discoloration, pop-eye, distended bellies, long opaque fecal casts.  Any of those symptoms may indicate presence of a disease.

Fish Health Checks and Monitoring Continued

Where there is a history of disease, the Community Advisor and/or Fish Health Veterinarian will provide direction and instruction on the required fish health sampling and testing.

Standards to Follow

For Juvenile Salmonids : Always refer to the daily percent mortality rates for containers of fish showing external symptoms of disease. Daily mortality rates that are between 0.1% and 0.5% are cause for alarm. Consult the Community Advisor and/or Fish Health Veterinarian for advice.

Internal examination of juvenile salmonids can be done in those stocks that have a history of disease outbreaks. Internal checks can be done for parasites (tape worms, round worms), kidney pustules and the general condition of the internal organs.

Any abnormalities should be considered to be a fish health issue and the appropriate bio-security measures should be put in place. This will change the flow of activities at the hatchery site.

The daily mortality section of the rearing records should be checked at least weekly.

### Juvenile Samples for Submission to the Fish Health Laboratory

The Community Advisor and/or Fish Health Veterinarian will determine if juvenile samples should be shipped to the lab and if live fish will be required. In most cases live fish are preferable for diagnostics and this may include live but sick fish as well as a small random sample of live fish from the affected rearing container.

Before shipping samples to the fish pathology lab :

Contact the fish pathology laboratory technical staff at the Pacific Biological Station, Rm T308, 3190 Hammond Bay Road, Nanaimo BC, V9T 6N7.  Phone (250) 756-7057 or Fax (250) 756-7053.

Arrange a time for sample shipment with the diagnostic lab staff. Make sure the lab staff are aware of the estimated arrival time of the samples.

Fish must arrive at the diagnostic laboratory by mid day at the latest to ensure staff have time to process the fish.

Juvenile Samples for Submission to the Fish Health Laboratory Continued

Collect fish history information, including: the number of fish in the affected rearing container, the signs of disease that have been observed, mortality rate, water temperature, type of fish food and describe if feeding behaviour has decreased, records of recent stressful events (e.g. low water event, marking), vaccination status, previous disease outbreaks on that stock and species and how they were treated.

(Refer to Appendix III of the PAR  licence for required information).

Selecting the samples:

Where possible, select moribund fish (fish that are showing signs of disease but are not dead) for shipment.  Seek advice from the Veterinarian and fish pathology lab staff to determine how many fish and from which locations the fish should come.

Freshly captured, live fish that display signs of the problem are the ideal samples to collect for submission.

The diagnostic lab may also request a sample of apparently healthy fish from the population - rely on veterinary advice for this decision.

Shipping Live Fish

Prepare the following equipment and information before taking samples :

| Shipping container (cooler) | Heavy duty plastic bags |
| --- | --- |
| Elastic bands | Oxygen supply |
| Packing tape | Submission form |
| Ice or freezer packs | Newspaper |
| Ziplock bags | Waterproof labels |
| Disinfectant | Waterproof marker |

Pre-label the cooler with the Ship To Address and the Shipper’s information.

Affix some KEEP COOL labels to the outside of the cooler.

Wrap ice packs in newspaper and place into the bottom of the hard sided cooler that is to be used for shipping. Alternatively, ice may be double bagged in sealed zip-lock bags and placed in the bottom of the container. Newspaper should be placed on top of the bags of ice.

Follow the steps below :

- Fill the heavy duty plastic bags about 2/3 full with water from the rearing container. It is best to double bag fish in case the bag containing the fish leaks.  Use separate, labeled bags for moribund and apparently healthy fish.

Shipping Live Fish Continued

- Top the bag with a volume of oxygen that equals or exceeds the volume of water. The bag should look puffed up a little bit. Make sure that the bags can still be sealed tightly shut.

- Make sure the bags are clearly labelled (stock, species, rearing container, moribund, live healthy etc…).

- Place the fish sample bags into the cooler on top of the newspaper. The sample bags should be snug in the cooler so that they cannot tip over or get jostled during transport. Bubble wrap can be used in between the bags to keep them in place.

- Put the Sample Submission form (Appendix VII) in a heavy duty plastic bag and place it on top of the samples.

- Secure the cooler with duct tape to prevent accidental spillage. Spray or wipe down the outside of the container with an appropriate surface disinfectant.

Inform the lab of how the samples are being shipped (airline, road courier), the waybill number and their estimated time of arrival at the Nanaimo Airport or at the lab.

Juvenile samples must arrive at the lab no later than mid day, Monday through Friday. Samples cannot be shipped to arrive at the lab on weekends.

Shipping Fresh Dead Fish:

In the event that no moribund fish are available for sampling, call the lab to determine if  mortalities can be shipped.  Do not send dead fish found floating in the water if there is no knowledge of when they died. Ship fresh dead ONLY.

Note : Evaluate fish condition prior to shipping. Only ship mortalities which still have red gills otherwise it is doubtful that any useful information can be gained from the samples.

If fish are too large to realistically send alive, freshly euthanized fish may be sent for diagnostics.

Fresh mortalities (red gills, firm flesh) should be placed in labeled, sealed double plastic bags without water. Ship dead fish in a container on ice as described above for live fish. Fish should not come in contact with the ice or freezer packs.

# Marking

### Adult Marking

Background

Adult marking can be done to conduct population estimates and to determine spawner distribution. Population estimate and spawner distribution studies must be designed and approved by a DFO Biologist.

Standards to Follow

The need for adult marking programs will be determined in consultation with a DFO Biologist.

A DFO Biologist will design the adult marking program and will provide instruction on :

- type of mark to use

- data collection

- sampling of re-captured fish

- where to send the data and who will perform the data analysis

- when the results will be made available

Do not anaesthetize fish to be marked in chemical anaesthetics. Due to the lengthy withdrawal time fish cannot be released back to the stream.

When marking fish, make sure to conduct all handling in water. Totes of an appropriate length, width and depth will ensure that fish are kept submerged in water during the marking process.

Take care not injure the gills of the fish during opercular marking. Carefully lift the operculum to apply the one hole punch or opercular tag.

The use of mucous protectants such as Vidalife TM is recommended.

# Juvenile Marking

### Permanent Marking of Juvenile Salmon

#### Coded Wire Tagging and Adipose Fin Clipping

Background

Hatchery juvenile salmon can be marked by removing a fin and/or by inserting a coded wire tag into the snout area. Removing a fin, called fin clipping, is a permanent mark (i.e. when the fin is removed properly it does not grow back).  When adults return with a visible fin clip this identifies the fish as a hatchery fish.

Specific stocks of fish have been designated as indicator stocks (keystream indicators). Those stocks of fish will be grown in a hatchery and are usually marked using an adipose fin clip plus a coded wire tag.

The coded wire tag (which is about 1 mm in length) is inserted by machine into the snout of the fish. The coded wire tag is etched with a 6 digit code. Each group of fish being marked is provided with a distinct code.

These marked fish can be tracked through commercial fisheries, First Nations and recreational fisheries. They are differentiated at time of escapement as they migrate through fish counting fences en route to their home spawning grounds.

The data that is collected can be used to calculate ocean distribution, harvest rates and total survival rate for that stock and species of fish. The harvest rates and total survival rates can be applied to other nearby stocks of the same species. Data that is collected from marked fish harvested in international fisheries, can be used during Pacific Salmon Treaty negotiations.

Adipose clipping and coded wire tagging can also be used to track the results from research studies such as those that compare the survival of fish that were released at different sizes and at different times of the year. Each release size and time group would be marked with a distinct code. Those fish would be tracked and sampled through commercial, First Nations and recreational fisheries and then would be counted and sampled for coded wire tags as they migrate through fish counting fences on the way to their spawning grounds. The size and time at release of the group with the best survival rates would inform the hatchery manager about fish size and the best time (date range) to release the fish.

Permanent Marking of Juvenile Salmon Continued

Not all fin clips can be used in the same way. Only fish that have been adipose clipped will be counted and sampled in commercial, First Nations and recreational fisheries. Fish that have been ventral fin clipped or maxillary clipped are not monitored in the various fisheries.

Studies conducted by DFO (unpublished data) have shown that marking with fin clips and/or coded wire tags can reduce the survival rate of those marked fish. The reduction in survival rate varies by mark type.

Adipose clipping and coded wire tagging has the lowest mortality rate (up to 10% reduction in survival rate) of the types of marking. Maxillary clipping and pelvic (ventral) fin clipping (only) have higher mortality rates that can range between 18% and 50% respectively (unpublished DFO data).

Note : Due to reduction in survival rate only use maxillary clipping and ventral fin clipping when recommended by the Community Advisor or a  DFO Biologist.

Thermal Marking

Thermal marking/otolith marking is another permanent mark that is commonly used as a mass marking technique. Otolith marks require that water temperature during incubation can be varied at least three degrees from the background water temperature. The temperature variation causes a distinct ring pattern to be laid down within the otolith.

Otolith marks are not externally visible so fish must be killed in order to examine the otoliths.

Thermal marking programs must be approved and designed by a DFO Biologist.

### Permanent Marking by Coded Wire Tagging and Adipose Clipping

Standards to Follow

Approval to Coded Wire Tag and Adipose Clip

Fisheries and Oceans staff will determine the stocks of fish to be marked.

Coded wire tags are supplied by Fisheries and Oceans Canada and must only be used on the stocks of fish that have been designated for marking. Unused coded wire tags must be returned to Fisheries and Oceans Canada.

Permanent Marking by Coded Wire Tagging and Adipose Clipping Continued

Fish Health and Environmental Conditions

Prior to marking ensure that fish are in good health. Review the daily mortality records to make sure that mortality rate has been consistently low (less than 0 .1% per day) over the past few weeks.

Visually observe the fish to ensure their behaviour and feeding response is normal.

If fish are not in good health, have a reduced feeding response and/or have an increased mortality rate – DO NOT mark them. Obtain advice from the Community Advisor and/or the Fish Health Veterinarian before proceeding with marking.

Ensure that environmental conditions are conducive to marking. Water temperature should be less than 12°C, dissolved oxygen level should be greater than 8 PPM and water should be of good quality (i.e. within preferred standards for juvenile salmonids).

Preparation for Marking

Prepare the marking area and all equipment in advance of the start of marking.

All marking and fish holding equipment must be disinfected in-between stocks and species of fish. Follow the disinfection protocols for the equipment and containers that will be used during the marking program.

Check the tag codes on the coded wire tag spools to make sure that the tag codes are designated for the stocks and species to be marked.

Use quality equipment in a state of good repair.

Coded wire tagging machines should be cleaned, maintained and tested prior to the start of the marking program.

CWT machine needles must be sharp and clipping scissors must be of an appropriate quality to make a clean cut.  Stainless steel, surgical scissors are recommended.

CWT machines should be used only by a qualified operator. The operator must set tag implantation depth just before marking starts for the day. The operator should check tag implantation depth two to three times throughout each day of marking.

TMS is an anaesthetic that must be prescribed by a Fish Health Veterinarian and anaesthetic use must be reported to the Fish Health Vet. (Form included in Appendix III).

Permanent Marking by Coded Wire Tagging and Adipose Clipping Continued

Starve fish for 24 hours prior to any handling. This includes moving fish to be marked to rearing containers that are near/in the marking area.

Transfer an appropriate number of fish to the marking room holding area. If holding containers are large enough, move a full day’s supply of fish to be marked to the marking holding area. Make sure that rearing density in the holding container is low.

All fish handling must be done in a way that minimizes stress.

The Marking Procedure

Anaesthetizing the Fish

Assign one person to be the anaesthetist.

The anaesthetist prepares the anaesthetic bath and will supply the clippers with fish to be clipped. The anaesthetic bath should be in a basin that is large enough to hold 2 to 4 aquarium size dipnets. The anaesthetic bath may require buffering and should be aerated throughout the marking process. (Refer to Appendix III for TMS Anaesthetic use instructions). The anaesthetist’s station should be centrally located to the adipose fin clippers and should be close to the holding area containing the fish to be marked.

The anaesthetist should have 4 to 6 aquarium size dipnets at their station. The dipnets must be of a size that can hold enough fish to be marked. Ensure that the dipnets can be submerged in the anaesthetic to ¾ of the dip net depth . Fish must be completely submerged in the anaesthetic bath.

The anaesthetist is responsible for changing the anaesthetic solution regularly (i.e. after approximately 45 to 60 minutes or when the fish are taking too long to knock-out).

Make sure that the anaesthetic water is poured to an appropriate effluent location that will provide adequate dilution.

Fin Clipping

Each clipper must have sharp surgical scissors that will be used to remove the adipose fin. It is a good idea to have a spare pair of scissors for each fin clipper (i.e. if one pair gets dull, there is a spare pair to use). Each clipper should be positioned in front of a clipping basin, full of water and covered with soft meshed netting.

Permanent Marking by Coded Wire Tagging and Adipose Clipping Continued

When adipose clipping and coded wire tagging, the CWT machine will electronically count all fish being marked (i.e. the fin clippers do not have to count each fish being clipped).

Clippers and the anaesthetist must wear clean, disinfected footwear, rain gear or rubber (waterproof) aprons.

Coded Wire Tagging

It is preferable to use TWO coded wire tagging machines. Implantation depth on each machine can be set differently so that large and medium size fish are tagged on one machine and small to medium sized fish are tagged on the other machine. This ensures optimum tag implantation depth for all sizes of fish being marked that day.

Use fish that have been checked for tag implantation depth to show the clippers examples of small, medium and large fish.

The machine operators must determine the minimum size of fish that can be marked and let the clippers know that minimum size. Fish that are less than the minimum size must be counted and placed in a separate bucket. Those fish will not be marked and can be returned to the recovery area. One person can be designated to count all of the small fish and ensure that the bucket containing small fish is regularly transferred to the recovery area. Make sure that the bucket of “smalls” is aerated.

The machine operators must make sure that the machine outlet buckets that receive marked fish and rejects (fish that are not successfully coded wire tagged) are properly positioned to receive fish. These buckets are perforated or screened near the top so that water flows through them.

The buckets must be large enough to hold a few thousand fish (depends on fish size) so they must have a fresh, flowing supply of water throughout the marking process.

The CWT machine operators are responsible for checking the fish receiving buckets to make sure that fish are recovering and they will determine when the buckets should be emptied to the designated rearing container.

It is best to transfer marked fish to a rearing container that will hold ONLY that group of fish. This allows for better tracking of mortalities and fish health after marking.

Reject fish must be re-anaesthetized and coded wire tagged. They have already been adipose clipped so must receive a CWT.

Permanent Marking by Coded Wire Tagging and Adipose Clipping Continued

Follow the adipose clipping and coded wire tagging steps below :

- Anaesthetist places a small test batch of fish in the anaesthetic to make sure that the concentration is appropriate. Fish should “knock-out” within 1 to 2 minutes of being placed in the anaesthetic. If fish are getting knocked out within a minute – the anaesthetic solution is too strong and requires dilution with fresh water. The gill covers should still be moving even though the fish are docile enough to handle.

- Once the anaesthetic concentration is appropriate – the anaesthetist will load enough fish into a dipnet to anaesthetize fish for clipping and tagging.

- When fish are docile enough to be handled, the clippers will be supplied with fish. The anaesthetist should only put that number of fish on the clippers basin that can be clipped and coded wire tagged before the fish recover (wake up).

- Adipose clippers remove the adipose fin, determine if the fish is small, medium or large and place the clipped fish in the appropriate flume leading to the coded wire tagging machine that is set for that size of fish.

- The CWT machine operator visually checks the size of the fish to make sure it is the right size for their machine. Fish are coded wire tagged and will be automatically separated into two buckets at the machine outlets. One bucket is for fish that have been successfully tagged – the machine electronically counts these fish. The other bucket is for “rejects” – these are fish that have not been successfully tagged.  Those fish can be re-anaesthetized and tagged at the end of the day or when the timing is appropriate. There should be very few “rejects”.

- Record the numbers of coded wire tagged fish off the machine's counter at the lunch break and again at the end of the day.

- Conduct regular quality control checks on the adipose clips (i.e. to make sure they are not too deep and to make sure the entire fin is being removed.  Partially clipped adipose fins can grow back).

- At the end of each day, remove a random sample of a minimum of 300 fish from the fish that were tagged that day. Place these fish in a holding net in the rearing container receiving the marked fish. Those fish will be used to conduct a tag retention check.

Post-Marking Checks

Before starting the marking program each morning, conduct a tag retention check on the fish that were marked on the previous day.

Dip net out at least 100 marked fish from the 300 that were held separately.

Anaesthetize those 100 fish and with the CWT machine ON, the machine operator will  put the fish one at a time (slowly) down the Quality Control Device of the CWT machine.

Permanent Marking by Coded Wire Tagging and Adipose Clipping Continued

The operator will count the number of fish out of 100 that have retained the coded wire tag.  Tag Retention should be greater than 95%.

If tag retention is less than 95%, tag implantation depth is too shallow and the machine operator needs to adjust the machine to the proper implantation depth.

Once the tag retention checks for that group of fish are complete, the fish being held can be released into the rearing container.

This process is followed every day of marking and for each group of fish being marked.

The tag retention rates are recorded each day. The number of fish tagged will be adjusted to include adipose and CWT fish and adipose clip only (lost their tags) fish.

Regular observations of marked fish should occur. Look for external symptoms of disease such as fungus on the adipose fin area and snout, lesions, abnormal swimming behaviour.

Monitor daily mortality rates. Mortality rates should be similar to pre-marking daily mortality rates.

Make sure that when cleaning mortalities from rearing containers that contain marked and unmarked fish, that the mortalities are visually identified and counted as marked or unmarked.  (Refer to the Rearing Record template in Appendix I).

Hint : If marked fish are coded wire tagged as fry but they are being released as yearlings/smolts – an additional tag retention check can be done if a CWT machine is available. This provides a much more accurate tag retention rate as compared to the initial tag retention rate. Numbers of marked fish (adipose/CWT)  and adipose only (lost the CWT) will be adjusted based on the final tag retention rate.

Note : Do not treat recently marked fry with Chloramine-T as a prophylactic treatment. The Chloramine-T contributes to tag loss.

### Adipose Clipping Only

Background

Adipose clipping only must be approved by the Community Advisor or a DFO Biologist.

In some areas of British Columbia, hatchery stocks of coho are marked with an adipose clip only (i.e. they are only fin clipped and NOT coded wire tagged). This is done in areas

where there are high levels of fishing pressure and harvest rates in recreational fisheries and where protection of WILD coho stocks is a high priority. In those areas only adipose clipped coho can be killed when they are caught. All unmarked (i.e. no adipose clip) coho must be released.

Remember : The anaesthetic that is currently approved for marking is TMS.

(Refer to Appendix III for guidelines on use).

Follow the method for Adipose clipping and Coded Wire Tagging above but follow the steps below :

- Anaesthetist places a small test batch of fish in the anaesthetic to make sure that the concentration is appropriate. Fish should “knock-out” within 1 to 2 minutes of being placed in the anaesthetic. If fish are getting knocked out within a minute – the anaesthetic solution is too strong and requires dilution with fresh water. The gill covers should still be moving even though the fish are docile enough to handle.

- Once the anaesthetic concentration is appropriate – the anaesthetist will load enough fish into a dip net to anaesthetize for clipping.

- When fish are docile enough to be handled, the clippers will be supplied with fish. The anaesthetist should only put that number of fish on the clippers basin that can be clipped before the fish recover (wake up).

- Adipose clippers remove the adipose fin, count the clipped fish on a tally counter and transfer the clipped fish to the recovery area.

- Fish can be transferred to a common recovery area OR each fin clipper may have a recovery bucket receiving fresh, flowing water.

- Conduct regular quality control checks on the adipose clips i.e. to make sure they are not too deep and to make sure the entire fin is being removed.  Partially clipped adipose fins can grow back.

### Temporary Marking of Juvenile Salmon

Background

Juvenile salmon will receive a temporary mark when conducting juvenile population estimates or when determining the capture rate of downstream juvenile traps such as rotary screw traps, fyke nets or smolt capture fences.

Temporary marks include caudal fin clips and dye marking.  Caudal fin clips will regenerate (grow back) and dyes that are approved for fish marking (eg. Bismark Brown) disappear 5 to 10 days after marking.

Standards to Follow

A Scientific Collection Permit must be obtained prior to field studies occurring and the temporary marking of juvenile salmonids must be included on the permit.

Temporary marks should only be applied when approved by the Community Advisor or a  DFO Biologist.

Follow disinfection protocols to minimize risk of pathogen transfer from field sites to the hatchery site or to other areas of the watershed.

Handle fish in a way that minimizes stress.

If fish are to be held for any length of time ensure that holding densities are less than the minimum rearing density for hatchery juveniles (i.e. hold at densities that are less than 0.5 kg/lpm of flow and 10 kgs of fish per cubic metre of water).

# Juvenile Release and Transport

Background

Juvenile salmonids can be released as un-fed fry, fed fry, sub-yearlings or yearlings/smolts.

Stage of release, fish size at release, timing of releases and release locations are determined by DFO staff during annual Production Planning. This information is included in the Facility Production Plan attached to the Pacific Aquaculture Regulation licence.

The Facility Production Plan (Appendix I of the PAR licence) sets out the maximum numbers of juveniles to be released by stock, species, release site and stage of release.

Standards to Follow

Note :  If the Release number on the Facility Production Plan will be exceeded, the Community Advisor will provide instruction and advice regarding changes to the Facility Production Plan.

Deviations from the Facility Production Plan must be approved by the DFO Community Advisor and Production Planning Team well before surplus juveniles are released (or culled).

Do not release fish that are showing signs of disease.

Note :  If the monthly mortality rate in 3 months prior to release is 5% or greater, send samples to the Fish Health Vet for disease screening.  Conducting fish health sampling 3 months prior to release allows time to treat fish before release.

Use release methods that minimize stress on fish.

Releases may be volitional (swim out on their own) where rearing container outlets empty into the release location or fish may have to be transported to the release location.

Prior to release ensure that the water temperature in the receiving stream is within three degrees of the hatchery rearing water temperature (i.e. to prevent stress and possible mortality from temperature shock).

Juvenile Release and Transport Continued

Ensure that water quality parameters (clarity due to suspended solids, pH, dissolved oxygen, water levels and flows) in the receiving stream are within preferred limits for salmon.

It is good practice to release juveniles that are ready to migrate to sea at a time when wild salmon juveniles are migrating downstream.

It is good practice to release hatchery juveniles at a mean weight that is similar to that of wild juveniles in the stream. Hatchery juveniles that are larger than wild juveniles may out-compete wild fish for rearing areas and natural food (i.e. this may reduce survival of wild juveniles).

Minimize impacts on wild juvenile salmon by conducting releases into areas of the stream that have adequate rearing space/capacity for wild and enhanced juveniles.

### Volitional Release

Volitional release can occur when rearing container outlets empty directly to the release location (as stated on the Facility Production Plan) and the record book number of fish is accurate.

Note : If there is low confidence in the accuracy of the record book number (i.e. due to predation), fish must be enumerated prior to release.

Protect fish from predation during release (eg. release at dusk/night, cover outlet areas with predator netting).

Stop feeding the fish once the volitional release has started.

Record the dates of release, fish size (mean weight) at time of release and water temperature at the hatchery and in the receiving stream.

### Juvenile Transport to Release Location(s)

Background

Transporting juveniles to release locations is done when stocks must be returned to their natal stream or when it is necessary to disperse fry to ensure an appropriate rearing density in natural habitat. In some cases fish may be transported to net pens in a lake or marine environment.

Transport is stressful on juvenile salmon. Handle fish in a way that minimizes stress. Minimizing stress protects the health of the fish being released which also protects the health of wild fish in the receiving stream.

Standards to Follow

A copy of the PAR licence must be carried to the release sites for all fish transports and releases. This includes releases from CEDP and PIP enhancement facilities and classroom aquaria.

Do not handle and release fish that are showing signs of disease.

Ensure that dip nets are loaded to a safe level (i.e. do not squish the fish on the bottom of the net).

Have contingency plans in place to account for problems that may arise during transport (i.e carry extra oxygen regulators, air stones, oxygen cylinders etc...).

Transport tank fish densities are determined based on size of fish being transported, size of transport tank/container, transport distance, water temperature and water quality.

Transport densities must not exceed 100 grams of fish per litre of water unless otherwise recommended by the Community Advisor.

With short transport distances (1 hours to 3 hours total time), higher transport loading densities may be used as recommended by the Community Advisor.

For longer transport distances (greater than 3 hours) – transport tank densities should be reduced.

Juvenile Transport to Release Location(s) Continued

Hint : When considering the time it will take to transport fish, include the amount of time it takes to load all of the fish into the transport tank(s).

An accurate mean weight is required for each group of fish being released. The mean weight must be reported and is a requirement on the PAR licence under Appendix II - Project Brood Summary Report.

Mean weight can be measured the day before OR the day of transport. Refer to Bulk Sampling of Juvenile Salmon for instruction on how to determine mean weight.

Pre-Transport Release Site Check

A day or two prior to transport, inspect release site(s) to ensure that water quality, levels and flows are appropriate for the release.

Measure the water temperature in the receiving stream to ensure there is no more than a three degree temperature difference as compared to the hatchery water source. (Where there is more than a three degree difference, fish must be acclimatized to the receiving stream to avoid temperature shock).

Make note of the distance from where the transport truck has access to the stream. Transport tank hoses must be long enough to reach the stream.

If water pumps are required to flush fish out of the transport tank, make sure that there is an appropriate water depth for the pump intake.

Preparation for Transport

Prepare all necessary equipment such as dip nets, crowders, weigh scales, transport tanks and oxygenation systems (i.e. oxygen cylinders, regulators, air stones and hoses).

Transport tanks and release equipment must be disinfected before and after use. (Refer to the Biosecurity section - Equipment Disinfection Protocols).

Transport tanks must contain an aeration stone(s) that will diffuse air or oxygen into the transport water. It is good practice to carry an extra oxygen cylinder, air stone and oxygen regulator for transport times greater than 1 hour.

Starve fish for 24 to 48 hours prior to handling for sampling for mean weight, enumeration and/or transport.

Juvenile Transport to Release Location(s) Continued

Transport tank load rate must not exceed 100 grams of fish biomass per litre of water (10% load rate) unless otherwise recommended by the Community Advisor.

Refer to the table below for guidelines on transport tank load rates.

Transport Tank Loading Guide (100 g fish per litre of water)

| Transport Tank V (L) | Volume of Water (L) | Volume of Fish (L) | Number of 1 g fish | Number of 2 g fish | Number of 5 g fish | Number of 10 g fish |
| --- | --- | --- | --- | --- | --- | --- |
| 189 | 170 | 19 | 19,000 | 9,500 | 3,800 | 1,900 |
| 379 | 341 | 38 | 38,000 | 19,000 | 7,600 | 3,800 |
| 473 | 426 | 47 | 47,000 | 23,500 | 9,400 | 4,700 |
| 568 | 511 | 57 | 57,000 | 28,500 | 11,400 | 5,700 |

V = volume	G = US gallons	L = litre	g = grams

How to Calculate the Biomass and Number of Fish to Load into a Transport Tank

The recommended maximum load rate is 10% (i.e. 100 grams of fish per litre of water).

Follow the steps below :

1. Determine the volume of the transport tank in litres.

Rectangular shaped transport tank volume =  Length X Width X Water Depth.

2. Calculate the biomass of fish to load using a 10% load rate.

3. Calculate the total biomass in the rearing container.

Biomass = Number of fish X mean weight (g)

4. Calculate the number of transport tank loads needed to transport all of the fish to the release site.

Number of tank loads = total biomass to transport ÷ biomass per tank load

How to Calculate the Biomass and Number of Fish to Load into a Transport Tank Continued

Example

Number of fish in the rearing container	40,000

Mean Wt(g)					2.0 grams

Dimensions of Transport Tank		Length = 1m

Width = 1m

Depth = 1m

1. Determine the volume of the transport tank in litres.

Rectangular shaped transport tank volume =  Length X Width X Water Depth.

Volume = 1X1X(1X.9) Remember - fill the tank to 90% of full

Volume = 0.9 cubic m

Convert cubic metres to litres.

0.90 cubic m X 1000 l/cubic m = 900 litres

Volume of the tank = 900 litres.

2. Calculate the biomass of fish to load (kgs) using a 10% load rate.

Biomass to load = 900 litres X 0.10

Biomass to load = 90 kgs

3. Calculate the total biomass in the rearing container.

Biomass = Number of fish X mean weight (g)

Biomass = 40,000 fish X 2 grams/fish

Biomass = 80,000 grams or 80 kgs

4. Calculate the number of transport tank loads needed to transport all of the fish to the release site.

Number of tank loads = total biomass to transport ÷ biomass per tank load

Number of tank loads = 80 kgs ÷ 90 kgs

Number of tank loads = 0.90  All of the fish can be moved in ONE tank load and it will be a light load.

Juvenile Transport to Release Location(s) Continued

The next step is to determine the method for transport tank loading.

The transport tank may be loaded using three methods :

- Visual estimation : requires  an accurate record book number,  involves visually estimating proportions of the rearing container to load into a transport tank (eg. where two transport tank loads are required, load 50% of the container into each transport tank using visual estimation).

- Volume displacement (1 gram of fish will displace 1 ml of water). This method requires an accurate record book number as volume displacement is not an accurate method to enumerate(count) juveniles.

- Weight loading and enumeration  is used when the record book number is not accurate and juveniles must be enumerated (counted) at time of release.

NOTE : Enumeration method must be recorded on the Project Brood Summary form as per Appendix I of the PAR licence.

Fill the transport tank with water to the appropriate volume.

Vidalife TM  may be added to the transport water as a mucous protectant and this reduces the risk of injury to the fish.

Note : Do not use Aquacalm TM fish sedative due to not being able to meet the mandatory withdrawal period.

Crowd fish towards the water inflow being careful not to over-crowd fish (i.e. minimize stress).

Due to the stress of crowding and handling, juvenile salmon will use more oxygen as compared to their resting state.

To ensure an adequate dissolved oxygen level in the transport tank water, pre-charge the transport tank water with oxygen by setting the oxygen regulator to between 1 and 2 LPM.

Allow the tank water to charge for about 5 minutes before adding fish. The dissolved oxygen should be at least 10 PPM prior to loading the tank.

Juvenile Transport to Release Location(s) Continued

Loading the Transport Tank by Visual Estimation

Where the record book number is accurate and there two to four transport loads per rearing container, juveniles can be dip netted directly from the rearing container into the transport tank(s).  Use visual estimation to estimate proportions of the rearing container to load into a transport tank (eg. where two transport tank loads are required, load 50% of the rearing container into each transport tank using visual estimation).

Loading the Transport Tank by Volume Displacement

This method is useful when the record book number of juveniles is accurate and the number of juveniles in the rearing container cannot be transported in two to four transport tank loads.

Note : Do not use volume displacement to enumerate juveniles into the transport tank as this method is not an accurate enumeration method.

The transport tank must be calibrated (volume measured).

There must be a mark that shows the amount of water to add to the tank and another mark that designates when the tank is full of fish.

Dip net juveniles from the rearing container, allowing a few seconds for water to drain from the dip net and add fish directly to the transport tank.  As fish are added, the water level will rise. The tank is full when the water level reaches the appropriate volume mark.

Example

- For a tank with a total volume of 189 litres, the transport tank would be measured for a water volume of 170 litres and for a volume of 189 litres (i.e. draw lines on the inside of the tank at 170 litres and at 189 litres).

- The tank would be filled with water to the 170 L line.

- Pre-charge the tank with oxygen.

- Fish would be added until the water in the tank reached the 189 L mark.  This would represent a load rate of 100 g of fish per litre of water (i.e. a 10% load rate).

Juvenile Transport to Release Location(s) Continued

Loading the Transport Tank by Weight

When fish are to be transported for release and the record book number is not accurate fish must be enumerated (counted) to establish the number released.

Use this method only when recommended by the Community Advisor.

Mean weight of the fish must be known and the biomass of juveniles to add to each transport tank must be pre-calculated (see example above in the Preparation for Transport section).

Refer to the section : Bulk Sampling of Juvenile Salmon for instructions on how to determine mean weight of the fish.

Equipment required for weight enumration :

- weigh scale that is accurate to one tenth of a gram

- several 20 to 70 litre buckets

- record paper and pencils

- calculator

Follow the steps below :

- Fill the transport tank about half full with water.

- Pre-charge with oxygen by setting the oxygen flow at 1 to 2 LPM and let oxygen flow for about 5 minutes prior to loading any fish. Dissolved oxygen level should be close to 10 PPM.

- Crowd fish to a density that is not too stressful for the fish but makes dip netting efficient.

- Designate one person to record bucket weights being added to the transport tank and ensure they know the total biomass that can be loaded into each transport tank.

- Add water to the fish weighing buckets i.e. fill about 1/3 to 1/2 full.

- Place a bucket on the weigh scale and tare to zero.

- Dip net juveniles from the rearing container, allowing water to drain from the dip net for a few seconds.

Juvenile Transport to Release Locations Continued

- Pour juveniles from the dip net to the bucket.

- Record the weight of fish in the bucket.

- Transfer the bucket to the transport tank (which should be as close as possible to the rearing container) and gently pour the juveniles into the transport tank.

- Keep a running total of the biomass of fish being added to the transport tank.

Repeat this procedure until the target biomass has been added to the transport tank.

Example : Enumeration by Weight into a 189 L Transport Tank (10% load rate)

| Date | 15-May-12 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Rearing Container Being Released |  | CT #1 |  |  |
| Stock | Plentiful River | Species | Coho |  |  |
| Bulk Sample |  |  |  |  |  |  |
| Sample # | Wt | No. of fish | Mean Wt(g/fry) |  |  |  |
| 1 | 200 | 100 | 2.00 |  |  |  |
| 2 | 205 | 101 | 2.03 |  |  |  |
| 3 | 235 | 119 | 1.97 |  |  |  |
|  | 640 | 320 | 2.00 |  |  |  |
| Mean Wt = 2.00 grams/fry |  |  |  |
| Bucket Weights in Kgs Loaded into the Transport Tank |  |  |  |
| 2.1 |  | 3 |  |  |  |  |
| 2.55 |  | 1.5 |  |  |  |  |
| 1.85 |  | 2.75 |  |  |  |  |
| 1.56 |  | 1.4 |  |  |  |  |
| 1.32 |  | 1.1 |  |  |  |  |
| 9.38 |  | 9.75 |  |  |  |  |
| Total Wt in kgs | 19.13 |  | Number of fish | 9565 |  |

During Juvenile Transport

Oxygen levels should be monitored throughout transport at least hourly using a dissolved oxygen meter.

Ensure that there are enough people participating in the transport and release to deal with any emergency situations and to ensure fish are released with the minimum of stress.

Release from the Transport Tank(s)

Juveniles can be released from transport tanks in two ways :

- via a transport tank outlet hose (outlet hose should be as short as possible).

- dip net juveniles from the transport tank into buckets of water, buckets are carried to the stream to release the juveniles.

Try to situate the transport truck/tank so it is sloped to aid in moving fish towards the outlet gate.

Caution : Release of juveniles using an outlet hose can damage fish when the slope of the release hose is excessive (i.e. water quickly siphons from the tank through the release hose to the hose outlet, causing damage to the fish). Reduce slope of the outlet hose.

Hint : Release fry into a pool or glide area of the stream rather than into an area of fast flowing water.

Angle the outlet hose upwards and this breaks up the water surface so that juveniles have a softer entry into the stream.

Flush the outlet hose with water to ensure that all fish are out.

Observe fish behaviour after release. If fish show signs of stress, adjust procedures.

For further information on transporting adult and juvenile salmon refer to Appendix VI.

# Project Brood Summary Report

The Project Brood Summary Report is attached as Appendix I in the Pacific Aquaculture Regulation licence.

For each brood year, for each stock and species being enhanced, the following information must be recorded and reported :

- project name

- name of Community Advisor

- aquaculture licence number

- stock name

- species

- broodstock removed from the stream, broodstock used in egg takes, broodstock mortalities

- number of eggs taken

- number of eggs transferred in or out of the facility

- number of fry ponded

- number of fry transferred in or out of the facility

- number of marked and unmarked fish released

- type of mark

- for coded wire tagged groups of fish - tag retention rate

- release site(s)

- release date(s)

- Release stage (unfed fry, fed fry, sub-yearlings, yearlings etc...)

- total number released (marked + unmarked)

- release target from the Facility Production Plan (attached to the Pacific Aquaculture Regulation licence)

- enumeration method (eg. book number, fish weight enumerated at time of release)

- mean weight at time of release

- mean nose-fork length at time of release (where available)

- comments  (eg. to document unusual events such as high mortality rates due to disease)

Throughout the life cycle of the stocks and species being enhanced at each project site, accurate records must be kept.

Ensure that all enhancement activities are documented on facility data record sheets and that those data record sheets are kept on-site.

# Appendix I : Record Keeping Templates

| Adult Capture and Broodstock Records |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Facility |  |  |  |  | Brood Year |  |  | Aquaculture Licence No. |  |  |
|  |  |  |  | Stock |  |  |  |  |  |  |  |  |
| Broodstock | CO F | CO M | CN F | CN M | SK F | SK M | CM F | CM M | PI F | PI M |  |  |
| Targets |  |  |  |  |  |  |  |  |  |  |  |  |
| (from Prod | STHD F | STHD M | CT F | CT M |  |  |  |  |  |  |  |  |
| Plan) |  |  |  |  |  |  |  |  |  |  |  |  |
| Capture Date(s) by Species | Coho : |  | Chinook : |  | Sockeye : | Chum : |  | Pink : |  |
|  |  |  | Steelhead : |  | Cutthroat : |  |  |  |  |  |  |  |
|  | M = Marked(hatchery), UnM = Wild |  |  |  |  |  |  |  |  |
|  | Total # Adults Captured |  | Total # Adults Used as Broodstock | Total # Adults Released |  |
|  | Fem |  | Males |  | Females |  | Males |  | Females |  | Males |  |
| Species | M | UnM | M | UnM | M | UnM | M | UnM | M | UnM | M | UnM |
| CO |  |  |  |  |  |  |  |  | 0 | 0 | 0 | 0 |
| CN |  |  |  |  |  |  |  |  | 0 | 0 | 0 | 0 |
| SK |  |  |  |  |  |  |  |  | 0 | 0 | 0 | 0 |
| CM |  |  |  |  |  |  |  |  | 0 | 0 | 0 | 0 |
| PI |  |  |  |  |  |  |  |  | 0 | 0 | 0 | 0 |
| STHD |  |  |  |  |  |  |  |  | 0 | 0 | 0 | 0 |
| CT |  |  |  |  |  |  |  |  | 0 | 0 | 0 | 0 |
| Egg Take Records |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Aquaculture Licence No. |  |  |  |  |  |  |
| Facility |  |  |  |  | Brood Year |  |  | Incubator Type |  |  |
|  |  |  |  |  |  |  |  | (H=Heath tray) |  |  |
| Stock |  |  |  |  | Species |  |  | (K=Kitoi) |  |  |  |
|  |  |  |  |  |  |  |  | (A=Atkins) |  |  |  |
| Egg Target |  |  | Number of Eggs Taken to Date |  | Difference |  |  |  |  |
|  |  |  |  | Sample |  | Number of | Weight |  | Disinfection in Ovadine |  |
| Date | Incubator # | Fem # | Male #'s | Wt (g) | # Counted | Eggs/gram | of eggs(g) | # of Eggs | YES | NO |  |
| Ttls/Means |  |  |  |  |  |  |  |  |  |  |  |
| ATU Records |  |  |  |  |  |  |  |
| Facility |  |  | Stock |  | Species |  |  |  |
|  | Water | Egg Take | Egg Take | Egg Take | Egg Take | Egg Take | Egg Take |  |
| Date | Temp | Date | Date | Date | Date | Date | Date |  |

| Egg Picking and Enumeration Records |  | Aquaculture Licence No. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Facility |  |  |  |  | Brood Year |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Incubator Type |  |  |
| Stock |  |  |  |  | Species |  |  | (H=Heath tray) |  |  |
|  |  |  |  |  |  |  |  | (K=Kitoi) |  |  |  |
| Egg Target |  |  |  |  |  |  |  | (A=Atkins) |  |  |  |
|  |  |  |  | Eyed Egg Enumeration |  |  |  |  |  |
|  |  |  | # Dead | Sample | No. Eggs | Mean | Total Wt | Number of | Total No. | Fecundity | Survival |
| Date | Incubator # | Fem # | Picked | Wts (g) | Counted | Eggs/gram | of eggs(g) | Live Eggs | of Eggs | Eggs/Fem | to Eyed |
| Totals |  |  |  |  |  |  |  |  |  |  |  |
| Dead Egg Picking Records |  | Aquaculture Licence No. |  |  |  |  |  |  |
| Facility |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Brood Year |  |  |  |  |  |  |  |
| Stock |  |  |  |  |  |  |  | Incubator Type |  |  |  |
|  |  |  |  | Species |  |  |  | (H=Heath tray) |  |  |  |
| Egg Target |  |  |  |  |  |  |  | (K=Kitoi) |  |  |  |  |
|  |  |  |  |  |  |  |  | (A=Atkins) |  |  |  |  |
|  |  | # Dead |  |  |  |  | # Dead |  |  |  |  |  |
| Date | Incubator # | Picked | Live Balance |  | Date | Incubator # | Picked | Live Balance |  |  |  |
| Transfers Into the Facility |  |  |  |  |  |  |
| Receiving Facility |  |  |  | Aquaculture Licence No. |  |  |
| Facility of Origin |  |  |  |  |  |  |  |
|  |  |  |  | G = Green eggs, EE = Eyed Eggs, F= Fry, S = Smolt |  |
|  |  |  |  | What was |  |  |  |
| Date of | Receiving |  |  | Received | Number to | Reason for |  |
| Transfer | Facility | Stock | Species | G/EE/F/S | Receiving Facility | Transfer (S2S, PIP, CEDP) |  |
| Disinfection Procedures : |  |  |  |  |  |  |

| Transfers Out of the Facility |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Facility of |  |  |  | Aquaculture Licence No. |  |
| Origin |  |  |  |  |  |  |
|  |  |  |  | G = Green eggs, EE = Eyed Eggs, F= Fry, S = Smolt |
|  |  |  |  | What was |  |  |
| Date of | Destination |  |  | Transferred | Number to | Reason for |
| Transfer | Facility | Stock | Species | G/EE/F/S | Destination Facility | Transfer (S2S, PIP, CEDP) |
| Disinfection Procedures : |  |  |  |  |  |

| Ponding Records |  |  |  |  |
| --- | --- | --- | --- | --- |
| Aquaculture Licence No. |  |  |  |
| Facility |  |  |  | Brood Year |  |
| Stock |  |  |  | Species |  |
|  | Incubator | ATU's at | Pre-ponding | Number of Live | Ponding |
| Date | ID | Ponding | Dead Pick | Ponded | Location |
| Total |  |  |  |  |  |

Example Ponding Schedule for fry to be released at the 2.0 gram size

| Estimated Ponding Date | Heath Tray # | Live Balance in the Heath Tray | Ponding Location | # of Fry Ponded to Date | Total # of Fry to be Ponded |
| --- | --- | --- | --- | --- | --- |
| May15 | A2 | 3000 | Cap Trough #1 | 3000 | 16200 |
|  | A3 | 2000 | Cap Trough #1 | 5000 |  |
|  | A4 | 2500 | Cap Trough #1 | 7500 |  |
|  | A5 | 2800 | Cap Trough #1 | 10300 |  |
|  | A6 | 3000 | Cap Trough #1 | 13300 |  |
|  | A7 | 2900 | Cap Trough #1 | 16200 | FULL |

Example Ponding Schedule for fry to be released at the 5.0 gram size

| Estimated Ponding Date | Heath Tray # | Live Balance in the Heath Tray | Ponding Location | # of Fry Ponded to Date | Total # of Fry to be Ponded |  |
| --- | --- | --- | --- | --- | --- | --- |
| May15 | B2 | 2000 | Cap Trough #1 | 2000 | 6480 |  |
|  | B3 | 1400 | Cap Trough #1 | 3400 |  |  |
|  | B4 | 2080 | Cap Trough #1 | 5480 |  |  |
|  | B5 | 1000 | Cap Trough #1 | 6480 | FULL |  |
|  | Rearing Records |  |  | Aquaculture Licence No. |  |  |  |  |
|  | Facility |  |  | Stock |  | Species |  | Brd Yr |  |  |
|  | Rearing Container ID |  |  | Month/Yr |  | Starting Live Bal. |  |  |
|  |  | # of Live | # Dead |  | Total # | Live | Daily % | Mean | Amount to | Amount |
|  | Date | Trans. In/Out | Unmarked | Marked | Dead | Balance | Mort Rate | Wt(g) | Feed (Kgs) | Fed (g) |

| Individual Length (mm) and Weight (grams) Sampling Records |  |  |
| --- | --- | --- |
| Aquaculture Licence No. |  |  |  |  |  |  |
| Facility |  |  |  | Brood Yr |  |  |  |
| Stock |  |  |  | Species |  |  |  |
| Rearing Container ID |  |  |  |  |  |  |
| Sample Date |  |  |  | Number of fish |  |  |
|  |  |  |  | sampled |  |  |  |
| Fish No. | Length mm | Wt(g) | FCC | Fish No. | Length mm | Wt(g) | FCC |
| Bulk Weight Sampling Records |  |  |  |  |  |  |
| Aquaculture Licence No. |  |  |  |  |  |  |
| Facility |  |  |  | Brood Yr |  |  |  |  |
| Stock |  |  |  | Species |  |  |  |  |
| Sample Date |  |  |  |  |  |  |  |
| Rearing | Sample | Sample | Number of | Mean | Container | No Fish | KGs |  |
| Container | Number | Wt(g) | fish | Wt(g)/sample | Mean Wt(g) | in Cont. | Biomass |  |
|  | 1 |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |
|  | 3 |  |  |  |  |  |  |  |
|  | 1 |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |
|  | 3 |  |  |  |  |  |  |  |
|  | 1 |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |
|  | 3 |  |  |  |  |  |  |  |

| Juvenile Marking Record |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PAR Licence Number |  |  |  |  |  |  |  |  |  |
| Facility Name |  |  |  |  |  |  |  |  |  |  |
| Species |  |  | Stock |  |  |  |  |  |  |  |
|  | Type of Mark |  |  |  | 24 hr Tag | Adjusted | Number of | Number |  |  |
| Marking | (Ad only, Ad/CWT, | CWT | Number | Number | Retention | Number | Adipose | of Marking |  |  |
| Date | Pelvic, Maxillary) | Code | Clipped | AD/CWT | Rate(%) | Ad/CWT | only clips | Morts. |  |  |
|  |  |  |  |  |  | 0 | 0 |  |  |  |
|  |  |  |  |  |  | 0 | 0 |  |  |  |
|  |  |  |  |  |  | 0 | 0 |  |  |  |
|  |  |  |  |  |  | 0 | 0 |  |  |  |
|  |  |  |  |  |  | 0 | 0 |  |  |  |
|  |  |  |  |  |  | 0 | 0 |  |  |  |
|  |  |  |  |  |  | 0 | 0 |  |  |  |
|  |  |  |  |  |  | 0 | 0 |  |  |  |
|  |  |  |  |  |  | 0 | 0 |  |  |  |
|  |  |  |  |  |  | 0 | 0 |  |  |  |
| Juvenile Release Record |  |  |  |  |
| PAR Licence Number |  |  |  |  |
| Facility Name |  |  |  |  |  |
| Species |  |  | Stock |  |  |
| Release |  | Release Location |  |  |  |
| Date |  |  |  |  |  |
| Mark Type |  |  |  |  |  |
| (Ad only, |  |  |  | Release | Enumeration |
| Ad/CWT, Maxillary, | Number | Number | Mean | Method | Method |
| Pelvic) | Unmarked | Marked | Wt(g) | (Volitional, Transported) | (Book, Weight, Vol.) |
| Comments |  |  |  |  |  |

| Water Quality Monitoring Record |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Aquaculture Licence No. |  |  |  |  |  |  |  |
| Facility |  |  |  |  |  |  |  |
|  |  | LPM | Diss. Oxygen | Diss. Oxygen | Type of | Water | Type of |
| Container | Date | Flow | PPM -Inflow | PPM -Outflow | Meter/Kit | Temp | Meter/Kit |

| Monthly Record Keeping Templates |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Facility Name |  |  |  |  |  | Aquaculture Licence No. |  |  |  |
| Month/Yr |  |  |  |  |  |  |  |  |  |  |  |
| Activity : | Incubation |  |  |  |  |  |  |  |  |  |
|  |  | Brood | Egg | No. of | No. of Eggs | Survival |  |  |  |  |  |
| Stock | Species | Year | Target | Eggs now | Last mnth | Rate |  | Comments |  |  |

| Monthly Record Keeping Templates |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Facility Name |  |  |  |  |  | Aquaculture Licence No. |  |  |  |
| Month/Yr |  |  |  |  |  |  |  |  |  |  |  |
| Activity : | Fry Rearing |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Total | Monthly |  |  |  |  |
|  |  | Brood | No. Fry | No. of | No of fry | Survival | Survival |  |  |  |  |
| Stock | Species | Year | Ponded | Fry now | Last Mnth | Rate | Rate | Comments |  |  |
| Monthly Record Keeping Templates |  |  |  |  |  |  |  |  |
| Facility Name |  |  |  |  |  |  |  |  |  |  |  |  |
| Month/Yr |  |  |  |  |  |  |  |  |  |  |  |  |
| Activity : | Yearling and Sub-Yearling Rearing |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Total | Monthly |  |  |  |  |  |
|  |  | Brood | No. Fry | No. of | No of Yrlng | Survival | Survival |  |  |  |  |  |
| Stock | Species | Year | Ponded | Yrlngs now | Last Mnth | Rate | Rate | Comments |  |  |  |

| Monthly Record Keeping Templates |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Facility Name |  |  |  |  |  | Aquaculture Licence No. |  |  |  |
| Month/Yr |  |  |  |  |  |  |  |  |  |  |  |
| Activity : | Description of Fish Health Issues - Juveniles |  |  |  |  |
|  |  |  | * Mean |  |  |  | Samples Submitted |  |  |
|  |  | Brood | Daily Mort |  |  |  | to Vet |  | Fish Vet |  |  |
| Stock | Species | Year | Rate (%) | Symptoms |  |  | YES | NO | Diagnosis |  |
|  |  |  | *Average the days with daily mortality rate greater than 1%. |  |  |  |  |

| Monthly Record Keeping Templates |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Facility Name |  |  |  |  |  | Aquaculture Licence No. |  |  |  |
| Month/Yr |  |  |  |  |  |  |  |  |  |  |  |
| Activity : | Description of Fish Health Issues - Broodstock |  |  |  |  |
|  |  | Brood |  | FHV | Treatment | Treatment | No. Fem | No. Males |  |  |
| Stock | Species | Year | Symptoms | Diagnosis | Dates | Applied | Treated | Treated |  |  |  |

| Monthly Record Keeping Templates |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Facility Name |  |  |  |  |  | Aquaculture Licence No. |  |  |  |
| Month/Yr |  |  |  |  |  |  |  |  |  |  |  |
| Activity : | Water Quality Summary |  |  |  |  |  |  |  |
|  | Mean | Mean | Mean | Mean | Mean |  |  |  |  |  |  |
| Source | Inflow DO | Outflow DO | Water T© | Outflow pH | Hardness |  |  |  |  |  |  |

| BKD Sampling Record |  |  |  |  |
| --- | --- | --- | --- | --- |
| Project Name : |  |  | Aquaculture Licence Number |
| Stock |  |  |  |  |  |
| Species |  |  |  |  |  |
| Brood Year |  |  |  |  |  |
|  |  | (Sterile) |  |  |  |
|  |  | Kidney |  |  | Date |
|  |  | Taken |  | Sample | Submitted |
| Date | Female # | Yes | No | Number | to Lab |

# Appendix II – Chemicals Used in Fish Culture

Disinfectants

### Ovadine

Background

Ovadine is a specially buffered, non-corrosive, aqueous iodine solution used by fish culturists as a general disinfectant on equipment, tanks, nets, hands and clothing in hatcheries and at farm sites. It is also used to disinfect eggs. It is a fast acting disinfectant that has been shown to be effective against many gram-positive and gram-negative bacteria and fungi.

Recommended Dosage & Administration Method (Reference : www.Syndel.com)

General Disinfectant

A 250 ppm available iodine solution is made by diluting 25 ml Ovadine™ to 1 litre with clean water.

Use as a dip or bath. Contact time is 10 minutes minimum.

Wash items that are heavily contaminated with soil or organic debris before disinfecting with Ovadine™.

A change in the solution colour from dark brown to light yellow indicates loss of activity. Ideally, the free iodine concentration should be monitored during treatment. Renew by using a fresh solution of

Ovadine™.

Fish Egg Disinfectant

Conditions such as the organic content of water and the mass of the fish eggs vary, thus the number of eggs treated can vary widely.

Place eggs into a 100 ppm free iodine solution of Ovadine™ for ten minutes. A suitable ratio is 1 volume of eggs to 4 volumes of this solution.

A 100 ppm free iodine solution is made by diluting 10 ml Ovadine™ to 1 litre with clean water.

Example for Egg Disinfection :

For a Heath tray that holds 10 L of water, add 100mls of Ovadine to the tray. Let eggs sit in the Ovadine for 10 minutes.

For a  Heath tray that holds 7 L of water, add 70 mls of Ovadine to the tray. Let eggs sit in the Ovadine for 10 minutes.

Safety Precautions

There is no evidence of any hazard associated with inhalation of Ovadine solution. There is no evidence of any adverse effects of ingestion or skin contact with Ovadine. Ovadine solution is classified as practically non-toxic. Even so, eye and skin protection is advised .

Storage in high temperatures results in a loss of available iodine in solution. Do not allow to freeze.

Disposal of Ovadine

Iodine is neutralized using sodium thiosulfate (Na2S2O3) at a concentration of 0.8g for every g of iodine. Every 10 L of a 100ppm solution contains 1g of iodine and therefore uses 0.8g of sodium thiosulfate for neutralization. Using a stock solution can make this a simple thing to do.

Measure out 160g of Na2S2O3 and dissolve this into 1 L of water. Cap it and keep it in a cool cupboard. You now have a stock solution of 320g/L (or 0.32mg/ml)

| To make a 100ppm iodine solution for egg disinfection, you require 10ml of Ovadine concentrate to each L of water: |
| --- |
| Volume of Ovadine (ml) | Volume of water for egg disinfection (L) | To neutralize using 320g/L stock solution (mls) |
| 10 | 1 | 2.5 mls |
| 100 | 10 | 25 mls |
| 200 | 20 | 50 mls |
| 250 | 25 | 65 mls |
| 400 | 40 | 100 mls |
| 500 | 50 | 125 mls |
| 1000 | 100 | 250 mls |

Note : For flow through systems (i.e. NOT re-circulating water systems) if the egg disinfection is done in a Heath stack and the trays are pushed in after the 10 minute disinfection process, no neutralization is required. Simply push the trays in and the water flow will dilute the solution to an acceptable level at the outflow.

If the disinfection bath is made up in a large container and a number of trays are placed in sequentially for disinfection rather than putting the solution into the incubators, the solution in the container can be neutralized before being disposed of to a stream OR dispose of the Ovadine solution to ground.

Equipment Disinfection using Ovadine

Disinfection of equipment, nets, buckets, brushes, transport tanks, etc should be at a concentration of 250ppm. This requires a volume of 25 mls of Ovadine for every 1 L of water.

| Volume of water for disinfection (L) | Volume of Ovadine (ml) | To neutralize using 320g/L stock solution (ml) |
| --- | --- | --- |
| 1 | 25 | 6.5 mls |
| 10 | 250 | 65 mls |
| 20 | 500 | 125 mls |
| 40 | 1000 | 250 mls |
| 50 | 1250 | 315 mls |

Notes:

If the 250ppm solution is being used to clean and disinfect rearing containers/tubs/transport tanks by spraying and scrubbing and allowing to sit for contact time, simply filling the container to capacity and rinsing it or allowing the water to flush through for a few hours will remove any residual amounts of the Ovadine. Neutralization is unnecessary.

If the 250 ppm solution is a large container such as a bucket that has been used for disinfecting nets, brushes, buckets, or for dipping sockeye salmon according to the Alaskan Protocols, then the container may be neutralized using the above volumes of the stock solution.

### Virkon Aquatic

(Refer to www.Syndel.com/Virkon-Aquatic-P44.aspx)

Disinfectant: Virucide, Bactericide And Fungicide

Proven Efficacy Against pseudomonas Aeruginosa, E. Coli, Listeria

Monocytogenes, Staphylococcus Aureus, Salmonella Typhimurium And

Infectious Salmon Anaemia Virus.

Non Corrosive Germicide For Disinfection Of Aquaculture Premises, Surfaces,

Virkon Use on Vehicles And Equipment.

Keep Out Of Reach Of Children

DANGER - POISON, EYE AND SKIN IRRITANT

Instructions For Use on Equipment and in Footbaths

For disinfection of pre-cleaned surfaces and equipment use a 1:100 (1%) solution at an application rate of 300 mls of Virkon solution per square metre of surface area.

For footbaths, use a 1:100 (1%) solution. Replenish at least everyt 4 days or when the solution becomes heavily soiled.

1:100 (1%) 300 mL per m2

For vehicle disinfection, use a 1:200 (0.50%) solution and the solution can be sprayed onto the vehicle.

To optimize disinfection, surfaces and equipment should be cleaned with an appropriate

cleaner or detergent in order to remove as much organic material as possible prior to

disinfection. They should also be rinsed with water and air dried between cleaning and

disinfecting.

The solution must be prepared at room temperature and must remain in contact with the surface to be disinfected for at least 10 minutes (do not exceed 30 minutes for metal objects).

Surfaces or equipment that are in metal or that enter in contact with food should be

rinsed with potable water after disinfection.

Virkon® Aquatic - Directions for General Use

A 1% Virkon® Aquatic solution is recommended for the cleaning and disinfection of surfaces associated with aquaculture including: vehicles, boats, nets, boots, waders, dive suits & other equipment.

Mix the Virkon® Aquatic powder with clean water according to the dilution instructions in the following table.

For heavily soiled surfaces, it is recommended to clean with an appropriate detergent prior to disinfection.

Virkon Disinfectant Solution Guide

| Amount of Disinfectant Solution (Litres) | Concentration of Disinfectant Solution |  |  |
| --- | --- | --- | --- |
|  | 0.50% (1: 200) | 1.0% (1: 100) | 2.0% (1:50) |
| 1 | Add 5 g Virkon | Add 10 g of Virkon | Add 20 g of Virkon |
| 5 | Add 25 g of Virkon | Add 50 g of Virkon | Add 100 g of Virkon |
| 10 | Add 50 g of Virkon | Add 100 g of Virkon | Add 200 g of Virkon |
| 25 | Add 125 g of Virkon | Add 250 g of Virkon | Add 500 g of Virkon |

General Rules for Use of Virkon Aquatic

1. Do not apply Virkon® Aquatic powder directly on surfaces you are trying to disinfect, always mix with wate r first.

2. Always make your solution in a clean container of known volume.

3. Measure the correct amount of Virkon® Aquatic powder using the calibrated measuring cup provided.

4. Stir the mixture to dissolve the Virkon® Aquatic powder.

5. Apply the solution to the surfaces to be disinfected, wait for the recommended contact time, and follow with a clean water rinse.

One litre of solution is sufficient to disinfect approximately 4 sq meters.

6. Virkon® Aquatic solutions are stable for up to 7 days. Test strips are available to determine the mixed solution's strength.

Safety Information

The MSDS for Virkon Aquatic is available at :

http://www.syndel.com/Assets/file/VirkonAquaticMSDS-Sept2011

### Chlorine Bleach

Check the label!!! Most household bleach is 6% hypochlorite, which means that it contains 6% weight to volume of the active compound hypochlorite, or 60g/L, but they can also be higher or lower in concentration.

Chlorine Bleach Continued

Chlorine bleach is used at 200 ppm for (small) equipment disinfection. (See the example below). Due to the toxicity of bleach to fish and other aquatic organisms- it cannot be disposed of to an aquatic environment.  Bleach should only be used to disinfect small equipment where the bleach solution can be mixed in a stand alone container.

Allow a contact time of 10 minutes. Rinse small equipment well with clean, fresh water ensuring that the rinse water does not enter any aquatic environment.

Chlorine bleach disinfectant solution can be neutralized using sodium thiosulfate (Na2S2O3) at a concentration of between 2 – 7 parts Na2S2O3 per part chlorine.

To neutralize 1 L of a 200 ppm solution of chlorine, between 0.4 and 1.4 grams of sodium thiosulfate are needed. The range is because the reaction is pH dependent. Values here are on the high end as sodium thiosulfate is safe at the suggested excess.

Example

If the bleach has 6% hypochlorite, then it has the equivalent of 60,000 ppm.

Since you want 200 ppm, 60,000/200 = 300 times dilution i.e. we need to dilute the bleach by 300 times to get a 200 ppm solution

Therefore you need 1ml of bleach for every 300ml of final solution volume you want to make up, or 3.33 mls for each 1 L.

We can pretty safely round that up to 3.5 mls and end up with a 210 ppm solution so we can measure things easier.

To make and neutralize a 200 ppm solution of bleach follow the guide below (bleach ranges between 5-12% active ingredient, the following volumes of bleach are based on a 6% concentrate)

Chlorine Bleach Disinfectant Solution Guide

| Volume of water | Volume of bleach (calculated using bleach with a concentration of 6% NaOCl) | To neutralize using 320g/L Na2S2O3 stock solution from above |
| --- | --- | --- |
| 1L | 3.5 mls | 5 mls |
| 10L | 35 mls | 50 mls |
| 20L | 70 mls | 100 mls |
| 25L | 87.5 mls | 125 mls |
| 40L | 140 mls | 200 mls |
| 50L | 175 mls | 250 mls |

Chlorine Bleach Continued

High and low range chlorine test strips can be purchased from Dynamic Aqua for about $9.00 a vial (100 test strips) and can verify the approximate concentration of your disinfection solution, and the effectiveness of your neutralization.

If your bleach is more or less concentrated (it can range from 5.25% and on up to as high as 12%) than the example, do the math and adjust the volumes accordingly. In other words, if it is less than 6% you will need more of it to make up a 200ppm solution, if it is more concentrated, then you need less of it.

### Mucous Protectants Used in Fish Transport and Handling

Vidalife

(Refer to the website at   http://www.Syndel.com)

Vidalife is a specially formulated water conditioner for use in fish hatcheries, broodstock facilities, transport tanks, and on handling equipment and handling surfaces.

When applied as directed, Vidalife will help protect fish from abrasions by preserving the fish’s natural mucous layer and can be used whenever fish are handled or moved.

Features:

• Vidalife is a water conditioner used in fish transport and during any handling events.

• Vidalife forms a coating on contact surfaces to reduce friction and abrasion when handling.

• Vidalife helps to form a protective barrier between fish and handling equipment.

• Vidalife reduces the toxicity of heavy metals.

Benefits:

• Vidalife helps reduce stress and abrasions during any handling process.

• Vidalife may reduce vulnerability to pathogens that may affect a fish as it can enhance a fish's natural protective mucous coat.

• Vidalife binds with heavy metals and harmful chemicals to reduce their toxicity.

Vidalife TM Continued

Dosage

Add 1 ml of Vidalife per 15 litres of water.

Mix thoroughly and maintain adequate aeration.

Safety Precautions

Store at room temperature.

MSDS available at :

http://www.syndel.com/Assets/file/MSDS-dec2010/Syndel_Vidalife_MSDS.pdf

### Fish Sedatives Used for Transport and Handling

Aquacalm

(Refer to the website : www.Syndel.com)

Aquacalm can be used as a mild sedative during adult transport and also for handling of adult fish (eg. during sorting to determine degree of ripeness).

Aquacalm does have a withdrawal time therefore when used on broodstock for transport and/or sorting, do not return those broodstock to the aquatic environment (i.e. dispose of to landfill or composting area).

Dosage

Use 0.25 - 1.0  mgs of Aquacalm per litre of water.

For example, for a transport tank containing 400 litres of water, add between 0.1 grams and 0.4 grams of Aquacalm.

Safety Precautions

Do not inhale the powder. If inhaled contact a physician immediately.

Keep out of contact with eyes.

### Chemicals Used for Disease Treatments - External Bacteria and/or Parasites

Chloramine-T

Chloramine-T can be used to treat external bacterial infections as well as external parasites.

Dosage

8.5 to 12 PPM for a 1.0 hour static bath. Treatments can be applied for three consecutive days or every other day for a total of 3 treatments.

Safety Precautions

Parasite-S

(Refer to website at : http://www.syndel.com/Parasite-S-P47.aspx)

PARASITE-S is an approved  parasiticide for the control of external Protozoa and Monogenetic Trematodes on all fin fish.  It is also approved as a fungicide for fin fish eggs.

PARASITE-S is classified as a dangerous good and it must be shipped and handled according to the DOT Transportation of Dangerous Goods regulations.  New users are encouraged to seek advice from a fish health professional prior to using this product.

Dosage

Parasite-S is the aqueous solution of formaldehyde gas (this is equivalent to formalin 37% or 37 grams of formaldehyde in 100mL of solution).

Parasite-S is used at a concentration of 170 to 250 PPM to treat for external parasites (i.e. for fish being reared in containers other than earthen channels/ponds. The concentration to use is earthen channels/ponds is 15 to 25 PPM).

Amount of Parasite-S in 100 L of Water

| Conc. = 15 PPM | Conc. = 25 PPM | Conc. = 170 PPM | Conc. = 250 PPM |
| --- | --- | --- | --- |
| Add 1.5 mls | Add 2.5 mls | Add 17.0 mls | Add 25.0 mls |

To treat for external parasites, conduct a one hour static bath.  The treatment can be repeated every 5 to 10 days.

Parasite-S is used at a concentration of 1,667 PPM as a fungicide on salmon eggs. (Refer to the BMP Incubation section titled : Egg Fungal Treatments Using Parasite-S)

Safety Precautions

POTENTIAL CANCER HAZARD, ALLERGIC SKIN REACTION, RESPIRATORY SENSITIZATION, REPRODUCTIVE DISORDERS,

LUNG DAMAGE, LIVER DAMAGE, KIDNEY DAMAGE, BRAIN AND

NERVOUS SYSTEM DAMAGE.

SKIN ABSORPTION: May be harmful if absorbed through skin.

INGESTION: May be harmful If swallowed. If accidentally swallowed. burns or irritation to mucous membranes, esophagus or GI tract can result. Can cause central nervous system depression.

INHALATION: May be harmful if inhaled. Liquid or vapor may cause irritation of nose, threat and lungs.

Can cause central nervous system depression.

SKIN: Causes irritation.

EYES: Causes chemical burns.

Refer to the Directions for Use, and MSDS  for details on directions for use prior to treating fish of any life stage, as well as limitations and cautions for all uses.

MSDS available at : http://www.syndel.com/Assets/file/parasite-S_MSDS.pdf

Store PARASITE-S indoors away from direct sunlight, heat, sparks, and open flames, and ventilate storage area.

Do not subject PARASITE-S to temperatures below 40°F (4.4°C). PARASITE-S subjected to temperatures below 40°F causes the formation of paraformaldehyde, a substance which is toxic to fish.

Paraformaldehyde can be recognized as a white precipitate at the bottom or on the walls of the container.

Tolerance to PARASITE-S may vary with strain and species of fish. While the indicated concentrations are considered safe for the indicated fishes, a small number of each lot to be treated should be used to check for any unusual sensitivity to PARASITE-S before proceeding.

Under some conditions, fish may be stressed by normal treatment concentrations. Heavily parasitized or diseased fish often have a greatly reduced tolerance to PARASITE-S. Such animals do not tolerate the normal tank treatment regimen the first time they are treated. Therefore, time and dosage may need to be reduced.

Careful observations should always be made throughout the treatment period whenever tank or raceway treatments are made. If they show evidence of distress (by piping at the surface). the solution should be removed and replaced with fresh, well aerated water.

Treatment in tanks should never exceed 1 hour for fish even if the fish show no sign of distress.

Do not apply PARASITE-S to ponds with water warmer than 27 °C (80 °F), when a heavy bloom of phytoplankton is present, or when the concentration of dissolved oxygen is less than 5 mg/L (5 ppm).

PARASITE-S may kill phytoplankton and can cause depletion of dissolved oxygen. If an oxygen depletion occurs, add fresh, well-aerated water to dilute the solution and to provide oxygen.

Disposal

Do not discharge the contents of fish treatment tanks into natural streams or ponds without thorough dilution (greater than or equal to 1OX).

Do not discharge the contents of egg treatment tanks without a 75X dilution.

This will avoid damage to PARASITE-S sensitive phytoplankton, zooplankton, and fish.

### Preservatives Used for Fish Culture Samples

Stockard's Solution

Stockard's solution can be used to preserve biological samples and can also be used to "clear" salmon eggs for fertility rate monitoring. (Refer to Oceans Habitat and Enhancement Branch Facts and Figures, Fourth Edition, 2009).

Stockard's solution should be stored out of sunlight and should be kept cool, but not below 4°C.

The solution does not require dilution for use (i.e. it can be used right out of the container).

The active ingredients in Stockard’s solution are : formaldehyde, acetic acid, glycerine and water.

Safety Precautions

INHALATION: Irritation of upper respiratory tract. Bronchitis and bronchopneumonia can result from prolonged exposure. Inflammation of eyelids can occur.

INGESTION: Abdominal pain, unconsciousness, collapse. In all cases, immediately call a physician. Wash out mouth thoroughly with water. If the patient is conscious, give milk or water freely to drink to dilute the chemical, induce vomiting. Repeat.

EYE CONTACT: Can cause irritation and eye burns. Immediately call a physician. Rinse the eyes with a gentle stream of water for at least 15 minutes, keeping the eyelids separated. Repeat if pain persists.

SKIN CONTACT: Can cause irritation, burns, hardening or tanning of skin, cracking and ulceration, or dermatitis. Wash thoroughly with soap and water. Remove and wash contaminated clothing before re-use. Call a physician.

CONTROL MEASURES: In case of a spill, shut off all possible sources of ignition. Wear gloves and goggles. Dike any liquid to prevent its spread to public water sources. Mop up with plenty of water and treat with dilute ammonia solution. Run to waste diluting greatly with running water. Ventilate the contaminated area well to dispel any vapour. If formaldehyde solution enters sewers or drains inform local authorities.

RESPIRATORY PROTECTION: Respirators should be used and for large quantities self contained breathing apparatus should be used.

PROTECTIVE CLOTHING: Protective clothing or aprons should be used. Gloves should be used.

EYE PROTECTION: Safety goggles should be used.

VENTILATION: Use only with adequate ventilation. Local exhaust system or fume cupboard should be used.

Disposal

Pour the liquid in a hole in an open area. Wear a respirator. Ensure disposal method complies with local, provincial and federal regulations governing disposal.

# Appendix III – Anaesthetics Used in Fish Culture

### TMS (MS-222, Tricaine Methanesulfonate)

TMS is the only prescription anaesthetic approved for use on finfish.

TMS concentration ranges from 25 PPM to 100 PPM. (TMS dose is lethal at 300 to 400 PPM).

TMS may lower the pH of the water therefore buffering of the anaesthetic water may be necessary. Sodium bicarbonate can be used as the buffer by adding an equal amount of the sodium bicarbonate as the TMS.

Always measure the pH of the water prior to adding TMS. Measure the pH of the water after mixing in TMS and measure the pH of the water as buffer is being added. The goal is to buffer the water back to the ambient (baseline) level.

Keep a record of the amounts of TMS and sodium bicarbonate being used to make the anaesthetic solution.

To make up the anaesthetic solution, either add TMS powder directly to the anaesthetic basin(s) or make a stock solution of TMS and add the (liquid) stock solution to the water.

TMS must be stored in a cool, dark area. Stock solutions of TMS should be stored in dark colored containers (eg. brown plastic bottles) to retain efficacy.

Fish should take between 1 to 2 minutes to become docile and once returned to the fresh water recovery area, should take between 1 and 4 minutes to fully recover. If anaesthesia occurs faster than 1 minute - dilute the anaesthetic solution with fresh water until fish are taking 1 to 2 minutes to become anaesthetized.

ALWAYS test a small group of fish FIRST. This allows for making adjustments to the anaesthetic bath without causing mortality due to excessive concentration.

A record of anaesthetic use must be kept. Record the date(s) of use, purpose for use, amounts of TMS used, withdrawal time prior to releasing the fish,  water temperature and the pH of the anaesthetic bath.

The Fish Health Vet requires this information at least annually.

TMS Solution Guide

|  | Volume of Water (L) |  |
| --- | --- | --- |
| Dosage | 1 | 3.78 | 5 | 10 |
| mg/l | Amount of TMS Powder to Add (grams) |
| 30 | 0.03 | 0.11 | 0.15 | 0.3 |
| 35 | 0.04 | 0.13 | 0.18 | 0.35 |
| 40 | 0.04 | 0.15 | 0.2 | 0.4 |
| 45 | 0.05 | 0.17 | 0.23 | 0.45 |
| 50 | 0.05 | 0.19 | 0.25 | 0.5 |
| 55 | 0.06 | 0.21 | 0.28 | 0.55 |
| 60 | 0.06 | 0.23 | 0.3 | 0.6 |
| 65 | 0.07 | 0.25 | 0.33 | 0.65 |
| 70 | 0.07 | 0.26 | 0.35 | 0.7 |
| 75 | 0.08 | 0.28 | 0.38 | 0.75 |
| 80 | 0.08 | 0.3 | 0.4 | 0.8 |
| 85 | 0.09 | 0.32 | 0.43 | 0.85 |
| 90 | 0.09 | 0.34 | 0.45 | 0.9 |
| 95 | 0.1 | 0.36 | 0.48 | 0.95 |
| 100 | 0.1 | 0.38 | 0.5 | 1.0 |

### Carbon Dioxide (CO2)

Carbon dioxide is a colorless, odour-less gas that is safe for use on fish.  Carbon dioxide leaves no chemical residues in the fish and does not have a required withdrawal time.

Carbon dioxide gas from a CO2 cylinder can be injected into the water or, Alka-Seltzer tablets can be dissolved in the water (i.e. the tablets give off carbon dioxide as they dissolve).

Carbon dioxide will lower the pH of the water and can lower the fish's blood pH as well. Buffering of the carbon dioxide anaesthetic solution is a must. Sodium bicarbonate should be added until the pH level in the water is at ambient (baseline) pH level.

Dosage

Amount of carbon dioxide gas or Alka-Seltzer will vary depending on water quality and water temperature.

In general, start with a low dose, test a small group of fish and add CO2  (and buffer) as required to get the fish anaesthetized. Fish should be docile after 1 to 2 minutes exposure to the anaesthetic. Fish should recover fully within 1 to 4 minutes of being placed in fresh water.

Note : if fish are spinning wildly and flaring their gills while in the anaesthetic, this is an indicator that acidosis is occuring (i.e. the pH of the anaesthetic bath is too low). Immediately transfer the fish to a fresh water recovery area and adjust the pH to ambient level using buffer (i.e. sodium bicarbonate).

Safety Precautions

If  CO2  is being constantly bubbled into the anaesthetic basins/containers, some of the CO2 may enter the atmosphere. If the CO2 level in the atmosphere reaches 10% or more of the air, this may cause anaesthesia of the person who is anaesthetizing the fish. In this type of situation there must be adequate ventilation to prevent a CO2 build up in the air.

# Appendix IV – Emergency Contacts

Fish Health Veterinarian (Contract to Dec 31, 2012)

Dr. Tyler Stitt		Contact the Fish Health Technicians FIRST. They will contact Dr. 				Stitt on an as needed basis.

Fish Health Veterinarian (Jan 2013 on)

Dr. Christine MacWilliams	Christine.MacWilliams@dfo-mpo.gc.ca

Tel : 250-792-8377

Fish Diagnostic Lab, Pacific Biological Station, 3190 Hammond Bay Rd., Nanaimo, BC V9T 6N7

Tel : 250-756-7057

Fax : 250-756-7053

Fish Health Technicians at the Fish Diagnostic Lab

Cathy Baynes			 catherine.baynes@dfo-mpo.gc.ca

Christy Thompson		Christy.Thompson@dfo-mpo.gc.ca

SEP Operations Support Biologists

Doug Lofthouse	Doug.Lofthouse@dfo-mpo.gc.ca	Tel : 604-666-8646

Glen Graf		Glen.Graf@dfo-mpo.gc.ca		Tel : 604-666-3958

David Willis		David.Willis@dfo-mpo.gc.ca		Tel : 604-666-3520

Don MacKinlay	Don.MacKinlay@dfo-mpo.gc.ca	Tel : 604-666-2030

Dr. Paige Ackerman	Paige.Ackerman@dfo-mpo.gc.ca	Tel : 604-666-2879

SEP Section Heads

Lower Fraser Area		Matt Foy		Matt.Foy@dfo-mpo.gc.ca

Tel : 604-666-3678

Vancouver Island		Tom Rutherford	Tom.Rutherford@dfo-mpo.gc.ca

Tel : 250-746-7979

BC Interior			Bob Harding		Bob.Harding@dfo-mpo.gc.ca

Tel : 250-851-4918

Northcoast (Area Chief)	Dr. Jeffrey Lemieux	Jeffrey.Lemieux@dfo-mpo.gc.ca

Tel : 250-627-3453

# Appendix V – Best Management Practices for Classroom Aquaria

Classroom aquaria are utilized as part of the Stream to Sea Program, an education tool to teach grades K to 12 students about Pacific salmon.

A copy of the Pacific Aquaculture Regulation (PAR) licence must be kept at the school with each aquarium.

The Classroom aquarium system consists of :

- an aquarium (various sizes ranging from 25 gallon to 100 gallon)

- filtration system (pump with filter media that usually consists of sponge and carbon filters)

- an aeration system (aquarium air pump and aquarium air stones)

- aquarium gravel

- optional aquarium floor

- cooling unit (usually set to between 6 and 8 degrees C)

Classroom aquaria may receive fertilized or eyed eggs and in some cases may receive fry, up to 100 per aquarium. Only Pacific salmon species as supplied by the Community Advisor or designate are permitted in classroom aquaria.

During the incubation phase (i.e. until fry are at the swim-up stage), classroom aquaria must be kept dark. This can be accomplished by covering the entire aquarium with dark colored paper, insulating styrofoam or other suitable materials. The aquarium must have a lid that eliminates light from entering the aquarium during the incubation phase.

Aquaria filtration, aeration and cooling systems must be maintained in good operating condition. The Community Advisor or designate must be contacted in the event of system failure.

Fry must be fed an appropriate diet  at a rate that ensures good health (i.e. a type of fish food, fed in an amount as approved by the Community Advisor)

Water quality in the aquaria must be maintained at standards that ensure the fish will maintain good health (i.e. water should be clean, pH between 6.5 and 8.5, dissolved oxygen level above 7 PPM).

Fry must be released only to those locations as listed on the Pacific Aquaculture Regulation licence which is held by the Community Advisor. A copy of the licence must be carried with the fish to the release location.

# Appendix VI – Salmonid Enhancement Program Major Operations Facilities : Transport Loading Densities and General Fish Transport Guidelines

| Transport Tank Loading Densities Used at SEP Major Operations Facilities (March 2012) |
| --- |
| Site | Species | Size | TankVol(L) | Load(kg) | Rate(g/L) | Duration(hr) | Comments |
| Inch | All | Juveniles | 2700 | 300 | 110 | 1.5 | 5-ton truck |
| Inch | All | Juveniles | 925 | 100 | 110 | 1.5 | Pickup |
| Inch | All | Juveniles | 1900 | 200 | 110 | 1.5 | Trailer |
| Pitt | SX | Juveniles | 2700 | 300 | 70 | 8 | 5 ton |
| Cultus | SX | Juveniles | 90 | 20 | 220 | 0.1 | Boat bucket |
| Inch | All | Adult |  |  | 110 |  |  |
| Quesnel | CN | 5 g |  |  | 250 | 8 |  |
| Spius | All | Juveniles | 700-2000 |  | 70 | 1 - 6 hr |  |
| Spius | All | Adults | 700-2000 |  | 120 | 0.5 - 5 hr |  |
| Chilliwack | All | All | All |  | 90-100 |  |  |
| Snootli | CM | Fry | 1125 - 4500 |  | 250 |  |  |
| Snootli | CN | Fry | 1125 - 4500 |  | 250 |  |  |
| Snootli | CN | Yearling | 1125 - 4500 |  | 150 |  |  |
| Snootli | CN | Adults | 1125 - 4500 |  | 220 |  |  |
| Snootli | CO | Yearling | 1125 - 4500 |  | 150 |  |  |
| Snootli | CO | Adults | 1125 - 4500 |  | 100 |  |  |
| Snootli | SX | Fry | 75 |  | 250 |  | bucket |
| Quinsam | All | Juveniles | -2700 |  | 90-120 |  |  |
| Chehalis | All | All |  |  | 60-100 | 0.5 - 2.0 |  |
| Chehalis | All | All |  |  | 60-100 | 0.5 - 2.0 |  |
| Tenderfoot | All | All | 2400 | 300-350 | 150 |  |  |
| Tenderfoot | All | All | 1000 | 100 | 100 |  |  |
| Big Qualicum | CN CO | Swim-up fry |  |  | 250 |  | Basket racks |
| Big Qualicum | CN CO | Fry |  |  | 150-200 |  |  |

Transport Tank Loading Densities Used at SEP Major Operations Facilities (March 2012)

| Site | Species | Size | TankVol(L) | Load(kg) | Rate(g/L) | Duration(hr) | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Rosewall | SX | 0.3-2 g |  |  | 100 | 7-11 hr |  |
| Kitimat | All | Juveniles | All |  | 160 | < 1.0 |  |
| Nitinat | CN | Juveniles | 1100 |  | 160 | 0.5 |  |
| Nitinat | CM | Juveniles | 1100 |  | 350 | 0.5 |  |
| Nitinat | CO | Juveniles | 1100 |  | 190 | 0.5 |  |
| Nitinat | CN | Adults | 1100 | 300 | 270 | 0.5 |  |
| Nitinat | CM | Adults | 1100 | 300 | 270 | 0.5 |  |
| Nitinat | CO | Adults | 1100 | 210 | 190 | 0.5 |  |
| Sarita | CN | Juveniles | 1100 |  | 160 | 1 |  |
| Sarita | CN | Adults | 1100 | 200 | 200 | 1 |  |

# Inch Creek

| Inch Creek Transport Tanks |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  | Tank Capacity | Maximum | Max Load Rate | Total / Truck |
|  |  |  |  | Normal Load | (kg/l) |  |
| Large Tanks (on 5 ton truck) | 2700 litres each | 300 kg / tank | 0.11 | 1200 |
| Small Tanks (for pickups) | 925 litres | 100 kg / tank | 0.11 | 100 |
| Trailer Tank (Joe Kambeitz model) | 1900 litres | 200 kg / tank | 0.11 | 200 |
| Large Boat Buckets (Cultus sockeye) | 90 litres | 20 kg / bucket | 0.22 | 40 / boat |

- Most transports are short duration - about 1.5 hours maximum.  In the case of the Pitt sockeye, the transport may take 8 hours.

- also have cool water < 10 degrees whenever transporting.

- don't worry about any water treatment for juvenile fish, but use vidalife for adults at the rate of 1 ml stock to 15 litres transport water.

- It is very important to charge the transport tank with oxygen before loading fish.

- maintain oxygen flow of about 1.5 or 2 L / min during transport.  The diffuser stones become very inefficient  > 4 L / minute.  If the oxygen flow is cranked higher than 4 the gas travels through the water as large bubbles, rather than diffusing as gas.

- Small fish (1 gram or less) require more caution.  See the document attached.

Pitt River Sockeye Fry Transport Load Rate Test – May 4, 2010

Pitt River sockeye fry are normally released in two groups:

- 1.5 million fry averaging 0.5 grams in mid May and

- 0.5 Million fry averaging 1.5 grams in mid June.

Due to earlier than usual ponding, the 2009 brood sockeye fry are estimated to reach 0.65 grams by mid May 2010.  This is about 30% larger than the target release size.

The normal load rate for fry and smolt transportation at Inch Creek Hatchery is 0.1 kg of fish / litre of water.  The Western Star truck carries 4 tanks with 2700 litres capacity / tank.  The early Pitt sockeye release group is normally transported at a load rate of 0.7 kg of fish / litre of water for an eight hour trip.

To test the practicality of increasing the load rate a test was conducted May 4, 2010 using a 925 litre transport tank.

A load rate of 0.2 kg / litre was tested using 180 kg of sockeye fry averaging 0.45 grams in 875 litres of water.  Standard techniques were used to pre-charge the tank with oxygen and to transfer the fry by net from a concrete rearing channel.

The DO reading in the tank before loading was 16.0 ppm and the temperature was 5.9 degrees Celsius.  Immediately after fish loading the DO was measured at 11.0 ppm.  Flow to the air stones was maintained at 4 lpm for maximum air stone efficiency.  After 40 minutes the DO was 8.3 ppm.  After 50 minutes the DO was 7.0 ppm, the temperature was 6.9 degrees Celsius and the fish were showing signs of distress.  The test was terminated and the fry netted back into the concrete channel.  About 200 fry were killed by stress and handling during the test.

Conclusion: it is not safe to double the normal load rate of 0.1 kg of fish / litre of water when transporting sockeye fry.

# Spius

Attached is the guideline used at Spius.  Generally for smolts and fry we use the 2nd and 3rd load rate listed which is probably quite light compared to others.  Adults are loaded at almost twice the 2nd rate.  We don't have a set flow rate for the oxygen but rather target a level between 12 - 15 mg/l in the tanks during transport.  At release we will reduce O2 flow rate to try to match the receiving water DO (within reason). The time in transport varies depending on location and life stage.  The range for smolts and fry is 1 to 6 hours and the adults range from 30 minutes to 5 hours.  The temperature during transport can vary from 0.5 to 12 degrees.  This we also try to match to the receiving water.

| Transport Tanks -- Loading Rates |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Length | Width | Height | Volume | Number | Number | Kg./Load | Kg./cu.m. | Load Rate |
|  | m. | m. | m. | cu.m. | Litres | Gallons |  |  | Kg/litre |
| Small | 1.02 | 1.02 | 0.66 | 0.69 | 687 | 151 | 40 | 58.25 | 0.058 |
| Medium | 1.22 | 1.12 | 0.63 | 0.86 | 861 | 189 | 50 | 58.08 | 0.058 |
| Large | 1.88 | 1.19 | 0.91 | 2.04 | 2036 | 448 | 120 | 58.94 | 0.059 |
|  | Length | Width | Height | Volume | Number | Number | Kg./Load | Kg./cu.m. | Load Rate |
|  | m. | m. | m. | cu.m. | Litres | Gallons |  |  | Kg/litre |
| Small | 1.02 | 1.02 | 0.66 | 0.69 | 687 | 151 | 45 | 65.53 | 0.066 |
| Medium | 1.22 | 1.12 | 0.63 | 0.86 | 861 | 189 | 55 | 63.89 | 0.064 |
| Large | 1.88 | 1.19 | 0.91 | 2.04 | 2036 | 448 | 130 | 63.86 | 0.064 |
|  | Length | Width | Height | Volume | Number | Number | Kg./Load | Kg./cu.m. | Load Rate |
|  | m. | m. | m. | cu.m. | Litres | Gallons |  |  | Kg/litre |
| Small | 1.02 | 1.02 | 0.66 | 0.69 | 687 | 151 | 50 | 72.82 | 0.073 |
| Medium | 1.22 | 1.12 | 0.63 | 0.86 | 861 | 189 | 60 | 69.70 | 0.070 |
| Large | 1.88 | 1.19 | 0.91 | 2.04 | 2036 | 448 | 140 | 68.77 | 0.069 |
|  | Length | Width | Height | Volume | Number | Number | Kg./Load | Kg./cu.m. | Load Rate |
|  | m. | m. | m. | cu.m. | Litres | Gallons |  |  | Kg/litre |
| Small | 1.02 | 1.02 | 0.66 | 0.69 | 687 | 151 | 55 | 80.10 | 0.080 |
| Medium | 1.22 | 1.12 | 0.63 | 0.86 | 861 | 189 | 60 | 69.70 | 0.070 |
| Large | 1.88 | 1.19 | 0.91 | 2.04 | 2036 | 448 | 150 | 73.68 | 0.074 |

# Chilliwack

The standard transport loading rates for Chilliwack Hatchery for all tanks has been ~ 90-100 grams/liter.  O2 flow rates are set and monitored to achieve optimally  9-10 ppm O2 .  Recirculation/agitator pumps, coolest available water, ice and/or insulated transport tanks are sometimes used for longer trips than an hour.  As well anti-foam agents and transport anaesthetics like Marinil can be used to 'quiet' down fish i.e. short of loosing their equilibrium.  Of course there is going to be variability in load rates and densities, which will be dependent on a number of factors.  This includes water quality parameters such as temperature,  ph and turbidity among other things. Also developmental stage is important and can be critical for small pondable fry to smolt to adult.  Other factors such as exposure to temperature increases or decreases on fish going to and from rearing water to transport tank water to receiving water should be taken into consideration which will effect O2 consumption/metabolic rate and stress levels.  The overall objective is to minimize stress.

# Snootli

|  |  | Average | Maximum | Transport |  |  | Usual Transport |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Species | Stage | Density | Density | Duration | Flow lpm | Temperature | Container |
| Chum | fry | 250 gm/L | 300 gm/L | Up to 40 mins | 1.5-4 lpm x 2 | 3-5 degrees C | 4500/2250/1125 litre tanks |
| Chinook | fry | 250 gm/L | 450 gm/L | Up to 90 mins | 1.5-4 lpm x 2 | 5-8 degrees C | 4500/2250/1125 litre tanks/75 L Bucket |
| Chinook | yearlings | 150 gm/L | 225 gm/L | Up to 90 mins | 1.5-4 lpm x 2 | 3-8 degrees C | 4500/2250/1125 litre tanks |
| Chinook | adults | 220 gm/L |  | Up to 90 mins | 1.5-4 lpm x 2 | 12-18 degrees C | 2250/1125 litre tanks |
| Coho | yearlings | 150 gm/L | 450 gm/L | Up to 90 mins | 1.5-4 lpm x 2 | 5-8 degrees C | 2250/1125 litre tanks and 75 L Bucket |
| Coho | adults | 100 gm/L |  | Up to 90 mins | 1.5-4 lpm x 1 | 3-5 degrees C | 1125 litre tank |
| Sockeye | fry | 250 gm/L | 400 gm/L | Up to 3.5 hrs | .125 lpm | 5-8 degrees C | 75 L Bucket |
| Flow rate varies with different delivery systems. # and efficiency of stones, altitude. |  |
| Flow rates are adjusted periodically to keep O2's between 10-15 mg/L |  |  |
| Maximum densities are only reached on air transports during extenuating circumstances. |  |

# Quinsam

This is out of our FHMP under fish transport.  For our big 2700 litre tanks, we load light at around .09 kg per litre.  I think the old standard everyone used was around .12 kg per litre as a maximum, but it all depends on how warm things are.  We like to go on the low side so that if the water warms up during transport, we are still well under the loading capacity.

Chinook can be a little finicky and we take them to the seapens, so we load light and buffer the water with salt, which seems to help, (10 ppt).  Mark (who is our expert on transport) runs oxygen into the tanks prior to loading and takes them up to 20% more oxygen than saturation (if it starts at 11 ppm he takes it to around 14 ppm).  He believes that this is crucial for keeping the fish happy during transport and avoiding the big draw-down when they are first loaded.  By super saturating the tank water a bit before loading, they calm down faster and you don't have to add a lot during transport.

The load rate we use can be applied to everything whether it is Pink fry or Steelhead smolts, seems to work out well.  We run the oxygen through ceramic stones and try to keep it at saturation during transport once the fish have settled down.  We run the oxygen through a regulator pre-set to 50 psi, and then through a flow meter which you turn on and off as required to deliver the flow to the tank.  There is no hard rule about how much to run the flow meters at, it depends on the oxygen in the tank.  If you need more, turn it up higher.  If you don't need any, turn it down.  The key is to have a oxygen meter running in every tank so you can watch it constantly.

Details of the Operating Procedure:

All fish are taken off feed 48 hours prior to transport

        - Prior to transport, refer to the STEP/S for the Fish Transportation System

        - If fish are to be transported to sea pens, ensure that the pen crew is on site and all preparations have been made. The hoses should be in place, the nets secured, the water pump in place and tested etc

        - Set up the fish pump

        - Move the transport truck close to the pond and direct the pump outflow into the appropriate tank on the truck

        - Fill the transport tanks, to the fill mark on the inside of the tank lip, with water from the aeration tower

        - Ideally, keep one tank empty of fish, but filled with water to act as a flush for the system when releasing

        - Ensure that the monitoring system inside the truck is operational. Each tank has a probe, a flow meter and a pressure indicator to ensure there is proper back pressure and that the O2 system is operating. Meters are located in the cab for easy monitoring

        - If fish are being transported to salt water, add ½ bag of salt (25 lbs) to each 600 gallons of water (each tank)

        - Lower the water level in the pond slightly

        - Using a pole seine, crowd the fish towards the top end of the pond (All crowders are made with marquisette nets rather than stamped out aluminum screens. This type of crowder is easier on the fish and is less damaging when they come into contact with it)

        - Drop a net covered divider behind the seine net to keep and fish that escape the net contained

        - Crowd the fish up to the fish pump. The fish pump will collect the fish and dewater them as they rise to the top. The fish will spill out through a tube at the top of the pump and drop gently into the tank on the truck

        - Load to approximately 200-250 kgs (5 g smolts) per 600 gallon transport tank

        - Completely lower the pond level when all but the last few fish have been captured

        - Using a net and bucket, collect any remaining fish

The longest transport duration is approximately 1 hour therefore no stops are generally made while underway

# Chehalis

For juveniles the loading rates are .06-.1 kg/ liter , and .1-.2 kg/ liter for adults. When we used to haul fish to Cogburn Creek about a 2 hour trip ( loading to release site ) we would load at .06 kg/ liter. Now we only haul to/ from the Harrison R ( juveniles and adults ) where loading to release might be 1/2 hour. We used well water which is between 8-9 C.

# Tenderfoot/Capilano

Generally we transport 300 -350 Kg of fish in each of our two  2400 Litre tanks on the 5 ton. We use  250 mls. of Vida life per tank and run the Oxygen 1-1.5 lpm. Our  pick up truck tank is 1000 litres we  generally transport at 100 kg. 100mls. of Vida life .5-.75 lpm oxygen

These load rates are for juvenile Chinook, as you know our adults loads tend to be very light depending on daily catch.

Length of transport for 5-6 gm Chinook to the Seapens will be typically 2-3 hours including load time

# Big Qualicum/Rosewall

We transport Fry from incubation to ponds at Big and Little Qualicum facilities, Sockeye from Rosewall to Sakinaw and Cultus Lakes, and periodic Coho and Chinook fry transfers. Details as follow

Ponding fry from incubation is done with modified tanks that have racks to hold heath tray baskets. Each tank holds 40 baskets or 300 to 400 thousand fry. Densities are up to .25 Kg/L, O2 rates are between 1 and 2 LPM and compressed air is used for circulation. Transports can be up to 1 hour and maximum temperature is 7 degrees.

Sockeye transported from Rosewall range from 0.3 to 2 grams. Maximum densities are .1 Kg/L and ideally O2 rates are between 1 and 2 LPM. Please note we frequently adjust rates during transport. Transports range from 7 to 11 hours. Initially water temperature is 8 degrees and has reached 18 degrees upon arrival depending on time of year.

On occasion we transport Chinook and Coho for out plants. Densities range from .15 to .2 Kg/L depending on duration.

# Kitimat

Fry/Smolt transport

We use the same load rate for all species.     0.157 kg/L      We almost never deviate from this.

Water temp, I'm guessing, is usually no more than 10 deg C.  Trips never exceed 1 hour and are usually 20 to 40 minutes.

O2 flow rates is about 1.5 - 2 Lpm.

One thing we have found that helps tremendously is that we now monitor the O2 during the entire transport.  We have a meter with a long enough cable so that we can use a hand held monitor inside the cab.  We have often had to stop the transport mid way to fine tune the O2 delivery during the trip.  Another method we use on most of our tanks is that we have made them air tight with only a ball valve on the top, for air, and we are able to control how fast the water and fry come out of the discharge hose, by adjusting how fast the air can enter the tank.  The ball valve is also where we put our O2 probe during the transport.  Tanks are equipped with a 4" discharge.  We only bubble O2.  No air.

None of our tanks are insulated as temp is never an issue here.

There are no water treatments or additions.

# Nitinat

| Transport sites | Species | Adults/Tank (maximum) | O2 flow (lpm) tank | Adults/container (maximum) | Supplemental Oxygen supplied? (lpm) while loading |
| --- | --- | --- | --- | --- | --- |
| Nitinat River | CN | 30 | 5 | 500/deep pond | O2 gen./ 8 open @ 30 lpm |
|  | CM | 75 |  | 2200/deep pond |  |
|  |  |  |  | 1100/shallow pond | Not available |
|  | CO | 35 |  | 60/round tank | O2 gen./ 1 airstone @ 7 lpm |
| Nitinat Lake | CM | 100 | 6 | Same as above | Same as above |
|  | CN | 30 |  |  |  |
|  | CO | 30 |  |  |  |
| Sarita River | CN | 15-20 | 5 | 300/shallow pond | Not available |

Juveniles

Sarita CN = ~.160kg/liter x 1hr in transit

Nitinat Chinook (river or lake) = ~.250kg/liter x 30 min in transit

Nitinat Chum (lake) = .350kgs/liter x 30 min in transit.

Nitinat Coho (river) = .190kg/liter x 30 min in transit.

Moving juveniles to Nitinat lake (brakish water) the following notes:-

Add 5kg (or ~5ppt) + 1mlVidalife/liter of well water before adding water to ensure adequate mixing

Charge tank to 20ppm before adding fish

Load tanks to .120kg/liter.

For Chum maintain transport O2 at 6lpm, Chinook at 2-3lpm, measuring DO's between 12-15ppm at release.

Loading/Transport time for chinook and chum to the lake = 30mins.

Loading/Transport of chinook to Sarita = 60min, Poett Nook marina (Barclay sound) = 75min. Sooke harbour transport = 2.5 hours.

Sarita river (fresh water) transports do not have salt added to tank

### General Information About Transporting Fish

(Reference : Erica Blake, Community Advisor)

METHODS OF TRANSPORT can include trucks, trailers, boats, aircraft (planes, helicopters), etc.sure that the vehicle used to transport fish is in good working condition (see Transport checklist for more detail)

EQUIPMENT

Transport Tank

Measure Tank Volume (Mark maximum water level - Litres)

- Consider the maximum water level - remember that fish will displace water.

Calculate the volume of the tank (m3)

Volume of a Cylinder = r2 (3.141592 x radius x radius)

Volume of a Rectangle = length x width x depth

OR

- Fill the tank up and measure the operating depth to determine the number of Litres the tank can hold.

Tank Inspection

- Inspect the tank for worn or broken parts; replace or repair as necessary

- Check that the tank is water tight; replace seals, repair cracks

- Disinfect tank

AERATION SYSTEM

Air Stones

- One of the simplest ways to dissolve gases, such as oxygen or carbon dioxide, in water is to introduce the gas as small bubbles.  The smaller the bubbles, the more efficient will be the absorption of the gas.

- Know the recommended operating range or flow (lpm) of your air stone.

- Gently clean the surface of your air stone with a green scrubbie

- Check connections

Oxygen

- Read Oxygen MSDS (Materials Safety Data Sheet)

- How full is the oxygen tank?

- Check equipment to secure tank

Oxygen Regulator

- Test to ensure it is working properly

- As a precaution, pack a spare.

Portable oxygen meter

- Change membrane (if applicable), calibrate, ensure it's working properly, check batteries

- Can measure:  temperature, DO, % Sat, and some salinity.  You can also use a refractometer to determine salinity.

Communication

- Radio equipment, cellular phone, etc.

- Review operation

- Check batteries, pack spares

- Contact person

TRANSPORT CRITERIA

The following criteria for transporting should be satisfied:

- good water quality (dissolved oxygen, temperature, pH, ammonia, carbon dioxide)

- healthy fish

- good capture, loading and transporting techniques

- proper loading density

Physiological stress can occur as fish try to compensate for the effects of their environment.  Low temperature, darkness, and gentle motion during transportation can be calming to fish, and represent a cost effective means of reducing fish stress during hauling operations.

Minimize all physiological disturbances associated with transporting to reduce long-term mortality.  Factors, acting individually or in combination that can cause stress or distress to fish.

#### Water Quality

| Dissolved oxygen | Oxygen consumption rate is also reduced with increase in age and body weight of fish. Oxygen consumption is affected by the water temperature, anaesthetics, starvation, and age and weight of the fish. Lower water temperature, and starvation reduce the metabolic rate and thus reduces the oxygen consumption. | Keep the DO within a range of 80-115% saturation - this is approximately 10 - 12 mg/L of oxygen. Dissolved oxygen levels in excess of 7.0 mg/l are desired to maintain aquatic health. |
| --- | --- | --- |
| Water temperature Degrees Fahrenheit = (Degrees centigrade x 9/5 ) + 32 | Controls metabolic rate; can reduce O2 consumption and ammonia production; Metabolic rates in fish double for each 10 ºc rise in temperature. Water temperature is an important factor as it determines the dissolved oxygen (DO) level and oxygen consumption rate. The lower the temperature, the higher is the DO level, and the lower the oxygen consumption. Also, lower temperatures reduce stress to fish. Water temperature will also determine the appropriate loading density in transport tanks. | Use cool water sources ie: Ground water Ice (no chlorine) can be used to cool transport water. |
| pH | High and low pH are detrimental to fish. High C02 concentration will reduce the pH value. Extreme low pH will cause interference of respiration in fish. Salmonids seem generally to perform better in hard (100-200 mg/l calcium carbonate) rather than in soft (10-100 mg/l calcium carbonate) water. | A pH ranging from 6.6 to 8.5 can be considered safe. Changes in pH may have a strong effect on the toxicity of metals, ammonia, and nitrite. Typical surface waters have pH ranging from 6 to 9. |
| Ammonia level | As a result of metabolism of protein, excretory products are being discharged by fish to the water where they are being held. In the case of fish transport, excretory products accumulate in distribution tanks. Metabolic products are excreted primarily through the gills. The products discharged through gills include ammonia, carbon dioxide, urea, amine, and amine-oxide derivatives. The remaining products, which include creatinine, and uric acid are excreted through the kidney. Ammonia is the major excretory product. | Excretion of ammonia increases with the activity of the fish and with a rise in water temperature, as well as with the feeding ration. The toxicity of ammonia decreases with rise in salinity up to 30% sea water (.9% salt). 0.02 ppm free ammonia maximum tolerable for most species |
| Carbon dioxide | This gas is produced by fish during respiration, and as it dissolves in water to form carbonic acid, it lowers the pH. High concentration of C02 can be tolerated if the build-up is slow. When C02 increases rapidly, as it does when loading density is high, the fish become distressed due to upset of the acid/base equilibrium. | Optimal 100% SAT or 2 mg/L |

Recon

- Check out the Release site

- Ensure the equipment you’ll need suits the site

- Time how long it takes to get there (safely)

- Logging roads – how much traffic?  Notify local forest companies.

Fasting

- Fasting prior to transport can reduce the rate of oxygen consumption, and the amount of CO2, Ammonia and faeces produced.

- As a general rule, salmonids should be starved for a minimum of 1 day and larger fish for 2 days, in order to lower their metabolic rate enough to produce a practical effect.

Transport Additives

Mineral Salt Formulations

- Can provide protection against electrolyte losses due to handling and crowding stress

- Can also adversely effect fish ie:  depress blood PH

- Can decrease the incidence of skin infections; ie it may help protect the fish against Saprolegnia spp., a fungus which commonly infects weakened fish

| Compound element | Name | Strength |
| --- | --- | --- |
| NaHCO3 | Sodium Bicarbonate | 250 ppm |
| NaCl | Sodium Chloride | 0.5 - 1.0 % |
| CaCl2 | Calcium Chloride | 50 ppm |

HANDLING

- Fish should be handled as little as possible when being moved into the transport tank.

- Nets and other materials for handling fish should be soft to reduce skin damage.  Knotless web is best.  VidaLife can be sprayed on nets.

- Minimize "air time".

- Use of pesculators, fish pumps, etc may be beneficial (fish in water)

- During the initial handling and loading, oxygen consumption of fish increases dramatically.

LOADING

Loading density in transport is determined by many factors such as the respiration rate of fish, water temperature, transport duration, size of fish, etc. The factors are, in turn, related to the metabolism of the fish.

With an increase in temperature, metabolic rate increases, and loading density should be reduced. Safe loading density is inversely proportional to water temperature.

During the initial handling and loading, oxygen consumption of fish increases dramatically.

| Methods of loading | Requires |
| --- | --- |
| Load by known Population (Book value) | Biomass (kg/fish) Calculation for load rates |
| Displacement 1 Litre of water displaced  1 kg of Fish | Average fish weight (gm) Transport tank capacity with marked Litre graduation. For accuracy it is important to have level readings on tank and fish must be dewatered properly |
| Load by weight | Average fish weight (gm) Calc for load rates Dewatering of fish for weight accuracy |

#### DURING TRANSPORT

Travel safely.

Monitor transport tank parameters.

STOP AND CHECK FISH!!

# Appendix VII :Sample Submission Form : Pacific Biological Station Fish Pathology Lab

FISH PATHOLOGY LABORATORY

PACIFIC BIOLOGICAL STATION, NANAIMO, B.C.,  V9T 6N7

TEL: (250) 756-7057  FAX: (250) 756-7053

SAMPLE SUBMISSION FORM

Date: ________________                        Hatchery or SAMPLE SITE:__________________________________

| SUBMITTed by: ________________________________________ PHONE:_________________________________ FAX/email:_____________________________ Report sent to:_______________________ | MAILING ADDRESS: ___________________________________________________ ___________________________________________________ ___________________________________________________ |
| --- | --- |

SAMPLE  Information

bROODSTOCK CODE (MAJOR FACITILIES ONLY): ______________________________       Sample Size: _________

Species:____________________________________________      sTOCK:___________________________________

| Sample type (): | SICK |  | MORTS |  | RANDOM |  |
| --- | --- | --- | --- | --- | --- | --- |

Rearing Container I.D (trough/tank/pond):____________________________________________________

Age (from hatch): ___________________________________             Average Weight (gm):_______________

Diet:______________________________________________________________________________________________

| Water Source: () | Salt |  | River |  | Lake |  | Well |  | Spring |  | Mixed |  | City |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Temperature:__________ºC                                                                        Oxygen (average):                          PPM

nUMBER OF AFFECTED REARING CONTAINERS:________________________

Number of fish PER REARING container: ____________________________

LOSS RECORDS (please ATTACH COPY OF DAILY RECORD SHEETS): Today:______________________past 10 days:______________________________

Reason for submission:_______________________________________________________________________________ __________________________________________________________________________________________________________ DESCRIPTION OF FISH BEHAVIOUR , APPEARANCE: HISTORY: CLINICAL SIGNS, TREATMENTS, RECENT HANDLING EVENTS, PRIOR DISEASE, ETC:

# Appendix VIII - Dissolved Oxygen Saturation in Fresh Water

Dissolved Oxygen Saturation in Fresh Water

in parts per million (ppm)

| Temperature | Elevation in Feet |
| --- | --- |
| (OC) | (OF) | 0 | 1000 | 1500 | 2000 | 2500 | 3000 | 3500 | 4000 | 4500 |

| 5.0 | 41.0 | 12.8 | 12.3 | 12.1 | 11.9 | 11.7 | 11.5 | 11.3 | 11.1 | 10.9 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 6.0 | 42.8 | 12.4 | 12.0 | 11.8 | 11.6 | 11.4 | 11.2 | 11.0 | 10.8 | 10.6 |
| 7.0 | 44.6 | 12.1 | 11.7 | 11.5 | 11.3 | 11.1 | 10.9 | 10.7 | 10.5 | 10.3 |
| 8.0 | 46.4 | 11.8 | 11.4 | 11.2 | 11.0 | 10.8 | 10.6 | 10.4 | 10.3 | 10.1 |
| 9.0 | 48.2 | 11.6 | 11.1 | 10.9 | 10.8 | 10.6 | 10.4 | 10.2 | 10.0 | 9.8 |
| 10.0 | 50.0 | 11.3 | 10.9 | 10.7 | 10.5 | 10.3 | 10.1 | 9.9 | 9.8 | 9.6 |
| 11.0 | 51.8 | 11.0 | 10.6 | 10.4 | 10.3 | 10.1 | 9.9 | 9.7 | 9.5 | 9.4 |
| 12.0 | 53.6 | 10.8 | 10.4 | 10.2 | 10.0 | 9.8 | 9.7 | 9.5 | 9.3 | 9.2 |
| 13.0 | 55.4 | 10.5 | 10.2 | 10.0 | 9.8 | 9.6 | 9.4 | 9.3 | 9.1 | 9.0 |
| 14.0 | 57.2 | 10.3 | 9.9 | 9.8 | 9.6 | 9.4 | 9.2 | 9.1 | 8.9 | 8.8 |
| 15.0 | 59.0 | 10.1 | 9.7 | 9.5 | 9.4 | 9.2 | 9.0 | 8.9 | 8.7 | 8.6 |
| 16.0 | 60.8 | 9.9 | 9.5 | 9.3 | 9.2 | 9.0 | 8.8 | 8.7 | 8.5 | 8.4 |
| 17.0 | 62.6 | 9.7 | 9.3 | 9.1 | 9.0 | 8.8 | 8.7 | 8.5 | 8.4 | 8.2 |
| 18.0 | 64.4 | 9.5 | 9.1 | 9.0 | 8.8 | 8.6 | 8.5 | 8.3 | 8.2 | 8.0 |
| 19.0 | 66.2 | 9.3 | 8.9 | 8.8 | 8.6 | 8.5 | 8.3 | 8.2 | 8.0 | 7.9 |
| 20.0 | 68.0 | 9.1 | 8.8 | 8.6 | 8.4 | 8.3 | 8.1 | 8.0 | 7.8 | 7.7 |
| 21.0 | 69.8 | 8.9 | 8.6 | 8.4 | 8.3 | 8.1 | 8.0 | 7.8 | 7.7 | 7.6 |
| 22.0 | 71.6 | 8.7 | 8.4 | 8.3 | 8.1 | 8.0 | 7.8 | 7.7 | 7.5 | 7.4 |

From : http://haywood.ces.ncsu.edu/content/DissolvedOxygenSaturationinFreshWater&source=haywood

# APPENDIX IX : Operational Guidelines for Pacific Salmon Hatcheries

Production Planning, Broodstock Collection and

Spawning

Scope of Guidelines

These guidelines have been developed to guide production planning, broodstock

collection and spawning of Pacific salmon at Salmonid Enhancement Program hatcheries and incubation facilities. They provide strategies to manage production planning and genetic resources in order to preserve as much as possible the entire range of genetic material within an existing population.

The guidelines do not apply to steelhead or cutthroat as the management of these species is a provincial responsibility.

Spawning

All Objectives – all broodstock population sizes

• Spawn all collected fully mature broodstock, without regard to age, size or

other physical characteristics. Do not exclude any individuals for any reason

except for those with overt disease symptoms or physical injuries that may

compromise gamete fertility or viability.

• Use fully random mating; avoid any selection. Natural mating patterns are

complex and poorly understood, and unlikely to be maintained in a hatchery

environment.

• Use one male to one female except as described below. This strategy ensures

that each male makes an equal genetic contribution.

• Do not mix the milt from two or more males and then add it to eggs. This

practice is known as “pooling” milt and can result in milt from a single male

fertilizing a disproportionate share of the eggs.

• It is strongly advised that males not be re-used, except as part of specific

spawning protocols. In a sequential protocol two males may be used

sequentially per female. A given male should be used as the first male for only

one female.

• Consult a support biologist if you are planning to re-use males in any way other

than the spawning protocols identified in these guidelines.

• Generally, do not release live males that have been used for hatchery spawning

back to their systems of origin. These males will already have contributed a

disproportionate amount of genetic material to the stock compared to wild fish,

and, if released, would have the opportunity to contribute even more. Consult

a support biologist, however, if there is a very disproportionate sex ration

among natural spawners.

Spawning Broodstock of More Than 50 Pairs

• When spawning more than 50 broodstock pairs with a sex ratio of approximately 1:1, mate each female with an individual male. This helps to maintain genetic diversity.

Example

Female 1 X Male 1

Female 2 X Male 2

Female 3 X Male 3  etc...

• When spawning more than 50 broodstock pairs with more females than males, use matrix spawning.

Example of Matrix Spawning

Divide the eggs from each female into three equal lots. Fertilize each lot of eggs with a different male.

Female 1 lot 1 X Male 1		Female 2 lot 1 X Male 4

Female 1 lot 2 X Male 2		Female 2 lot 2 X Male 5

Female 1 lot 3 X Male 3		Female 2 lot 3 X Male 6

• One to one spawning is most desirable. However, in spawning situations where

it is logistically difficult to keep eggs from individual females separated prior to

fertilization (e.g. greater than 250 independent crosses or remote field

situations), factorial mating may be considered. Eggs from a number of

females are pooled, then gently and thoroughly mixed. Pooled eggs are divided

into equal lots in separate containers with the number of containers equal to the

number of constituent females. Each lot is then fertilized with milt from a

different male, as follows. Milt must not be pooled.

Example

This example assumes that eggs from 5 females at a time are pooled in a bucket.

Eggs from five females are pooled and gently, but thoroughly mixed.

Divide those pooled eggs into five equal lots.

Fertilize the eggs as follows :

Lot 1 eggs X Male 1

Lot 2 eggs X Male 2

Lot 3 eggs X Male 3

Lot 4 eggs X Male 4

Lot 5 eggs X Male 5

Spawning Broodstock of Fewer than 50 Pairs

• When spawning fewer than 50 pairs, regardless of sex ratio, attempt to utilize

all adults in matrix type breeding to maximize genetic variation in eggs.

In matrix spawning, eggs from each female are divided into equal lots. Each

lot of an individual female must be fertilized by a different male. This strategy

allows the use of all broodstock, even when the sex ratio is unequal, and

maximizes genetic combinations and each parent’s contribution. It also allows

information on families to be tracked if required.

• The matrix choice will depend on broodstock maturity, availability, and sex

ratio. A minimum of two of the least available sex is recommended for each

matrix and for practical purposes, a maximum of four females.

# Appendix X : Ponding Trays/Baskets – General Information

Ponding baskets can be placed in rearing troughs, tubs or raceways. They are weighted down so that they are submerged within a few inches of the surface of the water. Swim-up fry are transferred to the ponding baskets. Due to the shallow water level, the baskets make it easier for fry to swim to the surface and gulp air to inflate the swim bladder.

# Appendix XI – Fish Production Plans, Marking Plans, Reporting Deadlines – General Information

### Summary of SEP Salmon Production Planning Process

The integrated SEP production planning process is Area-led and involves an annual series of internal and external meetings, consultations and inputs that bring forward and integrate regional, area, and stakeholder priorities for DFO, CEDP and PIP projects.  The process incorporates regional priorities for Fisheries Management and Science Stock Assessment and links Area and Regional considerations for all sectors.  External consultation and involvement in the process is achieved through the IFMP process. Overall, the annual cycle is defined by eight key milestones as follows.

- Regional Priority Setting (September)

Regional priorities are developed annually by regional SEP managers in consultation with Fisheries Management (FM) and Stock Assessment (SA) to initiate and frame the planning process and guide development of Area-based priorities and production planning. Their development will follow and be informed by post-season fishing and SEP production reviews.

- Area Priority Setting (October)

Area-based priorities are generally consistent with regional priorities but also take into account other planning processes (e.g. Cowichan River and Barkley Sound), and consider objectives and priorities of other sectors.  Significant shifts in priority from one year to the next are to be supported by rationale.

- Area Production Planning Meetings (November)

During the area-led production planning meetings that follow, Area staff lead a series of meetings with DFO sectors and consultation with external advisors, and include an Area production planning meeting attended by responsible and supporting SEP, FM, TAPD and Science staff.  Based on these meetings, a draft Area production plan is assembled taking into account regional and Area-based priorities and the results of post-season fishing and production reviews.  The resulting draft Area production plans are submitted to SEP Regional Headquarters and compiled into a draft regional production plan and data and text prepared for inclusion into the consultation draft of the IFMP by FM.

- Draft Regional Production Plan (December – January)

The Area production plans will be compiled into a draft regional production plan and data and text prepared for inclusion into the consultation draft of the IFMP by FM.

- Consultation on SEP Production Targets as Part of Draft IFMP Consultation (March)

The consultation draft IFMP is reviewed internally by the Salmon Working Group and Stock Assessment Coordinating Committee and by external advisors through the Integrated Harvest Planning Committee (IHPC).  FM leads the IHPC consultation with external advisors and collects feedback.  SEP will lead targeted consultation on production targets through the IHPC SEP sub-committee and the Salmonid Enhancement and Habitat Advisory Board.

- Final Production Plan (June)

Taking consultation feedback into account, adjustments may be made to form the final regional production plan for inclusion in the final IFMP.  Final production plan targets are signed off between the Regional Director of the Ecosystem Management Branch (EMB) and the Area Directors, and individual facility production plans form the basis for each Facility Pacific Aquaculture Regulation licence.

- Final IFMP Release (June)

After ministerial sign-off, the final IFMP is publicly released.

- Implementation and Adjustments

The regional production plan is incorporated into the SEP business plan, and SEP facilities prepare to take eggs for the fall program.  In-season production target changes may be accepted with justification and rationale.

### Marking Plans

Selection Criteria for Enhancement Marking

The following criteria will be used to select enhanced stocks for marking.  These criteria are primarily for coded wire tag (cwt) and mass fin clip marking.  Criteria for mass marking e.g. otolith/strontium marking may be different.  For e.g. cwt/adipose marking would not likely be considered in a situation where there is limited escapement sampling and low exploitation rates due to lack of recoveries.

Mass marking might be possible because large numbers can be easily and cheaply marked; and even limited escapement sampling may be sufficient to get adequate adult samples.

Indicators

These stocks are indicators of survival and fishery distribution for themselves as well as other stocks.

All strata of catch and escapement are capable of being sampled (i.e. commercial, First Nations and recreational fisheries) and there should be good sampling of naturally spawning fish if enhanced fish spawn there as well as good escapement estimates.  Indicator stocks are usually required for stock assessment as well as enhanced contribution.  They may include stocks where marking funding comes from various sources (i.e. SEP, Stock Assessment Division).  Indicator stocks are usually large production however, smaller production stocks may be marked.

It is advisable to have indicators over a wide geographic basis.  Survival and fishery distribution data could be used to develop fishery bio-standards.  These stocks would provide accurate estimates of enhanced contribution on a hatchery basis to each major fishery and escapement strata.

Cyclic Marking

These stocks are only indicators for themselves not for other stocks.

These stocks are characterized by having one or more catch or escapement strata that could not be estimated or sampled, usually escapement.  Indicator stocks with similar fishery distribution patterns are used to estimate the contribution to missing strata.

Stocks that are marked cyclically and have all the catch and escapement strata can provide accurate estimates of enhanced contribution on a hatchery basis to each major fishery (and escapement if sampled) in the years where they are marked. They could be used to compare marine survival trends between facilities (or total survival trends if escapement was sampled) as well as survival trends within the facility over time.

Previous annual mark plans developed by SEP and Stock Assessment Division have used the following criteria to determine priority:

| Priority | Code | Definition |
| --- | --- | --- |
| 1 | I | Indicator facilities: good catch data, good escapement data, representative of other sites. |
| 1 | R | Regional priority. eg. Strategic Enhancement |
| 2 | A | Area priority |
| 3 | C | Cyclic/Rotational marking |
| 4 | J | Joint Funded |
|  | S | Research studies |
| 4 | H | Site specific problem solving |
| 4 | P | Production strategy; application to other sites: fish food, net pens |
| 5 | G | General interest |
| Scale | Code | Definition (Adults) |
|  | A | Significant stock production; 20K CN, 50K CO, 40K SO, 50K CM, 100K PK |
|  | B | Intermediate stock production;10K CN, 25K CO, 20K SO, 25K CM, 50K PK |
|  | C | Minor stock production; 5K CN, 12K CO, 10K SO, 12K CM, 25K PK |
|  | D | Very small stock production |

Along with the criteria, a number of other things are used in the decision making process, such as previous marking history, the probability, given recent fishing patterns, of ocean recoveries, and the quality of escapement sampling.

Generally, for the development of a “permanent” marking strategy J, S, H, P, and G would not be criteria used.  They may only be used in the development of an annual marking plan.

Production size might be used as a criteria as to how often you mark.  For e.g. significant production might be marked every second year, intermediate every third year, minor every five, and very small never.

Not Marked

Some stocks will never be marked usually because of their small size.  Others will be in a cyclic off mode.  We would propose that the only measure of their contribution would be that on a stage of release basis we would compare the ratio of total releases to those represented by a mark.  This ratio would be used to say that additional production from unmarked stocks in any particular year is an additional __% e.g. 10% depending on the ratio.

In summary, all stocks marked would be used to estimate the contribution to the various fisheries in any return year, develop total or marine survival bio-standards (depending on  whether escapement data was analyzed), and determine total enhanced production for all those stocks with escapement data.  In practice this may just be the indicator stocks depending on our resources to do the escapement analysis of cyclic marked stocks on a timely basis.  Total enhanced production would then have a upward % adjustment factor depending on the percentage of total release that was not represented by a mark.

### Reporting Deadlines

Project Brood Summary Report		June 30'th and October 31’st

PIP Annual Report				March 31'st

CEDP Annual Report				March 31'st

# APPENDIX XII - ALASKAN PROTOCOL FOR SOCKEYE

Follow the link below to select a copy of the manual from the website.

Alaska Sockeye Protocols

# APPENDIX XIII

# Guidelines for in-Stream Placement of Salmon Carcasses for Nutrient Enrichment

Guidelines for in-Stream Placement of Salmon Carcasses for Nutrient Enrichment

July 2012

Introduction

Historically, large numbers of salmonid carcasses provided entire watersheds with abundant nutrients and organic matter derived from the ocean. Salmon carcasses play a key role in maintaining the productivity of salmonid systems, benefiting the aquatic and terrestrial ecosystem as a whole. Rearing juveniles consume salmon eggs, feed directly on spawned-out carcasses, and benefit from increased abundance of invertebrates and algal growth. The presence of carcasses in streams has been related to increased juvenile density, growth rate, body size, improved fish condition, improved over wintering survival and ultimately increased marine survival. The riparian vegetation also benefits from nutrients derived from rotting carcasses transported into terrestrial ecosystems by bears and other animals.

These guidelines have been developed to regulate the in-stream placement of salmon carcasses from Fisheries and Oceans Canada enhancement facilities but may consider placement of carcasses from wild stocks as appropriate (i.e. where there is an identified surplus and it would be beneficial to re-distribute carcasses). The guidelines are not intended to enforce the distribution of carcasses nor to replace harvest under an Excess Salmon to Spawning Requirements (ESSR) authorization.

These guidelines are meant to increase the overall benefits from carcass placement by providing best management practices for carcass placement, and highlighting the interagency cooperative processes used to minimize conflicts with stakeholder groups and agencies.

The guidelines were developed utilizing current relevant literature, input from DFO fish health specialists and ecological research scientists, and guidelines prepared by the Washington Department of Fish and Wildlife.

Numerous factors have been considered in the development of these guidelines, including:

- nutrient content in treatment streams (described in terms of nutrient inputs eg. agriculture, storm sewer inputs, other)

- abundance of native salmon spawners

- retention and distribution of carcasses in waterways

- seasonal water temperatures and flow rates

- biosecurity

- predator / scavenger activity on carcasses by insects, fish, birds and mammals.

Planning

Proposed carcass placement projects should be first discussed with DFO local area staff in the Salmonid Enhancement Program (SEP).  SEP staff will assist in developing a comprehensive Carcass Placement Plan (Appendix A) and will consult with appropriate stakeholders including stock assessment, ecosystems management, resource management, and Conservation and Protection (Fishery Officers), as well as local First Nations, affected stewardship groups, landowners, municipalities and the Ministry of Natural Resource Operations.

DFO staff must forward an electronic version of the Carcass Placement Plan to Pacific Region Regional Headquarters -Biology Data Clerk. (Biology Data Clerk : Fae.Logie@dfo-mpo.gc.ca)

Each Carcass Placement Plan (Appendix A) requires the following information:

- Purpose of the carcass placement

- Project proponent's name and contact Information

- Location of carcass placement - including the GPS location and if possible, a satellite image of location (ie. at a scale that clearly shows the carcass placement area and 500m upstream and downstream of the carcass placement location)

- proposed dates of carcass placement

- spawning timing of all species in the treatment stream

- length, width  and area (square metres) of stream to be treated

- biomass of carcasses to place in the treatment stream (kgs of fish biomass per square metre of stream bottom) - by carcass placement date

- estimated escapement and natural biomass load in the stream

- cumulative impacts - describe other sources of nutrient input in the carcass placement location(s)

- carcass mutilation to identify placed carcasses

- approximate stream flow at time of placement

- tethering of carcasses

- record of contact with downstream users (within 500 m) that may be impacted by carcass placement (eg. landowners, public use areas, licenced water users)

- dates for post-project monitoring and follow-up report

Projects that meet the terms of the carcass placement guidelines will be issued an authorization letter from the Department allowing the transport for deposition of carcasses. This letter must accompany all carcass movements.

It is important to ensure that carcass placement planning considers other nutrient enrichment projects and inputs and will not create undesirable impacts in public use areas.

Under the Water Act, downstream water users (primarily local municipalities), must be advised of activities that may potentially impact water quality of their withdrawals. For all carcass placements within 500m of downstream water users, Water Licencees on treatment streams should be advised prior to placement programs.

In general, carcasses should be distributed in such a way so as to avoid or minimize impacts on domestic and other types of intakes or water supplies. Background material and signage may be provided to advise members of the public of carcass placement activity and its benefits.

Carcass Placement Best Management Practices

Streams that receive carcasses are referred to as “treatment” streams and those that provide carcasses are referred to as “donor” streams.

Carcasses cannot be placed in areas within the watershed that are normally not accessible to salmon (non-anadromous waters).

It is preferable to conduct carcass placement using carcasses from the same stream (i.e. the donor and treatment stream are the same).  It is preferable to conduct carcass placement within the same Salmonid Transfer Zone. The DFO Community Advisor and/or Watershed Enhancement Manager will provide advice on acceptable donor and treatment stream locations.

British Columbia Transfer Zone Map

(Reference : http://www.dfo-mpo.gc.ca/aquaculture/regions/pac/application-demande-eng.htm)

Carcass placements to streams outside the native watershed are not recommended due to the risk of inadvertent pathogen or pest transfer.  In specific circumstances, movement of carcasses from a watershed to nearby streams in a neighbouring watershed may be considered if all of the following conditions are met:

- donor and treatment streams are within the same Transfer Zone

- donor and treatment streams are geographically proximate

- treatment stream is within the zone of influence of the donor stock (i.e. adults may be straying from donor to treatment stream)

- where available, historical pathogen screening records do not indicate a higher prevalence of any endemic pathogens or the presence of a unique or emerging pathogen in the donor stream

- no unique aquatic invasive species have been identified in the donor stream. To find information on aquatic invasive species refer to the following website : Aquatic Invasive Species Information

(Reference http://www.thinksalmon.com/reports/Aquatic_Invasive_Plants_Action_Plan_(Feb_28_2010).pdf)

NOTE : Additional measures will be taken to mitigate the unintended spread of disease agents if there has been a pre-spawning mortality rate of greater than 20%.

- only fish which have survived to spawn will be considered for carcass placement. If there has been a pre-spawning mortality rate of greater than 20%, broodstock must be tested for presence of disease at the Pacific Biological Station Fish Diagnostics Lab.

- as soon as feasible after killing/spawning, all carcasses will be examined by an experienced fish culturist

- any carcass with overt signs of systemic disease (eg. kidney lesions or internal hemorrhaging) will be excluded from carcass placement

- carcasses selected for carcass placement projects will be eviscerated, including  kidney removal.

Broodstock which have received drugs under veterinary prescription (eg. chemical sedation, antibiotics) will not be used as donors for carcass placement to ensure the selected carcasses have no drug residues in their tissues.

Only those fish killed by percussive stunning (i.e. blunt cranial trauma) prior to spawning can be used for carcass placement.  Carbon dioxide (CO2) is the only sedative that does not alter carcass quality, and it may be used prior to percussive stunning as a welfare refinement.   Carcasses of recently deceased salmon from managed spawning channels may be considered as donor stock for carcass placement.

External bath treatments for surface fungal, bacterial or parasite infections are infrequently needed to improve the welfare and survival of pre-spawning broodstock. The chemicals commonly used for external bath treatment, Parasite-S and Chloramine-T, are not drugs and do not absorb or accumulate in the tissues of the fish. Fish treated with these chemicals are considered safe for carcass placement. If in doubt, contact the Fish Pathology Program, Pacific Biological Station at 250-756-7057.

Carcasses may be frozen for later use.

Note : Freezing will not significantly reduce disease organism loads and should not be considered a disease management tool ( i.e. freezing carcasses showing signs of disease and then using those carcasses for placement is not permitted)

Carcasses must be stored and transported in leak proof containers. Fluids from donor fish must not leak into the natural environment during carcass transport.

Carcass transport containers and all equipment used to unload carcasses must be cleaned and disinfected before and after use. (Refer to Appendix D for information on disinfecting equipment).

Carcass Loading Density

All salmonid carcasses are considered equal from a nutrient content basis. That is, required placement load may be calculated as biomass and then converted to numbers of fish of the available species. For example, Chinook carcasses may be substituted for coho, and vice versa. Where system-specific weight data are not available, the following average weights for returning B.C. salmon are provided for weight conversion.

Suggested Average Weights for B.C. salmon *

Pink 1.5 kg

Steelhead 4.0 kg

Sockeye 2.5 kg

Chum 4.5 kg

Coho 3.0 kg

Chinook 8.5 kg

* Data sources: mean weights from B.C. catch statistics (J. Bateman, pers. comm.)

The maximum carcass placement within a stream segment (including the areas into which carcasses drift from the distribution point), over the course of a spawning season should be 1.9 kg/m² based on Wipfli et al. (2003) and WDFW (2002).

Carcass retention in streams is affected by predator / scavenger activity, carcass transport during high flows, and abundance of in-stream structures to catch and retain carcasses. Maximum loading densities may be adjusted to reflect the stream’s carcass retention properties. For streams with expected good carcass retention, maximum carcass densities should be reduced by the current spawner densities (i.e. when calculating the biomass or numbers of carcasses that can be added - consider the biomass and/or number of spawners and carcasses already in that location). For streams with expected poor carcass retention (high gradient, high flows, few pools and few in-stream structures), carcass loading densities need not be adjusted for current spawner densities.

In treatment streams with continuous escapement records, when calculating the biomass/number of carcasses to place, numbers may be reduced by the recent 10 year average for natural escapement to the treatment reach.  This will aid  in determining the biomass/number of carcasses to place so that the maximum carcass loading density of 1.9 kgs of fish biomass/square metre is not exceeded.

For determining total carcass deposition maximums for streams used by more than one salmon species, the area historically available to each salmon species should be used to calculate the loading rate. Spawning timing should be factored into distribution schedules.

Example

The treatment stream carcass placement area  has an estimated mean historical escapement of  75 pink salmon and 50 sockeye salmon. Carcass retention in the reach is good. Pinks and sockeye have similar spawning timing.

The treatment reach has been measured and it is 150 m long and has an average width of 8m.

The treatment carcasses are chum salmon.

Step 1.

Calculate the area of the treatment reach.

Area = Length (m) X  Width (m)

Area = 150 m X 8 m = 1200 square metres

Step 2.

Calculate the biomass of the pink and sockeye that historically spawn in the treatment reach.

Biomass = kgs of pinks + kgs of sockeye

Biomass = (75 pinks X 1.5 kg/pink) + (50 sockeye X 2.5 kgs/sockeye)

Biomass = 112.5 + 125

Biomass = 237.5 kgs

Step 3.

Calculate the historical (estimated) Biomass/Square metre (load rate) in the treatment area.

Load rate in the treatment area = 237.5 kgs (of pinks and sockeye)/1200 square metres

Load rate =0 .198 kgs/sq. m

Step 4.

Calculate fish biomass to add to reach the maximum load rate of 1.9 kgs/square metre.

The Carcass Placement Plan spreadsheet will automatically calculate the biomass of fish that can be added OR use the calculation below.

Amount of fish biomass to add = Maximum load rate - existing load rate in the treatment area

1.9 kgs/sq m - 0.198 kgs/square metre = 1.702 kgs/sq. m

To calculate the biomass that can still be added to the treatment area :

Remaining load rate X area of the treatment area

1.702 kgs/sq. m X 1200 sq. m = 2,042 kgs of fish

Step 5.

Calculate the number of chum salmon that can be added to the treatment reach. The average weight of a chum salmon is 4.5 kgs.

Number of chum carcasses to place = biomass that can be added / average weight of a chum

Number of carcasses to place = 2,042 kgs/4.5 kgs per chum

Number of chum carcasses to place in the treatment reach = 454

Carcass Distribution

The temporal and spatial distribution of carcasses should reflect the historic spawn timing and abundance of salmon in the treatment reach. Carcasses should be placed in stream areas that are normally (or recently historically) accessible to salmon, (i.e. not above barriers historically inaccessible to salmon). Carcass placement into inaccessible stream segments may be permitted where juvenile salmon of the same stock and species have been previously out planted (e.g. colonized upper areas above impassable barriers) but consultation with regional Natural Resource Operations staff is necessary.

Placement in the riparian zone is not necessary and often results in increased numbers of blowflies (Reimchen et al, 2003.). Natural predators will remove carcasses from the treatment stream and distribute them in riparian zones.

For streams with poor access (and low public use), a few accessible sites may be used for regular carcass placement. These sites should be inspected periodically to ensure adequate natural dispersion of carcasses. Where dispersal is poor, carcass loading should be reduced (i.e. do not exceed 1.9 kgs of fish biomass/sq. m.).

Where to place carcasses

Carcasses should be distributed in stable stream areas, where possible. This will help avoid rapid downstream transport of carcasses.

Optimal sites include shallow backwater pools, side-channels, small headwater tributaries and  areas with abundant woody debris and beaver-dam complexes.

Note :  Placing excessive numbers of carcasses in side pools with sluggish or intermittent water exchange may cause de-oxygenation (E.A. MacIsaac, pers. comm.).

Carcass placement should be avoided or delayed during high flow events, especially where anchoring and/or riparian placement is not feasible.

Carcass distribution schedules should consider anticipated problems of poor stream accessibility due to snow, high water, and other constraints.

When to place carcasses

Timing of carcass placement is important and should suit the purpose of the nutrient enrichment program. Carcass placement may occur in spring when nutrients should be made available to young salmon upon their emergence from the gravel. In some locations, the over-winter rearing period may represent a time of hardship for over-wintering juveniles and carcass placement timing may be late fall or early winter.   The use of carcasses from later runs of native salmon (fall and winter) may benefit the next growing season, provided that some nutrients are stored through the winter (Wipfli et al. 1999). Also, the use of carcasses from several species, each with a different run timing (e.g., early sockeye, mid-chum, late coho), will provide a longer nutrient pulse in the treatment stream than if only one or two species were used, each with a brief spawning period.

Hint :  If a treatment stream has a late natural spawning timing, carcasses from earlier runs to the treatment stream may be frozen and stored for later placement. The use of frozen carcasses is also convenient for long-distance transport.

How to keep carcasses in place

Carcass Anchoring/Mutilation

Carcasses may be tethered or anchored in place, especially in unstable, higher-flow areas in order to improve carcass retention.

Where carcass anchoring is desirable, natural anchors (e.g. large woody debris, logjams, beaver-dams) or bio-degradable tethers such as natural-weave ropes, should be used where possible. External identification tags should be removed from carcasses prior to their placement.  Do not use non-bio-degradable tethers. Where frozen carcasses are used, they should be tethered in place (frozen carcasses float and may be readily transported downstream). Where tethering is not possible, it is preferred to thaw out at least one fourth of the frozen carcasses before distributing them in order to enhance carcass retention at the point of access.

Where escapement enumeration programs will be conducted on treatment streams, carcasses must be cut in half or otherwise mutilated at placement, as directed by area stock assessment staff. This is crucial in order to avoid double-counting and ensure that enumeration programs are not affected.

Carcass Placement Record

A Carcass Placement Record (Appendix B) must be kept for each carcass placement project as follows :

- Permit/Authorization number

- proponent name

- donor stock/species

- placement date

- treatment stream name

- location(s) on treatment stream - include the GPS locations and if possible satellite imagery showing carcass placement locations

- number of carcasses placed and biomass/square m of stream area

- fish health record - include signs of disease, treatment history, any lab analysis results

- type of habitat : pool, glide, riffle, backwater area, off channel habitat, beaver complex, stream areas containing large  and small woody debris

- stream flow (low, moderate, high)

- stream temperature

- stream dissolved oxygen level at CP site(s)

- carcass mutilation (Y or N)

- evidence of predators - make note of presence of bears, coyotes, eagles, wolves etc...

Note : The project proponent is responsible for recording information on the Carcass Placement Record and submitting the record to the Community Advisor or Watershed Enhancement  Manager no later than 30 days after the carcass placement date.

Records of numbers and species of carcasses placed in treatment streams must be maintained in annual data summaries. Summaries are to be  forwarded to the local Community Advisor/Watershed Enhancement Manager who will in turn provide the summaries to the Pacific Region Headquarters Biology Data Clerk.  (E-mail : Fae.Logie@dfo-mpo.gc.ca).

Post Carcass Placement Records

Monitoring of carcass placement locations must be conducted two to four weeks after carcass placement (Refer to Appendix C).

Record the following for each carcass placement project :

- permit/authorization number

- proponent name

- location

- placement date

- date of monitoring

- number of carcasses remaining (as a % of total placement)

- condition of carcasses (fully degraded, 50% degraded etc...)

- water flow (low, moderate, high)

- water temperature

- dissolved oxygen level

- signs of predators/carcass removal

- distance carcasses have moved downstream

The Post Carcass Placement Monitoring Record (Appendix C) must be submitted by the project proponent to the local Community Advisor/Watershed Enhancement Manager who will in turn provide the summaries to the Pacific Region Headquarters Biology Data Clerk. (E-mail : Fae.Logie@dfo-mpo.gc.ca) within 30 days of monitoring.

References and Background Literature

Ashley, K.I. and P.A. Slaney. 1997. Accelerating recovery of stream, river and pond productivity by low-level nutrient replacement (Chapter 13). In: Fish Habitat Rehabilitation Procedures.

B.C. Ministry of Fisheries. Feb. 2000. Proposal re International conference on the role of marine derived nutrients and salmonids in the Pacific Northwest.

Bilby, R.E., B.R. Fransen, P.A. Bisson and J.K. Walter. 1998. Response of juvenile coho salmon (Oncorhynchus kisutch) and steelhead (O. mykiss) to the addition of salmon carcasses to two streams in south western Washington, U.S.A. Can. J. Fish. Aquat. Sci. 55: 1909-1919.

Bilby, R.E., B.R. Fransen, J.K. Walter, C.J Cederholm and W.J. Scarlett. 2001. Preliminary evaluation of the use of nitrogen stable isotope ratios to establish escapement levels for Pacific Salmon. Fisheries. 26(1): 6-14.

Cederholm, C.J., M.D. Kunze, T. Murota and A Sibatani. 1999. Pacific salmon carcasses: essential contributions of nutrient and energy for aquatic and terrestrial ecosystems. Fisheries 24 (10): 6-15.

Gresh, T., J. Lichatowich and P. Schoonmaker. 2000. An estimation of historic and current levels of salmon production in the northeast Pacific ecosystem: Evidence of a nutrient deficit in the freshwater systems of the Pacific Northwest. Fisheries 25(1): 15-21.

Groot and Margolis.(eds),1991. Pacific Salmon Life Histories. UBC Press, 564 p.

Johnston N.T. E.A. MacIsaac, P.J. Tschaplinski, and K.J. Hall 2004. Effects of the abundance of spawning sockeye salmon (Oncorhynchus nerka) on nutrients and algal biomass in forested streams. Can. J. Fish. Aquat. Sci. 61:384-403

Oregon Department of Fish and Wildlife. Nov 2000. ODFW fish health guidelines for use of salmon and steelhead carcasses for nutrient enrichment. 2 p.

Oregon Department of Fish and Wildlife, Salmon and Trout Enhancement Program. August 2009. Fish Carcass Distribution Guidelines. P 1 - 6.

Reimchen, T.E., D.D. Mathewson, M.D. Hocking and J. Moran. 2003. Isotopic Evidence for Enrichment of Salmon-Derived Nutrients in Vegetation, Soil, and Insects in Riparian Zones in Coastal British Columbia. In: J. Stockner (ed.) Nutrients in Salmonid Ecosystems: Sustaining Production and Biodiversity, Am. Fish. Soc. Symposium 34, Bethesda. Pp. 59-69.

Shively, D. 2001. The role and benefits of salmon carcass supplementation – selected research findings and quotes. Nov. 2001. 6 p.

Slaney and D. Zaldokas (eds.). Province of B.C., Ministry of Environment, Lands and Parks, and Ministry of Forests. Watershed Restoration Technical Circular No. 9: 341 p.

Washington Department of Fish and Wildlife (WDFW). Protocols and guidelines for distributing salmonid carcasses, salmon carcass analogs, and delayed release fertilizers to enhance stream productivity in Washington State. 11 p.

Wipfli, M.S., J.P. Hudson, D.T. Chaloner and J.P. Caouette. 1999. Influence of salmon spawner densities on stream productivity in Southeast Alaska. Can. J. Aquat. Sci. 56: 1600-1611.

Wipfli, M. S., J. P. Hudson, J. P. Caouette, ad D. T. Chaloner. 2003. Marine subsidies in freshwater ecosystems: salmon carcasses increase growth rates of stream-resident salmonids. Trans. Am. Fish. Soc. 132:371-381.

APPENDICES A, B AND C

| Appendix A : Carcass Placement Plan |  |  |  |
| --- | --- | --- | --- |
| Project Proponent Name : |  | E-mail : |  | Tel : |
| Application Date : |  |  | Project Implementation |  |
|  |  |  | Date : |  |
| Donor Stream Name |  |  | Treatment Stream |  |
| GPS Location |  |  | Name |  |
| Donor Species |  |  |  |  |
| Donor Fish Health Notes : |  |  |  |  |
| Purpose : |  |  |  |  |
|  | YES | NO |  |  |
| Will carcasses be tethered? |  |  |  |  |
| Will carcasses be mutilated? |  |  |  |  |
|  |  |  | Contact Record - Who has been contacted? |
| Have downstream users been |  |  |  |  |
| contacted? |  |  |  |  |
|  |  |  | Contacts that do not agree. |
| Are downstream users in |  |  |  |  |
| agreement with this project? |  |  |  |  |
| List other local nutrient inputs |  |  |  |  |
|  |  |  |  | Page 2 |
| Proponent Name : |  |  |  | Carcass Placement Plan |
| Treatment Stream : Natural Carcass Load Information |  |  |  |
|  |  | Est. Esc. | Est. Natural Fish |  |
| Species | Spawning timing date range | in Treat. Area | Biomass in Treat. Area |  |
| Pink |  |  |  |  |
| Chum |  |  |  |  |
| Coho |  |  |  |  |
| Chinook |  |  |  |  |
| Sockeye |  |  |  |  |
| Total |  |  |  |  |
| Treatment Stream - Carcass Placement Information |  | Suggested Average Weights for B.C. salmon * |  |
|  |  |  | Pink | 1.5 |
| Length of stream (m) |  |  | Steelhead | 4 |
| Width of stream (m) |  |  | Sockeye | 2.5 |
| Area of stream (sq m) |  |  | Chum | 4.5 |
| Est. Natural fish biomass (kg) |  |  | Coho | 3 |
| Natural load rate kg/sq m |  |  | Chinook | 8.5 |
| Maximum load rate kg/sq m | 1.9 |  |  |  |
| Difference |  | If difference is negative : carcass placement for nutrient |
| Biomass to add (kgs) |  |  |  |  |
| Number of fish to add |  |  |  |  |
| If using pink salmon add |  | fish | These calculations assume that only ONE species is |
| If using Chum salmon add |  | fish | being used for carcass placement. |
| If using Coho salmon add |  | fish | If more than one species will be used, this |
| If using Chinook salmon add |  | fish | spreadsheet will not automatically calculate the numbers |
| If using Sockeye salmon add |  | fish | of fish of each species to place. |
| Appendix B : Carcass Placement Record |  |  |  |
| Proponent Name : |  |  |  |  |  |
| Carcass Placement Date (s) |  |  |  |  |  |
| Donor Stream Name : |  |  | Treatment Stream Name |  |  |
| Donor Species : |  |  | Carcass Placement Location |  |  |
| Hatchery Name |  |  |  |  |  |
| Fish Health Comments : |  |  | Treatment Stream Temp |  |  |
|  |  |  | Treatment Stream D.O. |  |  |
|  |  |  | Treatment Stream Flow |  |  |
|  |  |  | (Low, Moderate, High) |  |  |
| Number of fish placed |  |  |  |  |  |
| How were carcasses |  |  |  |  |  |
| transported to the location? |  |  |  |  |  |
| Number of fish tethered |  |  |  |  |  |
| Number of fish mutilated |  |  |  |  |  |
|  | Yes/No & Disinfectant used |  |  |  |  |
| Post Placement Equipment |  |  |  |  |  |
| Disinfection |  |  |  |  |  |

| Appendix C : Post Carcass Placement Monitoring Record |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Proponent Name : |  |  |  |  |  |  |  |
| Treatment Stream/Location |  |  |  | Dissolved Oxygen |  |  |  |
|  |  |  |  | Water Temp ° C |  |  |  |
| Monitoring Date : |  |  |  |  |  |  |  |
| Number of carcasses placed |  |  |  |  |  |  |  |
| Number of carcasses remain |  |  |  |  |  |  |  |
| % remaining |  |  |  |  |  |  |  |
| Condition (% degraded) |  |  |  |  |  |  |  |
| Distance (m) downstream |  |  |  |  |  |  |  |
| carcasses have moved. |  |  |  |  |  |  |  |
| Comment on predation |  |  |  |  |  |  |  |
| Comment on concerns/issues : |  |  |  |  |  |  |  |

INSTRUCTIONS FOR COMPLETING APPENDIX A, B AND C

| Instructions for Appendix A : Carcass Placement Plan - Page 1 |  |  |  |
| --- | --- | --- | --- |
| Project Proponent Name | Fill in the name of the group(s) conducting carcass placement. |
|  | Provide the name of the main contact person along with |
|  | their E-mail address and telephone number. |  |
| Donor Stream | This is where the fish are coming from. |  |  |
| Treatment Stream | This is the stream where the donor stock will be placed. |
| Donor Fish Health Notes | Fish being used should be disease free. Describe any external |
|  | symptoms such as fungus. Most donor stock will be hatchery |
|  | broodstock. |  |  |  |  |
| Purpose | State the purpose of carcass placement i.e. nutrient |  |
|  | enrichment for the benefit of juvenile salmonids, nutrient |
|  | enrichment for the riparian area etc… |  |  |
| Will carcasses be tethered? | Describe if carcasses are tied in place and how eg. Bio- |
|  | degradable tethers made from rope or other materials, non- |
|  | biodegradable tethers. |  |  |  |
| Will carcasses be mutilated? | If spawner counts are occurring in the treatment stream, |
|  | placed carcasses must be marked in some way (mutiliated by |
|  | cutting ) so they are NOT counted in the spawner counts. |
| Have d/s users been contacted. | List the downstream and other users that may be impacted |
| d/s means downstream | and have been contacted. |  |  |  |
| Contacts that do not agree. | List the downstream and other users that are not in |  |
|  | agreement with the project and reasons why they do not agree. |
| List other nutrient inputs in the | List other nutrient inputs w/in 500 m of the project area. |
| immediate project area (w/in 500 m) |  |  |  |  |  |
| Instructions for Appendix A : Carcass Placement Plan - Page 2 |  |  |  |
| Treatment Stream -Natural | Spawning timing date range - list the range in dates that |
| Carcass Load Information | spawners use the planned carcass placement area. |  |
|  | List the estimated spawning escapement in the treatment area. |
|  | The estimated fish biomass in the treatment area will |  |
|  | automatically be calculated. |  |  |  |
| Treatment Stream - Carcass | Measure the length and width of the treatment area. |  |
| Placement Information | The Stream area (in square m) will automatically calculate. |
|  | The estimated natural fish biomass will automatically calculate. |
|  | The natural carcass load rate (kgs/sq. m) will automatically |
|  | calculate. |  |  |  |  |  |
|  | The biomass to ADD, will automatically calculate. |  |
|  | The number of fish to ADD, will automatically calculate by |
|  | species. |  |  |  |  |  |

| Instructions for Appendix B : Carcass Placement Record |  |  |  |  |
| --- | --- | --- | --- | --- |
| Project Proponent Name | Fill in the name of the group(s) conducting carcass placement. |
|  | Provide the name of the main contact person along with |
|  | their E-mail address and telephone number. |  |
| Carcass Placement Date(s) | List the dates that carcasses were placed in the treatment |
|  | stream. |  |  |  |  |  |
| Donor Stream Name : | Name of the stream the fish (carcasses) came from. |  |
| Donor Species : | Species of fish being used for carcass placement. |  |
| Hatchery | Name of the DFO hatchery or spawner channel that supplied |
|  | the carcasses. |  |  |  |  |
| Fish Health Comments : | List general condition of health of the fish. Make note of any |
|  | specific disease issues eg. Fungus, gill infections, lesions, |
|  | blisters, bleeding. Fish should be disease free. |  |
| Treatment Stream Name | List the name of the treatment stream i.e. the stream receiving |
|  | carcasses. |  |  |  |  |
| Carcass Placement Location | List the carcass placement location - GPS location and |
|  | general location on the stream i.e. describe how to get there from |
|  | hatchery/spawning channel supply location. |  |
| Number of fish placed | List the number of fish of each species that were placed in the |
|  | treatment stream. |  |  |  |  |
| How were carcasses | Detail method of transport. Eg. Carcasses in a leak proof |
| transported to the location? | transport tank in the back of a pick-up truck. |  |
| Number of fish tethered | List number of fish that were tied in place. |  |  |
| Number of fish mutilated | List the number of fish and type of fish that were marked/cut |
|  | and list the type of mark/cut to identify those fish as "placed". |
| Post Placement Equipment | List disinfectant used and concentration used. |  |
| Disinfection |  |  |  |  |  |  |

| Instructions for Appendix C : Post Carcass Placement Monitoring Record |  |  |
| --- | --- | --- |
| Project Proponent Name | Fill in the name of the group(s) conducting carcass placement. |
|  | Provide the name of the main contact person along with |
|  | their E-mail address and telephone number. |  |
| Treatment Stream/Location | Treatment (stream to receive the carcasses) stream name and |
|  | the GPS location(s) and directions to the carcass placement |
|  | location(s). |  |  |  |  |
| Dissolved Oxygen | Dissolved oxygen level in the stream at time of monitoring. |
|  | Describe how D.O. was measured eg. Hach kit, DO meter etc… |
| Water Temp ° C | Water temperature at carcass placement location on the |
|  | monitoring date. Describe how water temperature was |  |
|  | measured eg. Alcohol thermometer, DO & Temp meter etc… |
| Number of carcasses placed | List the total number of carcasses placed in the treatment area. |
| Number of carcasses remain | Count and record the number of carcasses remaining in the |
|  | treatment area. |  |  |  |  |
| % remaining | The percentage of carcasses remaining will automatically |
|  | calculate. |  |  |  |  |  |
| Condition (% degraded) | Record degree of degradation i.e. percent of the carcasses on |
|  | average that have rotted where 100% would be only bones |
|  | remaining, 10% would be just starting to rot. |  |
| Distance (m) downstream | Approximate the distance (in m) that carcasses have been |
| carcasses have moved. | swept downstream (or moved downstream by other mechanisms). |
| Comment on predation | List observations such as approximate number of carcasses |
|  | that have been moved onto land, partially eaten carcasses etc… |
| Comments on Concerns/Issues | General comments about concerns or issues with the |  |
|  | carcass placement project eg. Most of the carcasses |  |
|  | removed by predators therefore unavailable for nutrient |  |
|  | enrichment in-stream, increases in growth of aquatic vegetation, |
|  | unpleasant/abnormal odor etc… |  |  |  |

Appendix D

Equipment Cleaning and Disinfection

To optimize disinfection, surfaces and equipment should be pre-cleaned prior to disinfection. Brushing or sweeping may be used to remove any dried materials, followed by wetting and the application of detergent with scrubbing to remove as much organic material as possible. Rinse off the detergent solution and loosened debris with fresh, clean water and then apply or immerse the equipment in the appropriate strength disinfectant solution for the recommended amount of time.  This should be followed with a final rinse with fresh, clean water and the equipment allowed to air dry prior to storage or next use if feasible.

The disinfectant solution should be prepared with room temperature water and should remain in contact with the surface to be disinfected for at least 10 minutes. Disinfectant baths should be kept out of direct sunlight if possible. Limiting disinfectant exposures to the recommended time will help prevent equipment degradation.

Two disinfectants are currently recommended for use for carcass placement projects. Both are effective against the pathogens of concern to fish culturists in BC.

Ovadine™  Disinfection

http://www.syndel.com/Ovadine-P46C11.aspx

For disinfection of pre-cleaned surfaces and equipment (eg. nets, buckets, brushes, transport tanks, whell wells, truck beds, etc. )  use a concentration of 250ppm for ten minutes of exposure time. This requires a volume of 25 mls of Ovadine for every litre of water.

| Volume of water for disinfection (L) | Volume of Ovadine (ml) |
| --- | --- |
| 1 | 25 |
| 10 | 250 |
| 20 | 500 |
| 40 | 1000 |
| 50 | 1250 |

### Virkon-Aquatic™ Disinfection

www.syndel.com/Virkon-Aquatic-P44C11.aspx

For disinfection of pre-cleaned surfaces and equipment use a 1:100 (1%) solution for ten minutes exposure time.  This requires adding 10 grams of Virkon-Aquatic powder for every litre of water.

| Volume of water for disinfection (L) | Amount of Virkon-Aquatic (g) for 1% |
| --- | --- |
| 1 | 10 |
| 25 | 250 |

Small volumes of spent or unused disinfectant solution may be disposed of to ground away from fish bearing waters. Exposing leftover solutions to sunlight for several days will hasten the loss of activity prior to disposal. Both Ovadine and Virkon-Aquatic will gradually lighten in colour as they lose their efficacy. Well diluted volumes of either disinfectant may be disposed to municipal sewage systems. Larger volumes of Ovadine may be neutralized using sodium thiosulphate (for each litre of 250ppm Ovadine solution, add 6.5 mls of a stock solution of 320g sodium thiosulphate per litre of water).

# APPENDIX XIV

# Best Management Practices : Summary of Standards to Follow

Biosecurity :

- All procedures must be done in a way that minimizes risk of pathogen transfer :Biosecurity

- Disinfectant Protocols

Adult Capture :

- Review the Facility Production Plan (Attachment I of the PAR licence) and follow the guidelines for number of broodstock :Adult Capture

- When run size estimate is not available take 30% of the fish caught during each capture effort. Do not remove more than 30% of the total run for use as broodstock. Spawning Protocols/Egg Fertilization Protocols

- Ensure that jacks are used in proportion to the capture rate. Spawning Protocols/Egg Fertilization Protocols and APPENDIX IX : Operational Guidelines for Pacific Salmon Hatcheries

Adult Transport :

- Take a copy of the PAR licence or Scientific Permit when transporting adults : Adult Transport

- Recommended maximum transport loading density is 10% : Adult Transport

Adult Holding and Handling for Egg Takes :

- Keep records of the number of broodstock captured and held, the numbers used for egg takes and the number of pre-spawn mortalities. Record that information on the Project Brood Summary Report (Appendix I of the PAR licence). Adult Holding and Handling for Egg Takes

- Fish treated with anaesthetics or antibiotics cannot be disposed of to the aquatic environment. Adult Holding and Handling for Egg Takes

Egg Takes :

- Take only the number of eggs that are listed on the Facility Production Plan attached to the PAR licence. Egg Takes

- Record the number of females and males killed for each egg take. These numbers are required for the Project Brood Summary Report and to show compliance with the Facility Production Plan.

- Record the number of males and females that are killed but NOT used in egg takes.

APPENDIX XIV Continued

Best Management Practices : Summary of Standards to Follow

Green Egg Enumeration :

- As egg takes proceed, an accurate inventory of green eggs is required to ensure that the egg target listed on the Facility Production Plan (Attachment I of the PAR licence) is not exceeded. Green Egg Enumeration

- The mean fecundity method is the preferred method to determine number of green eggs. Green Egg Enumeration Using Mean Fecundity

Adult Sampling :

- Sample adults away from incubation and rearing areas. Adult Sampling

- Bacterial Kidney Disease (BKD)- where prevalent conduct BKD Screening and visually check each female used in egg takes for signs of BKD. Bacterial Kidney Disease (BKD) and Sterile Kidney Sampling for BKD.

Carcass Disposal :

- Carcasses that result from adult broodstock that have been treated with chemical anaesthetics or antibiotics must not be disposed of to a stream. Carcass Disposal

Carcass Placement for In-Stream Enrichment :

- Carcass Placement for Stream Enrichment and APPENDIX XIII

Spawning Protocols :

- When run size is not known take no more than 30% of the fish caught at each capture effort

- Use males only once and then humanely destroy them

- Follow the spawning protocols in Appendix IX

- Spawning Protocols/Egg Fertilization Protocols and APPENDIX IX : Operational Guidelines for Pacific Salmon Hatcheries

Ovadine Disinfection of Eggs :

- All eggs at Community Involvement Program hatcheries, field incubation sites and classroom incubators must be disinfected in a 100 PPM solution of Ovadine.  Ovadine Disinfection of Eggs and Ovadine

Accumulated Thermal Units :

- Accumulated Thermal Units (ATUs) should be used to monitor the stages of development from egg to fry.  Accumulated Thermal Units Method to Monitor Stage of  Development

- Do not disturb salmon eggs until the eggs have reached 250 ATUs unless otherwise instructed by the Community Advisor. Eggs are very sensitive to being moved prior to 250 ATUs.

APPENDIX XIV Continued

Best Management Practices : Summary of Standards to Follow

Egg Fungal Treatments :

- Discuss the use of fungal treatments with the Community Advisor prior to commencing any treatment.  Egg Fungal Treatments

- Parasite-S is preferred when fungal treatments are required. Egg Fungal Treatments Using Parasite-S TM

Egg Shocking, Picking and Enumeration :

- Check the ATU record sheet as a guideline to determining that eggs are eyed. Egg Shocking, Picking and Enumeration

- Pre-eyed picks are not recommended

- Wait 24 hours after shocking before picking eggs

- Enumerate live and dead eggs

- Record number of live and number dead eggs on a record sheet

- Calculate total number of green eggs using the eyed egg enumeration and number of dead picked - record this number on the Project Brood Summary Report

- Weight enumeration of eggs is preferred - volume enumeration is an alternate method  Egg Picking and Weight Enumeration for All Types of Incubators or  Egg Picking and Volume Enumeration for All Types of  Incubators

Ponding :

- Plan ahead by preparing rearing areas i.e. disinfect containers, rinse well, set flows and water levels in preparation for ponding. Determine a ponding location for each incubator.  Ponding

- Prepare record sheets

- Maximum rearing density for a Capilano trough is 32.4 kgs of fish

- Maximum rearing density in general is 1.0 kgs of fish per LPM or 10 kgs/cubic m of water

Rearing :

- Regardless of year class (age of the fish), clean and pick mortalities from rearing containers that are showing signs of illness or have increasing mortality rates – LAST. Rearing

- Spatially separate adults, juveniles and incubation areas

- Use starter feeds that are recommended by the Community Advisor Initial Feeding

- Feed regularly

- Track the amount of fish food that is being fed

- Feeding - feed regularly, monitor the amount of food being eaten

- Calculate food conversion ratio Feeding

- Remove mortalities in a timely fashion Rearing Container Cleaning and Mortality Removal

APPENDIX XIV Continued

Best Management Practices : Summary of Standards to Follow

- Ensure rearing containers each have a separate set of cleaning equipment OR disinfect shared equipment in-between cleanings  Disinfectant Protocols

- Record mortalities from all rearing containers Rearing Container Cleaning and Mortality Removal

- Calculate the daily percent mortality rate and monitor at least weekly

- Dispose of mortalities to a landfill, enclosed composting or sewage system

- Have an accurate and up to date inventory of all stocks and species on site

- Exclude predators Predator Exclusion

- Fish transfer to another site : fish must be healthy (i.e. daily mortality rate must be less than 0.1% and mortality rate over the past 3 months must be less than 5%) Transfer of Fish

- Sample juveniles for weight using the bulk or individual method. Monitor mean weight to ensure fish are growing, to adjust feed schedules and to calculate conversion ratio.

- Juvenile Sampling - sampling should occur at least every 2 to 4 weeks and feed schedule should be adjusted at least every two weeks.

Marking :

- Marking - adult and juvenile marking programs must be designed and approved by the Community Advisor and/or a DFO Biologist

- Only approved marking is permitted as listed on the Facility Production Plan in Attachment I of the PAR licence.

- Do not apply maxillary clips or pelvic (ventral) fin clips unless recommended by the Community Advisor  Juvenile Marking

- When conducting adipose clips and coded wire tags - ensure that unused coded wire tags are returned to DFO Coded Wire Tagging and Adipose Fin Clipping

- Record the number of marked fish on the Project Brood Summary Report (Appendix II of the PAR licence)

- Monitor daily mortality rates in groups of marked fish

Juvenile Release and Transport :

- Juvenile Release and Transport - Stage of release, fish size at release, timing of releases and release locations are determined by DFO staff during annual Production Planning. This information is included in the Facility Production Plan attached to the Pacific Aquaculture Regulation licence.

- Do not exceed the release number as listed on the Facility Production Plan attached to the PAR licence. Amendments to the Facility Production Plan require approval.

- Ensure that conditions in the receiving stream are conducive to releasing fish there.

- An accurate book number (inventory of live fish on hand) can be used as the release number. This is the release number to record on the Project Brood Summary Report.

- If the book number is not accurate, fish must be enumerated (counted) using the bulk weight method (Refer to page 137).

- Juvenile salmon can be released volitionally or transported to suitable locations as listed on the Facility Production Plan

APPENDIX XIV Continued

Best Management Practices : Summary of Standards to Follow

- Transport tank loading density should not exceed 10% i.e. 100 grams of fish per litre of water

- Fish should be transported using oxygenated water

Project Brood Summary Report :

- Project Brood Summary Report - is due June 30'th and October 31’st annually

# Text boxes

Well designed tanks often have sloping bottoms, which should be taken into consideration when calculating volume.